## Summary January
Appendix #1
Data on IDGC of Centre - Kurskenergo division new connections for January, 2012
Name of IDGC of Centre division |  | Name of 35-110 kV SS | Number of applications |  | Concluded contracts |  | Completed contracts (Acts of Acceptance for NC signed) |  | Cancelled applications
##
|  |  | Pieces | MW | Pieces | MW | Pieces | MW | Pieces | MW
|  | Total SS 35 kV | 46 | 3.0935 | 56 | 0.659 | 75 | 0.8925 | 1 | 0.015
Kurskenergo |  | SS 35/10 Carts-traction | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 Pristen | 0 | 0 | 1 | 0.01 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 Svoboda tjagovaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Society for Promotion of Motoring and Road Improvement | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Agronom | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Akimovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Alekseyevka | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Amosovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Afanasevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Afanasevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV B.Gneushevo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV B.Zmeinets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV B.Soldatskaja | 0 | 0 | 0 | 0 | 1 | 0.1215 | 0 | 0
Kurskenergo |  | SS 35/10 kV Banishchi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Baranovo | 2 | 0.027 | 2 | 0.03 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Bezlesnaja | 4 | 0.055 | 2 | 0.01 | 3 | 0.025 | 0 | 0
Kurskenergo |  | SS 35/10 kV Belgorodka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Belitsa | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Birch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Birjukovka | 1 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Blagodat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Bobrovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Bobrovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Boxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Bukreevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Bukreevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Burtsevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Bykanovo | 1 | 0.009 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Bykovo | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV V.Ljubazh | 0 | 0 | 0 | 0 | 2 | 0.021 | 0 | 0
Kurskenergo |  | SS 35/10 kV V.Reutets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV V.Schigor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Vanino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Vasilevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Cheerful | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Vodozabor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Vodohranilishche | 1 | 0.005 | 0 | 0 | 2 | 0.008 | 0 | 0
Kurskenergo |  | SS 35/10 kV Volobuevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Volokonsk | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Vorobevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Voronok | 0 | 0 | 0 | 0 | 1 | 0.007 | 0 | 0
Kurskenergo |  | SS 35/10 kV Voropaevo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Vostochnaja | 0 | 0 | 2 | 0.017 | 2 | 0.022 | 0 | 0
Kurskenergo |  | SS 35/10 kV Vygornoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Vjazovoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Gastomlja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Gahovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Generalshino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Glazovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Glebovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Gordeevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Gorodensk | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Small town | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Gorjajnovo | 0 | 0 | 0 | 0 | 1 | 0.01 | 0 | 0
Kurskenergo |  | SS 35/10 kV Grajvoronka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Grinevka | 0 | 0 | 0 | 0 | 1 | 0.007 | 0 | 0
Kurskenergo |  | SS 35/10 kV Guevo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Gustomoj | 1 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Darino | 0 | 0 | 0 | 0 | 1 | 0.006 | 0 | 0
Kurskenergo |  | SS 35/10 kV Demjakino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Dolzhenkovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Efrosimovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV ZHBI | 3 | 0.025 | 2 | 0.015 | 1 | 0.01 | 0 | 0
Kurskenergo |  | SS 35/10 kV Zhdanovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Zhernovets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Zashchitnoe | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Zvannoe | 1 | 0.008 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Znamenka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Zolotuhinskaja KRS | 1 | 0.009 | 1 | 0.004 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Zuevka | 0 | 0 | 0 | 0 | 3 | 0.036 | 0 | 0
Kurskenergo |  | SS 35/10 kV Ivanino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Spark | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kazanka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kalinovka | 1 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kalinovka (new) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kalinovka old | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Karyzh | 0 | 0 | 1 | 0.095 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kirillovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kirilovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kitaevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kobylki | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kolontaevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kombizavod | 1 | 0.003 | 0 | 0 | 1 | 0.013 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kombikormovaja | 0 | 0 | 0 | 0 | 1 | 0.008 | 1 | 0.015
Kurskenergo |  | SS 35/10 kV Kombikormovaja | 1 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kommunalnaja | 1 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kondratovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Konezavod | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Korenevo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Korovjakovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kremjanoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Krupets | 0 | 0 | 0 | 0 | 1 | 0.01 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kulbaki | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Cultural gleam | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kurchatov | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Kutok | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Lezhenki | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Leninskaja | 0 | 0 | 0 | 0 | 2 | 0.021 | 0 | 0
Kurskenergo |  | SS 35/10 kV Linets | 0 | 0 | 0 | 0 | 1 | 0.007 | 0 | 0
Kurskenergo |  | SS 35/10 kV Lobazovka | 0 | 0 | 0 | 0 | 1 | 0.005 | 0 | 0
Kurskenergo |  | SS 35/10 kV Lugovka | 1 | 0.009 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Luch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Luch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Ljubava | 1 | 0.008 | 1 | 0.01 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Ljubimovka 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Ljubimovka 2 | 0 | 0 | 0 | 0 | 1 | 0.005 | 0 | 0
Kurskenergo |  | SS 35/10 kV M.Gneushevo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV M.Kamenets | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV M.Krjuki | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Markovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Marmyzhi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Matveevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Majak | 0 | 0 | 2 | 0.014 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Cretaceous | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Mihajlovka | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Mokva | 0 | 0 | 0 | 0 | 1 | 0.01 | 0 | 0
Kurskenergo |  | SS 35/10 kV Mokrushino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Molotychi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Mochaki | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Murynovka | 1 | 0.015 | 1 | 0.015 | 2 | 0.012 | 0 | 0
Kurskenergo |  | SS 35/10 kV N.Borki | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV N.Borki | 0 | 0 | 0 | 0 | 1 | 0.005 | 0 | 0
Kurskenergo |  | SS 35/10 kV N.Vladimirovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV N.Gurovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Nadejka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Field | 0 | 0 | 2 | 0.03 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Field | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Nikolskaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Novaja | 0 | 0 | 1 | 0.005 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Olgovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Olhovatka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Orehovo | 0 | 0 | 1 | 0.008 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Orlovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Orositelnaja | 6 | 0.077 | 8 | 0.107 | 13 | 0.149 | 0 | 0
Kurskenergo |  | SS 35/10 kV Osotskoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Osotskoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Ohochevka | 0 | 0 | 1 | 0.015 | 1 | 0.01 | 0 | 0
Kurskenergo |  | SS 35/10 kV Panino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Peny-2 | 0 | 0 | 2 | 0.01 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Pervoavgustovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Petrenka | 1 | 0.005 | 2 | 0.02 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Petrovo | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Petrovskaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Platava | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Serene | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Pokrovsk | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Porechnaja | 0 | 0 | 0 | 0 | 1 | 0.012 | 0 | 0
Kurskenergo |  | SS 35/10 kV Pochepnoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Suburban | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Prilepy | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Pristen | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Pselets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Puzachi | 1 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Pushkarnoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV R.Budy | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV R.Kolodez | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Razvete | 1 | 0.01 | 3 | 0.036 | 6 | 0.06 | 0 | 0
Kurskenergo |  | SS 35/10 kV Reut | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Rovenka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Rodina | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Rodina | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Rozhdestvenka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Rubanshchina | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Contact-breaker | 0 | 0 | 0 | 0 | 1 | 0.003 | 0 | 0
Kurskenergo |  | SS 35/10 kV Rusanovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Ryzhkovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Ryshkovo | 0 | 0 | 1 | 0.015 | 1 | 0.01 | 0 | 0
Kurskenergo |  | SS 35/10 kV Rjazanovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Sazanovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Sapogovo | 1 | 0.01 | 2 | 0.01 | 3 | 0.025 | 0 | 0
Kurskenergo |  | SS 35/10 kV Sahzavod | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Svoboda | 6 | 0.068 | 5 | 0.054 | 5 | 0.054 | 0 | 0
Kurskenergo |  | SS 35/10 kV Selection | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Semenovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Semzavod | 2 | 0.006 | 2 | 0.006 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Sergievka | 1 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Snagost | 0 | 0 | 1 | 0.006 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Sokole | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Solntsevo | 0 | 0 | 1 | 0.006 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Solntsevo | 0 | 0 | 1 | 0.005 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Somy | 0 | 0 | 0 | 0 | 2 | 0.029 | 0 | 0
Kurskenergo |  | SS 35/10 kV Sosnovyj Bor | 2 | 0.016 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Spassky | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Sr.Olshanka | 1 | 0.0035 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Stakanovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Starkovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Senior | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Streletskaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Subbotino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Dry | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Telmana | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Teplitsy | 2 | 0.016 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Terebuzh | 0 | 0 | 1 | 0.008 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Turovka | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/10 kV Stary Communard | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Uspenka | 0 | 0 | 2 | 0.023 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Fateevka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Fentisovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Chapaevsky | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Chemerki | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Chermoshnoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Chizhovka | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Shatalovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Shatilovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Sheptuhovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Thorns | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Shuklino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Elevator | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Elevator | 0 | 0 | 0 | 0 | 1 | 0.012 | 0 | 0
Kurskenergo |  | SS 35/10 kV Southwest | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Yankovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/10 kV Jasenki | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 35/6/6 kV Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV # 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV Duhovets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV Western | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV Zolotuhinsky sah.zavod | 0 | 0 | 0 | 0 | 1 | 0.009 | 0 | 0
Kurskenergo |  | SS 35/6 kV KZTZ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV Kislinsky | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV Kislinsky | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV Kursk-traction | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV Sahzavod of Kuibyshev | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 35/6 kV Common people | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total SS 110 kV | 87 | 3.7595 | 62 | 1.0894 | 78 | 3.7092 | 5 | 0.112
Kurskenergo |  | SS 110/10/10 kV Gorodskaja | 0 | 0 | 1 | 0.27 | 4 | 0.000115 | 0 | 0
Kurskenergo |  | SS 110/10/10 kV Kotelnaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV B.ZHirovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV B.ZHirovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Beketovo | 0 | 0 | 1 | 0.006 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Vinnikovo | 2 | 0.02 | 0 | 0 | 2 | 0.012 | 0 | 0
Kurskenergo |  | SS 110/10 kV Rising | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV High | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Zabele | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Ivnitsa | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Kurskaja PTF | 5 | 0.15 | 8 | 0.09 | 3 | 0.027 | 0 | 0
Kurskenergo |  | SS 110/10 kV M.Loknja 1 | 1 | 0.008 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Martovskaja | 0 | 0 | 1 | 0.014 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Paniki | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Device | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.1
Kurskenergo |  | SS 110/10 kV Springs | 0 | 0 | 0 | 0 | 2 | 6.9e-05 | 0 | 0
Kurskenergo |  | SS 110/10 kV Sapphire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Northern | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Semenovsky | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Solovinaja | 1 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Studenok | 1 | 0.002 | 6 | 0.049 | 2 | 0.013 | 0 | 0
Kurskenergo |  | SS 110/10 kV Cement works | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/10 kV Sherekino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35 Konarevo-tjagovaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35 Field-traction | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 Sadovoye | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 Glushkovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 Field Traction | 0 | 0 | 1 | 0.0149 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 Field Traction | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 Sudzha | 0 | 0 | 1 | 0.012 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 Homutovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Dmitriev | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV 8е Martha | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Avtoremzavod | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Agronom | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Artjuhovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Atomgrad | 0 | 0 | 0 | 0 | 4 | 0.03 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Basovo | 0 | 0 | 0 | 0 | 2 | 0.012 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Belaja | 2 | 0.065 | 3 | 0.205 | 3 | 0.045 | 0 | 0
Kurskenergo |  | SS 110/35/10кв Belaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Besedino | 2 | 0.03 | 2 | 0.03 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Bobryshovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Carts-traction | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Glushkovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Gorshechnoe | 2 | 0.019 | 2 | 0.022 | 2 | 1.915 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Dmitriev | 2 | 0.016 | 2 | 0.016 | 2 | 0.33 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Dmitriev | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Zhukovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Zhurjatino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Zolotuhino | 2 | 0.018 | 4 | 0.028 | 8 | 0.098 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Kamyshi | 0 | 0 | 0 | 0 | 1 | 0.005 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Kastornoe | 0 | 0 | 1 | 0.007 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Kilikino | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Kljukva | 4 | 0.06 | 5 | 0.063 | 3 | 0.12 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Konyshevka | 1 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Kshen | 1 | 0.015 | 0 | 0 | 4 | 0.037 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Kshen | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Lachinovo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Lgov | 3 | 0.023 | 3 | 0.03 | 3 | 0.031 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Ljubostan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Ljubostan | 39 | 3.0315 | 0 | 0 | 4 | 0.034 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Maritsa | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Marino | 1 | 0.005 | 2 | 0.0063 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Medvenka | 1 | 0.012 | 1 | 0.012 | 1 | 0.006 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV n.p. Kurbakinsky | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Obojan | 3 | 0.019 | 1 | 0.009 | 11 | 0.125 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Oktjabrskaja | 1 | 0.01 | 1 | 0.007 | 2 | 0.02 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Olhovka | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Peny | 0 | 0 | 0 | 0 | 1 | 0.008 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV R.Budy | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Razinkovo | 0 | 0 | 2 | 0.015 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Rashovets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Rylsk | 1 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV STK | 0 | 0 | 0 | 0 | 1 | 0.014 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Sudzha | 2 | 0.02 | 2 | 0.024 | 1 | 0.006 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Schetmash | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Aunty's | 0 | 0 | 0 | 0 | 2 | 0.02 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Tim | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Troitskaja | 0 | 0 | 0 | 0 | 1 | 0.008 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Ujutnoe | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Fatezh | 3 | 0.03 | 2 | 0.013 | 4 | 0.038 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Fatezh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Fosforitnaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Homutovka | 0 | 0 | 0 | 0 | 1 | 0.7 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Cheremisinovo | 1 | 0.012 | 3 | 0.09825 | 1 | 0.015 | 3 | 0.003
Kurskenergo |  | SS 110/35/10 kV Cheremoshki | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Shumakovo | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Shchigry | 1 | 0.005 | 1 | 0.005 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/10 kV Yastrebovka | 1 | 0.015 | 1 | 0.007 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/6/6 kV Kirov | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/6 kV Volokno | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/6 kV Volokno | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/35/6 kV Manturovo | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.009
Kurskenergo |  | SS 110/35/6 kV Rudnaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/6/6 kV Accumulator | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/6/6 kV Wood | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/6/6 kV Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/6/6 kV CDS-3 ZHBI-1 | 4 | 0.029 | 0 | 0 | 1 | 0.01 | 0 | 0
Kurskenergo |  | SS 110/6 kV APZ-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/6 kV D.Budy | 0 | 0 | 3 | 0.006 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/6 kV Oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kurskenergo |  | SS 110/6 kV Teplichnaja | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Concluded contracts
Aappendix #2
Site by site data for New Connection concluded contracts for January, 2012
Division | Item # | Number of concluded contract | Date of contract conclusion dd/mm/yyyy | Term of execution in XX months | Maximum power, kW (including current power in kW) | Contract quantity in roubles without VAT | Site connection point (SS, PL)
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Kurskenergo | 1 | 40424606 | 2012-01-19 | 6 months | 15 | 466.1 | SS 35/10 kV «Orositelnaja», overhead line-10 kV 415.07, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 2 | 40431032 | 2012-01-18 | 6 months | 15 | 466.1 | SS 35/10 kV ` Uspenka `, overhead line-10 kV 864 TS a 864-05/160 overhead lines-0.4kV of 1, a projected pole (a tap to input in country house from overhead line-0,4 kV)
Kurskenergo | 3 | 40444002 | 2012-01-13 | 6 months | 15 | 466.1 | SS 35/10 kV «Murynovka», overhead line-10 kV 422.14, TS 10/0,4 kV 3/400 pole projected site of overhead line-0,4 kV 1 – a tap to input in trading pavilion from overhead line-0,4 kV
Kurskenergo | 4 | 40459869 | 2012-01-23 | 6 months | 14 | 466.1 | SS 35/10 kV Martovskaja, overhead line-10 kV 2.10.10, TS-10/0,4 kV №7/100 a pole of projected overhead line-0,4 kV – a tap to input in service building from overhead line-0,4 kV
Kurskenergo | 5 | 40465351 | 2012-01-26 | 6 months | 12 | 466.1 | SS 35/10 kV Razvete, overhead line-10 kV 2613, TS-10/0,4 kV №6/100 a pole of a projected site of overhead line-0,4 kV №1 – a tap to input in service building from overhead line-0,4 kV
Kurskenergo | 6 | 40465393 | 2012-01-17 | 6 months | 14.9 | 466.1 | CDS-10 kV Carts, overhead line-10 kV 648.01, TS-10/0,4 kV №7/250 a pole of projected overhead line-0,4 kV (a tap to input in a water-supply well from overhead line-0,4 kV)
Kurskenergo | 7 | 40465429 | 2012-01-10 | 6 months | 15 | 466.1 | SS 35/10 kV Svoboda, overhead line-10 kV 332.16, TS-10/0,4 kV №14/100 a pole №30 overhead lines-0,4 kV №2 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 8 | 40467454 | 2012-01-19 | 6 months | 10 | 466.1 | SS 35/10 kV Petrinka, overhead line-10 kV 413.14, TS-10/0,4 kV №№ 2/2×400 TS 10/0,4 kV №2/2×400 (a tap departing PL-0,4 kV with switch apparatus departing PL-0,4 kV in a SWG-0,4 kV TS)
Kurskenergo | 9 | 40467476 | 2012-01-19 | 6 months | 10 | 466.1 | SS 35/10 kV Razinkogo, overhead line-10 kV 418.16, TS-10/0,4 kV №9/100 a pole №27 overhead lines-0,4 kV №1 – a tap to input in GRS from overhead line-0,4 kV
Kurskenergo | 10 | 40467509 | 2012-01-19 | 6 months | 10 | 466.1 | SS 35/10 kV Petrinka, overhead line-10 kV 413.14, TS-10/0,4 kV №2/2×400 TS 10/0,4 kV №2/2×400 (a tap departing PL-0,4 kV with switch apparatus departing PL-0,4 kV in a SWG-0,4 kV TS)
Kurskenergo | 11 | 40469835 | 2012-01-13 | 6 months | 7 | 466.1 | SS 110/35/10 kV «Oktjabrskaja», overhead line-10 kV 556.07, TS-10/0,4 kV 25/160 pole projected site of overhead line-0,4 kV 2 – a tap of branch to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 12 | 40472268 | 2012-01-13 | 6 months | 15 | 466.1 | SS 110/35/10 kV «Besedino», overhead line-10 kV 129.16, TS-10/0,4 kV 18/32 pole projected site of overhead line-0,4 kV – a tap to input in a building of gas station from overhead line-0,4 kV
Kurskenergo | 13 | 40473099 | 2012-01-10 | 6 months | 14 | 466.1 | SS 35/10 kV «Razvete», overhead line-10 kV 2.6.5, TS-10/0,4 kV 162/63 SWGs-0,4 kV 162/63 – a tap projected PL-0,4 kV with switch apparatus in a SWG-0,4 kV
Kurskenergo | 14 | 40474193 | 2012-01-13 | 6 months | 15 | 466.1 | SS 35/10 kV Orositelnaja, overhead line-10 kV 415.08, TS-10/0,4 kV №6/160 a pole of projected overhead line-0,4 kV – a tap to input in service building from overhead line-0,4 kV
Kurskenergo | 15 | 40474236 | 2012-01-13 | 6 months | 15 | 466.1 | SS 35/10 kV Orositelnaja, overhead line-10 kV 415.08, TS-10/0,4 kV №6/160 a pole of projected overhead line-0,4 kV – a tap to input in service building from overhead line-0,4 kV
Kurskenergo | 16 | 40478899 | 2012-01-13 | 6 months | 15 | 466.1 | SS 35/10 kV "Chizhovka", overhead line-10 kV 7.9.4., TS-10/0,4 kV №4/400 a pole №13, overhead line-0,4 kV №1 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 17 | 40479006 | 2012-01-17 | 6 months | 5 | 466.1 | SS 35/10 kV Vostochnaja, overhead line-10 kV 2.3.5, TS-10/0,4 kV 8/400 pole №6 overhead lines-0,4 kV №3 – a tap to input in shop from overhead line-0,4 kV
Kurskenergo | 18 | 40479125 | 2012-01-12 | 6 months | 12 | 466.1 | SS 110/35/10 kV «Sudzha», CDS-10 kV "Zaoleshenka", overhead line-10 kV 7701: projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 19 | 40479174 | 2012-01-10 | 6 months | 9 | 466.1 | SS 110/35/10 kV «Obojan», overhead line-10 kV 419, 30/250 op. A 3, overhead line-0,4 kV f. The market – a tap to input in modular pavilion from overhead line-0,4 kV
Kurskenergo | 20 | 40479450 | 2012-01-13 | 6 months | 12 | 466.1 | SS 110/35/10 kV «Sudzha», overhead line-10 kV 028, TS-10/0,4 kV 077 pole №5 overhead lines-0,4 kV №3 – a tap to input in shop from overhead line-0,4 kV
Kurskenergo | 21 | 40479721 | 2012-01-20 | 6 months | 3 | 466.1 | SS 35/10 «Semzavod», overhead line-10 kV 535, TS-10/0,4 kV 1/100 pole 26 overhead lines-0,4 kV 3 – a tap to input in electromechanical water intaking installation from overhead line-0,4 kV
Kurskenergo | 22 | 40479747 | 2012-01-20 | 6 months | 3 | 466.1 | SS 35/10 «Semzavod», overhead line-10 kV 544, TS-10/0,4 kV 24/160 pole 9 overhead lines-0,4 kV 3 – a tap to input in electromechanical water intaking installation from overhead line-0,4 kV
Kurskenergo | 23 | 40479920 | 2012-01-11 | 6 months | 15 | 466.1 | SS 35/10 kV "Ryshkovo", overhead line-10 kV 2.9.2, TS-10/0,4 kV 8/100 op. A 2, overhead line-0,4 kV 1 – a tap to input in trading pavilion from overhead line-0,4 kV.
Kurskenergo | 24 | 40479959 | 2012-01-13 | 6 months | 7 | 466.1 | SS 35/6 «Sakhas. Factory», overhead line-6 kV 2.10.12, TS-6/0,4 kV 1/630 pole 12 overhead lines-0,4 kV 3 – a tap to input in an office building from overhead line-0,4 kV
Kurskenergo | 25 | 40481272 | 2012-01-13 | 6 months | 15 | 466.1 | SS 35/10 kV «Petrovo», overhead line-10 kV 621, TS-10/0,4 kV 6/2х250 a pole of a 15, overhead line-0,4 kV 1Т1 – a tap to input in trading pavilion from overhead line-0,4 kV
Kurskenergo | 26 | 40481333 | 2012-01-12 | 6 months | 8 | 466.1 | SS 35/10 kV "Terebuzh", overhead line-10 kV 7.6.4, TS-10/0,4 kV 2/100 pole projected site of overhead line-0,4 kV 2 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 27 | 40483587 | 2012-01-17 | 6 months | 4 | 466.1 | SS 35/10 kV KRS, overhead line-10 kV 365.15, TS-10/0,4 kV №13/160 a pole proektiruemgo an overhead line-0,4 site kV – a tap to input in country house from overhead line-0,4 kV
Kurskenergo | 28 | 40483694 | 2012-01-25 | 6 months | 15 | 466.1 | SS 35/10 kV Orositelnaja, overhead line-10 kV 415.10, TS-10/0,4 kV №12/100 a pole of a projected site of overhead line-0,4 kV – a tap to input in service building from overhead line-0,4 kV
Kurskenergo | 29 | 40483859 | 2012-01-23 | 12 months | 95 | 249690.4 | SS 35/10 kV ` Karyzh `, overhead line-10 kV 3108, a SWG-10 kV projected TS-10/0,4 kV – tap PL-10 kV with switch apparatus in a SWG-10 kV
Kurskenergo | 30 | 40483879 | 2012-01-25 | 6 months | 10 | 466.1 | SS 35/10 "Ljubava", overhead line-10 kV 22701, TS-10/0,4 kV 8/250 pole projected site of overhead line-0,4 kV 2 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 31 | 40483920 | 2012-01-23 | 6 months | 15 | 466.1 | SS 35/10 kV «Orositelnaja», overhead line-10 kV 415.8, TS-10/0,4 kV 2/250 pole projected site of overhead line-0,4 kV 1 – a tap to input in economic construction from overhead line-0,4 kV
Kurskenergo | 32 | 40484283 | 2012-01-13 | 6 months | 9 | 466.1 | SS 110/35/10 Lgov, overhead line-10 kV 108, TS-10/0,4 kV 108-34/160+100 pole №5 overhead lines-0,4 kV №3 – a tap to input in a building camera from overhead line-0,4 kV
Kurskenergo | 33 | 40484474 | 2012-01-12 | 6 months | 4 | 466.1 | SS 35/10 «Majak», overhead line-10 kV 649.06, TS-10/0,4 kV 1/100 pole 29 overhead lines-0,4 kV 2 – a tap to input in transportable boiler installation from overhead line-0,4 kV
Kurskenergo | 34 | 40484848 | 2012-01-10 | 6 months | 15 | 466.1 | SS 110/10 kV PTF, overhead line-10 kV 412.01, TS-10/0,4 kV 6/250 pole №8 overhead lines-0,4 kV №1 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 35 | 40485332 | 2012-01-19 | 6 months | 15 | 466.1 | CDS-10 kV Field, overhead line-10 kV 128.18, TS-10/0,4 kV №26/63 a pole of a projected site of overhead line-0,4 kV №1 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 36 | 40485422 | 2012-01-20 | 6 months | 5 | 466.1 | SS 110/35/10 kV Razinkovo, overhead line-10 kV 418.15, TS-10/0,4 kV 10/40 pole №7 overhead lines-0,4 kV №1 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 37 | 40485631 | 2012-01-10 | 6 months | 1.3 | 466.1 | SS 110/35/10 Marino, overhead line-10 kV №2312, TS 10/0,4 kV №8/160 a pole №2 overhead lines-0,4 kV №1 - a tap to input in service building from overhead line-0,4 kV
Kurskenergo | 38 | 40485991 | 2012-01-10 | 6 months | 5 | 466.1 | SS 35/10 kV Novaja, overhead line-10 kV 414.1, TS-10/0,4 kV №17/100 a pole of projected overhead line-0,4 kV – a tap to input in garden house from overhead line-0,4 kV
Kurskenergo | 39 | 40486227 | 2012-01-10 | 6 months | 7 | 466.1 | SS 110/35/10 kV «Yastrebovka», overhead line-10 kV 3.2.6, TS-10/0,4 kV 4/400 pole of overhead line-0,4 kV 11 – a place branch connection to input in a building of a water-supply well from overhead line-0,4 kV
Kurskenergo | 40 | 40486469 | 2012-01-10 | 6 months | 3.25 | 466.1 | SS 110/35/10 kV «Cheremisinovo», overhead line-10 kV 612, TS-10/0,4 kV 2/160 SWGs-0,4 kV TS-10/0,4 kV 2/160 – a tap of departing overhead line-0,4 kV street illumination with switch apparatus in a SWG-0,4 kV
Kurskenergo | 41 | 40487373 | 2012-01-20 | 12 months | 10 | 26283.2 | CDS-10 kV "Pristen", overhead line-10 kV 574, projected TS-10/0,4 kV SWG-0,4 kV projected TS-10/0,4 kV – a tap departing PL-0,4 kV with switch apparatus in a SWG-0,4 kV
Kurskenergo | 42 | 40487407 | 2012-01-10 | 6 months | 15 | 466.1 | SS 35/10 "Bykovo", overhead line-10 kV 1.8.1, TS-10/0,4 kV 5/250 pole 34 overhead lines-0,4 kV 1 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 43 | 40487430 | 2012-01-10 | 6 months | 8 | 466.1 | SS 110/10 kV «Studenok», overhead line-10 kV 16, TS-10/0,4 kV 123 pole projected site of overhead line-0,4 kV 2 – a tap to input in economic construction from overhead line-0,4 kV
Kurskenergo | 44 | 40487447 | 2012-01-30 | 6 months | 15 | 466.1 | SS 35/10 "M.Kamenets", overhead line-10 kV 01, TS-10/0,4 kV 3/160 pole 2 overhead lines-0,4 kV 2 – a tap to input in a building of school from overhead line-0,4 kV
Kurskenergo | 45 | 40487501 | 2012-01-11 | 6 months | 15 | 466.1 | SS 35/10 kV «N Borki», overhead line-10 kV 1.4.7, TS-10/0,4 kV №9/160 a pole of a 14 overhead lines-0,4 kV 2 – a tap to input in a building of shop from overhead line-0,4 kV
Kurskenergo | 46 | 40487644 | 2012-01-11 | 12 months | 25 | 65708 | SS 110/10 kV «Studenok», overhead line-10 kV 14, projected TS-10/0,4 kV SWG-0,4 kV projected TS-10/0,4 kV – a tap departing PL-0,4 kV with switch apparatus in a SWG-0,4 kV
Kurskenergo | 47 | 40487676 | 2012-01-10 | 12 months | 4 | 10513.28 | SS 110/10 kV «Studenok», overhead line-10 kV 14, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in garden house
Kurskenergo | 48 | 40487715 | 2012-01-10 | 12 months | 4 | 10513.28 | SS 110/10 kV «Studenok», overhead line-10 kV 14, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in garden house
Kurskenergo | 49 | 40487724 | 2012-01-13 | 12 months | 4 | 10513.28 | SS 110/10 kV «Studenok», overhead line-10 kV 14, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in garden house
Kurskenergo | 50 | 40487735 | 2012-01-11 | 12 months | 4 | 10513.28 | SS 110/10 kV «Studenok», overhead line-10 kV 14, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in garden house
Kurskenergo | 51 | 40488382 | 2012-01-19 | 6 months | 15 | 466.1 | SS 35/10 «Svoboda», overhead line-10 kV 365.14, TS-10/0,4 kV 9/100 pole projected site of overhead line-0,4 kV 2 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 52 | 40488403 | 2012-01-11 | 6 months | 5 | 466.1 | SS 35/10 «Bezlesnaja», overhead line-10 kV 423.16, TS-10/0,4 kV 362 pole projected site of overhead line-0,4 kV 1 – a tap to input in garden house from overhead line-0,4 kV
Kurskenergo | 53 | 40488421 | 2012-01-11 | 6 months | 5 | 466.1 | SS 35/10 «Bezlesnaja», overhead line-10 kV 423.16, TS-10/0,4 kV 362 pole projected site of overhead line-0,4 kV 1 – a tap to input in garden house from overhead line-0,4 kV
Kurskenergo | 54 | 40488907 | 2012-01-13 | 12 months | 9 | 23654.88 | SS 110/35/10 «Zolotuhino», overhead line-10 kV 331.04, TS-10/0,4 kV 10/100 pole of projected overhead line-0,4 kV – a tap to input in an uninhabited building from overhead line-0,4 kV
Kurskenergo | 55 | 40488935 | 2012-01-16 | 6 months | 5 | 466.1 | SS 35/10 «Sapogovo», overhead line-10 kV 427.16, TS-10/0,4 kV 4/40 pole projected site of overhead line-0,4 kV 1 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 56 | 40488960 | 2012-01-19 | 12 months | 15 | 39424.8 | SS 110/10 kV "Solovinaja" projected in CL-10 kV, projected TS-10/0,4 kV ВРУ-0,4 kVn industrial building – a CL-0,4 tap kV with switch apparatus in ВРУ-0,4 kV
Kurskenergo | 57 | 40488975 | 2012-01-12 | 6 months | 15 | 466.1 | SS 35/10 «Svoboda», overhead line-10 kV 332.09, TS-10/0,4 kV 3/63 pole 4 overhead lines-0,4 kV 1 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 58 | 40488992 | 2012-01-10 | 6 months | 5 | 466.1 | SS 35/10 kV «Svoboda», overhead line-10 kV 332.19, TS-10/0,4 kV 3/100 pole 16 overhead lines-0,4 kV 1 – a tap to input in trading pavilion from overhead line-0,4 kV
Kurskenergo | 59 | 40489004 | 2012-01-12 | 6 months | 4 | 466.1 | SS 35/10 kV Svoboda, overhead line-10 kV 332.19, TS-10/0,4 kV 13/250 pole 14 overhead lines-0,4 kV №1 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 60 | 40489029 | 2012-01-10 | 12 months | 270 | 709646.4 | SS-110/10 kV «Gorodskaja», CL-10 kV 700.15, CL-10 kV 28.06, РTS-10/0,4 kV 2х1600 kVА 12 SWGs-0,4 kV RTS a 12 – a tap departing PL-0,4 kV with switch apparatus in a SWG-0,4 kV.
Kurskenergo | 61 | 40489213 | 2012-01-17 | 6 months | 8 | 466.1 | SS 35/10 "Orehovo", overhead line-10 kV 273, TS-10/0,4 kV 2/400 pole projected site of overhead line-0,4 kV 3 – a tap to input in a building of a water fence from overhead line-0,4 kV
Kurskenergo | 62 | 40489221 | 2012-01-23 | 6 months | 12 | 466.1 | SS 35/10 «Vostochnaja», overhead line-10 kV 237, TS-10/0,4 kV 25/400 pole projected site of overhead line-0,4 kV 3 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 63 | 40489462 | 2012-01-20 | 6 months | 15 | 466.1 | SS 35/10 kV "Field", overhead line-10 kV 555, TS-10/0,4 kV 2/400 pole 2 overhead lines-0,4 kV 1 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 64 | 40489474 | 2012-01-20 | 6 months | 15 | 466.1 | SS 35/10 kV "Field", overhead line-10 kV 555, TS-10/0,4 kV 2/400 pole 2 overhead lines-0,4 kV 1 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 65 | 40489502 | 2012-01-18 | 6 months | 15 | 466.1 | SS 35/10 «Baranovo», overhead line-10 kV 1.7.5, TS-10/0,4 kV 7/630 pole projected site of overhead line-0,4 kV 3 – a tap to input in garden house from overhead line-0,4 kV
Kurskenergo | 66 | 40489513 | 2012-01-30 | 6 months | 15 | 466.1 | SS 35/10 «Ohochevka», overhead line-10 kV 7.4.3, TS-10/0,4 kV 6/160 pole 23 overhead lines-0,4 kV 1 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 67 | 40489671 | 2012-01-31 | 6 months | 15 | 466.1 | SS 110/35/10 kV «Kljukva», overhead line-10 kV 176.118, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in a building of boat station from overhead line-0,4 kV
Kurskenergo | 68 | 40490340 | 2012-01-16 | 6 months | 6 | 466.1 | SS 110/10 "Beketovo", overhead line-10 kV 1.2.7, TS-10/0,4 kV 1/1600+630 pole 7 overhead lines-0,4 kV 1 – a tap to input in a water tower from overhead line-0,4 kV
Kurskenergo | 69 | 40490392 | 2012-01-11 | 12 months | 3 | 7884.96 | SS 110/35/10 «Fatezh», overhead line-10 kV 3.1.29, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in garden house from overhead line-0,4 kV
Kurskenergo | 70 | 40490512 | 2012-01-11 | 6 months | 5 | 466.1 | SS 35/10 «Peny II», overhead line-10 kV 142, TS-10/0,4 kV 2/400 pole of projected overhead line-0,4 kV – a tap to input in a building of a chink from overhead line-0,4 kV
Kurskenergo | 71 | 40490539 | 2012-01-11 | 6 months | 5 | 466.1 | SS 35/10 «Peny II», overhead line-10 kV 142, TS-10/0,4 kV 1/250 pole of projected overhead line-0,4 kV – a tap to input in a building of a chink from overhead line-0,4 kV
Kurskenergo | 72 | 40490576 | 2012-01-18 | 12 months | 175 | 459956 | SS 110/35/10 kV «Belaja», I section of buses 10 kV, overhead line-10 kV 118 Projected TS-10/0,4 kV, I section of buses 0,4 kV;): projected TS-10/0,4 kV, I and II sections of buses 0,4 kV (taps departing PL-0,4 kV with switch apparatus in a SWG-0,4 kV)
Kurskenergo | 73 | 40490627 | 2012-01-30 | 6 months | 2 | 466.1 | SS 110/6 «Long Budy», overhead line-6 kV 127, TS-6/0,4 kV 10/60 pole 16 overhead lines-0,4 kV 1 – a tap to incoming line section of electromechanical water intaking installation from overhead line-0,4 kV
Kurskenergo | 74 | 40490666 | 2012-01-30 | 6 months | 2 | 466.1 | SS 110/6 «Long Budy», overhead line-6 kV 127, TS-6/0,4 kV 10/60 pole 23 overhead lines-0,4 kV 1 – a tap to incoming line section of electromechanical water intaking installation from overhead line-0,4 kV
Kurskenergo | 75 | 40490705 | 2012-01-30 | 6 months | 2 | 466.1 | SS 110/6 «Long Budy», overhead line-6 kV 127, TS-6/0,4 kV 10/60 pole 9 overhead lines-0,4 kV 2 – a tap to incoming line section of electromechanical water intaking installation from overhead line-0,4 kV
Kurskenergo | 76 | 40490803 | 2012-01-27 | 6 months | 15 | 466.1 | SS 110/35/10 «Belaja» THE OVERHEAD LINE-10 kV A 119 TS-10/0,4 kV 6/250 pole 10 overhead lines-0,4 kV 1 – a tap to input in a trading booth from overhead line-0,4 kV
Kurskenergo | 77 | 40490831 | 2012-01-16 | 6 months | 15 | 466.1 | SS 110/35/10 kV «Shumakovo», overhead line-10 kV 15, Tp - 019/250, overhead line-0,4 kV №1 pole №8, overhead line-0,4 kV №1 – a tap to incoming line section of an apartment house from overhead line-0,4 kV
Kurskenergo | 78 | 40490863 | 2012-01-11 | 6 months | 15 | 466.1 | SS 110/35/10 kV Gorshechnoe, overhead line-10 kV 1.1.1., TS-10/0,4 kV №22/160 a pole of a 29 overhead lines-0,4 kV №2 - a tap to input in a building of trading pavilion from overhead line-0,4 kV
Kurskenergo | 79 | 40491163 | 2012-01-24 | 6 months | 15 | 466.1 | SS 110/35/10 «Belaja», overhead line-10 kV 1110, TS-10/0,4 kV 1/2х400 a pole of a 5 overhead lines-0,4 kV 1 – a tap to input in a trading booth from overhead line-0,4 kV
Kurskenergo | 80 | 40491632 | 2012-01-23 | 6 months | 6 | 466.1 | SS 35/10 kV "Snagost", overhead line-10 kV 60909, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in shop from overhead line-0,4 kV
Kurskenergo | 81 | 40492272 | 2012-01-30 | 6 months | 15 | 466.1 | SS 110/10 kV PTF, overhead line-10 kV 412.16, TS-10/0,4 kV 7/160 pole №27 overhead lines-0,4 kV №1 – a tap to input in garage from overhead line-0,4 kV
Kurskenergo | 82 | 40492605 | 2012-01-12 | 6 months | 5 | 466.1 | TSRP 10/10 kV «Solntsevo», overhead line-10 kV 6413, Tp - 14/250 pole №36, overhead line-0,4 kV №4 - a tap to incoming line section in an apartment house from overhead line-0,4 kV
Kurskenergo | 83 | 40492693 | 2012-01-25 | 6 months | 15 | 466.1 | SS 110/35/10 «Kljukva», overhead line-10 kV 176.118, TS-10/0,4 kV 46/63, TS-10/0,4 kV 46/63 pole projected site of overhead line-0,4 kV 1 – a tap to input in economic construction from overhead line-0,4 kV
Kurskenergo | 84 | 40492706 | 2012-01-17 | 6 months | 15 | 466.1 | SS 35/10 kV Baranovo, overhead line-10 kV 1.7.5., TS-10/0,4 kV №1/250 a pole of a 25 overhead lines-0,4 kV №1 - a tap to input in a building of an apartment house from overhead line-0,4 kV
Kurskenergo | 85 | 40492725 | 2012-01-23 | 6 months | 7 | 466.1 | SS 110/35/10 kV Gorshechnoe, overhead line-10 kV 1.1.1., TS-10/0,4 kV №9/250 a pole of a 7 overhead lines-0,4 kV №2 - a tap to input in a building of garage from overhead line-0,4 kV
Kurskenergo | 86 | 40492838 | 2012-01-17 | 6 months | 3 | 466.1 | SS 110/35/10 kV «Kljukva», overhead line-10 kV 176.209, TS-10/0,4 kV 10/40 overhead lines-0,4kV №1, a pole of a 6 (a branch Junction to input in a residential building from overhead line-0,4kV).
Kurskenergo | 87 | 40492877 | 2012-01-18 | 6 months | 10 | 466.1 | SS 35/10 kV ZHBI, overhead line-10 kV 577.03, TS-10/0,4 kV №455/250 a pole №24 overhead lines-0,4 kV №3 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 88 | 40492910 | 2012-01-19 | 6 months | 8 | 466.1 | SS 35/10 kV «Uspenka», overhead line-10 kV 864, TS-10/0,4 kV 14/160 pole №2 overhead lines-0,4 kV №1 – a tap to input in garden house from overhead line-0,4 kV
Kurskenergo | 89 | 40493305 | 2012-01-16 | 6 months | 10 | 466.1 | SS 35/10 kV «Majak», overhead line-10 kV 649.06, TS-10/0,4 kV 1/100 pole №8 overhead lines-0,4 kV №2 – a tap to input in an apartment house from overhead line-0,4 kV.
Kurskenergo | 90 | 40494635 | 2012-01-26 | 6 months | 2 | 466.1 | SS 110/35/10 «Zolotuhino», overhead line-10 kV 331.21, TS-10/0,4 kV 14/400 pole 18 overhead lines-0,4 kV 3 – a tap to input in a trading booth from overhead line-0,4 kV
Kurskenergo | 91 | 40494738 | 2012-01-25 | 6 months | 15 | 466.1 | SS 35/10 kV «Orositelnaja», overhead line-10 kV 415.02, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in economic construction from overhead line-0,4 kV
Kurskenergo | 92 | 40495740 | 2012-01-30 | 6 months | 3 | 466.1 | SS 110/35/10 «Zolotuhino», overhead line-10 kV 331.21, TS-10/0,4 kV 14/400 pole 19 overhead lines-0,4 kV 3 – a tap to input in trading pavilion from overhead line-0,4 kV
Kurskenergo | 93 | 40496128 | 2012-01-31 | 6 months | 15 | 466.1 | SS 110/10 kV PTF, overhead line-10 kV 412.06, projected TS-10/0,4 kV pole of projected overhead line-0,4 kV – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 94 | 40496304 | 2012-01-19 | 6 months | 10 | 466.1 | ПС110/35/10 kV «Fatezh», overhead line-10 kV 3.1.18, TS-10/0,4 kV 1/250 pole №14, overhead line-0,4 kV 4 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 95 | 40496375 | 2012-01-26 | 6 months | 15 | 466.1 | SS 110/10 kV PTF, overhead line-10 kV 412.06, TS-10/0,4 kV №1/63 a pole of a projected site of overhead line-0,4 kV – a tap to input in garden house from overhead line-0,4 kV
Kurskenergo | 96 | 40496381 | 2012-01-20 | 6 months | 10 | 466.1 | SS 35/10 kV Orositelnaja, overhead line-10 kV 415.10, TS-10/0,4 kV 12/100 pole №7 overhead lines-0,4 kV №1 – a tap to input in a residential building from overhead line-0,4 kV
Kurskenergo | 97 | 40496416 | 2012-01-25 | 6 months | 15 | 466.1 | SS 110/35/10 kV «Besedino», overhead line-10 kV 129.17, TS-10/0,4 kV 7/400 pole 22 overhead lines-0,4 kV 2 - a branch Junction to input in an economic structure from overhead line-0,4kV.
Kurskenergo | 98 | 40496487 | 2012-01-23 | 6 months | 5 | 466.1 | SS 35/10 kV ZHBI, overhead line-10 kV 577.03, TS-10/0,4 kV №451/250 a pole №20 overhead lines-0,4 kV №2 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 99 | 40496525 | 2012-01-18 | 6 months | 14 | 466.1 | SS 110/35/10 kV Zolotuhino, overhead line-10 kV 331.21, TS-10/0,4 kV 15/400 pole 3 overhead lines-0,4 kV №2 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 100 | 40497359 | 2012-01-24 | 12 months | 83 | 218150.56 | SS 110/35/10 kV «Cheremisinovo», overhead line-10 kV 6114, TS-10/0,4 kV 9/2х250 a pole of a 3 overhead lines-0,4 kV 1Т2 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 101 | 40497391 | 2012-01-24 | 6 months | 4 | 466.1 | SS 110/35/10 kV «Dmitriev», overhead line-10 kV 1.1.8, TS-10/0,4 kV №57/2*400 a pole №8/3 ВЛИ-0,4 kV №1 – a tap to input in garage from overhead line-0,4 kV
Kurskenergo | 102 | 40497405 | 2012-01-24 | 6 months | 5 | 466.1 | SS 110/10 kV PTF, overhead line-10 kV 412.06, TS-10/0,4 kV 1/63 pole №8 overhead lines-0,4 kV №1 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 103 | 40497424 | 2012-01-24 | 6 months | 5 | 466.1 | SS 110/10 kV PTF, overhead line-10 kV 412.06, TS-10/0,4 kV 1/63 pole №12 overhead lines-0,4 kV №1 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 104 | 40497479 | 2012-01-24 | 6 months | 5 | 466.1 | SS 110/10 kV PTF, overhead line-10 kV 412.06, TS-10/0,4 kV 1/63 pole №14 overhead lines-0,4 kV №1 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 105 | 40497517 | 2012-01-20 | 6 months | 5 | 466.1 | SS 35/10 kV Sapogovo, overhead line-10 kV 427.01, TS-10/0,4 kV 20/160 pole №5 overhead lines-0,4 kV №2 – a tap to input in a building from overhead line-0,4 kV
Kurskenergo | 106 | 40498054 | 2012-01-31 | 6 months | 15 | 466.1 | SS 110/10 kV PTF, overhead line-10 kV 412.1, TS-10/0,4 kV №6/250 a pole of a projected site of overhead line-0,4 kV №1 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 107 | 40498097 | 2012-01-25 | 6 months | 7 | 466.1 | SS 35/10 kV Orositelnaja, THE OVERHEAD LINE-10 kV A 415.03, TS-10/0,4 kV A 1/160 SS 35/10 kV Orositelnaja
Kurskenergo | 108 | 40498805 | 2012-01-25 | 6 months | 5 | 466.1 | SS 110/35/10 kV "Shchigry", overhead line-10 kV 7.2.38., TS-10/0,4 kV №18/100 a pole №16, overhead line-0,4 kV №1 – a tap to input in a summer kitchen from overhead line-0,4 kV
Kurskenergo | 109 | 40499071 | 2012-01-25 | 6 months | 6 | 466.1 | SS 110/35/10 kV «Lgov». THE OVERHEAD LINE-10 kV A 1309 TS-10/0,4 kV №1309-04/250 a pole №27 overhead lines-0,4 kV №1 – a tap to input in garden house from overhead line-0,4 kV.
Kurskenergo | 110 | 40499651 | 2012-01-25 | 6 months | 12 | 466.1 | SS 110/35/10 kV «Cheremisinovo», overhead line-10 kV 6.1.18, TS-10/0,4 kV №13/100 overhead line-0,4 kV №1 is time №29 tap of branch to input in a building (apartment house) from overhead line-0,4 kV
Kurskenergo | 111 | 40499675 | 2012-01-25 | 6 months | 12 | 466.1 | SS 110/35/10 kV «Dmitriev», overhead line-0,4 kV 1.1.6, TS-1.1.6-01/63 a pole of a 13 overhead lines-0,4 kV 2 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 112 | 40499867 | 2012-01-31 | 6 months | 15 | 466.1 | SS 110/35/10 kV «Kljukva», overhead line-10 kV 176.118, TS-10/0,4 kV 6/160 pole 4 overhead lines-0,4 kV 2 - a branch Junction to input in an apartment house from overhead line-0,4kV.
Kurskenergo | 113 | 40499889 | 2012-01-31 | 6 months | 15 | 466.1 | SS 110/35/10 kV «Kljukva», overhead line-10 kV 176.118, TS-10/0,4 kV 6/160 pole 3 overhead lines-0,4 kV 2 - a branch Junction to input in an apartment house from overhead line-0,4kV.
Kurskenergo | 114 | 40500254 | 2012-01-27 | 6 months | 12 | 466.1 | SS 110/35/10 kV «Sudzha» THE OVERHEAD LINE-10 kV A 7122 TS-10/0,4 kV 13к/160 a pole of a 16 overhead lines-0,4 kV №2 – a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 115 | 40500311 | 2012-01-31 | 6 months | 12 | 466.1 | SS 110/35/10 kV Medvenka, overhead line-10 kV 243.16, TS-10/0,4 kV 383/250 pole №1 overhead lines-0,4 kV №2 – a tap to input in garage from overhead line-0,4 kV
Kurskenergo | 116 | 40500692 | 2012-01-30 | 6 months | 6 | 466.1 | SS 35/10 kV «Solntsevo» THE OVERHEAD LINE-10 kV A 673 tp - 11/63 pole №7, overhead line-0,4 kV №1; a tap to incoming line section in an apartment house from overhead line-0,4 kV
Kurskenergo | 117 | 40501973 | 2012-01-30 | 6 months | 5 | 466.1 | SS 110/35/10 «Marino» THE OVERHEAD LINE-10 kV №22901 TS 10/0,4 kV №2/160 a pole №42 overhead lines-0,4 kV №1 - a tap to input in an apartment house from overhead line-0,4 kV
Kurskenergo | 118 | 40502627 | 2012-01-31 | 6 months | 10 | 466.1 | SS 35/10 kV Razvete, overhead line-10 kV 2.6.13, TS-10/0,4 kV 217/63 pole 6 overhead lines-0,4 kV №1 – a tap to input in service building from overhead line-0,4 kV