## Summary
The appendix №1
Data on IDGC of Centre - Lipetskenergo division new connections for JANUARY, 2012
Name of IDGC of Centre division | Name of 35-110 kV SS | Number of applications |  | Concluded contracts |  | Completed contracts (Acts of Acceptance for NC signed) |  | Cancelled applications
|  | Pieces | MW | Pieces | MW | Pieces | MW | Pieces | MW
| Total SS 35 kV | 151 | 1.8777 | 125 | 1.5295 | 201 | 1.8567 | 4 | 0.04
Lipetskenergo | SS 35/10 kV №1 |  |  |  |  | 0 | 0
Lipetskenergo | SS 35/6 kV №2 | 2 | 0.03 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV №3 | 2 | 0.03 |  |  | 3 | 0.034
Lipetskenergo | SS 35/6 kV №4 |  | 0 | 1 | 0.015 | 3 | 0.019
Lipetskenergo | SS 35/10 kV Bereznjagovka |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Borino | 5 | 0.09 | 5 | 0.045 | 3 | 0.04
Lipetskenergo | SS 35/10 kV Borisovka |  | 0 | 7 | 0.097 | 4 | 0.039
Lipetskenergo | SS 35/10 kV Bochinovka | 6 | 0.09 | 3 | 0.034 | 2 | 0.007
Lipetskenergo | SS 35/10 kV Butyrki |  | 0 | 6 | 0.05 | 3 | 0.0215
Lipetskenergo | SS 35/10 kV Vvedenka | 2 | 0.02 | 1 | 0.001 | 8 | 0.07
Lipetskenergo | SS 35/6 kV Veshalovka | 5 | 0.09 | 1 | 0.007 | 1 | 0.015
Lipetskenergo | SS 35/6 kV Vodozabor | 5 | 0.032 | 1 | 0.007 | 1 | 0.01
Lipetskenergo | SS 35/10 kV Vpered | 1 | 0.0136 |  |  | 0 | 0
Lipetskenergo | SS 35/6 kV Grjazi-Gorod |  | 0 |  |  | 1 | 0.007
Lipetskenergo | SS 35/10 kV Grjaznoe | 5 | 0.09 | 1 | 0.007 | 2 | 0.03
Lipetskenergo | SS 35/10 kV Demshinka |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Dmitrievka | 6 | 0.0454 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Dmitrjashevka |  | 0 | 1 | 0.015 | 0 | 0
Lipetskenergo | SS 35/10 kV Ivanovka |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Kalikino | 1 | 0.007 | 1 | 0.007 | 3 | 0.035
Lipetskenergo | SS 35/10 kV Karamyshevo | 2 | 0.03 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Kn.Bajgora | 2 | 0.03 |  |  | 1 | 0.007
Lipetskenergo | SS 35/10 kV Krasnaja Dubrava | 2 | 0.016 | 1 | 0.015 | 0 | 0
Lipetskenergo | SS 35/10 kV Kon-Kolodez |  | 0 | 1 | 0.02125 | 0 | 0
Lipetskenergo | SS 35/10 kV Kulikovo | 1 | 0.007 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Kurino |  | 0 |  |  | 3 | 0.025
Lipetskenergo | SS 35/10 kV Lebedjanka | 1 | 0.01 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Malej | 2 | 0.01 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Moskovka | 1 | 0.015 | 1 | 0.007 | 0 | 0
Lipetskenergo | SS 35/6 kV MPS |  | 0 | 1 | 0.007 | 0 | 0
Lipetskenergo | SS 35/10 kV Mjasokombinat | 1 | 0.007 | 2 | 0.022 | 4 | 0.043
Lipetskenergo | SS 35/10 kV Novo-Dubovoe | 1 | 0.007 |  |  | 1 | 0.015
Lipetskenergo | SS 35/10 kV Novocherkutino | 1 | 0.009 |  |  | 0 | 0
Lipetskenergo | SS 35/10 KVS of Parshinovka |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 KVS of Pashkovo | 1 | 0.007 | 1 | 0.009 | 0 | 0
Lipetskenergo | SS 35/10 kV Peskovatka |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Petrovskaja | 1 | 0.007 | 1 | 0.005 | 0 | 0
Lipetskenergo | SS 35/10 kV Plavitsa | 5 | 0.019 | 1 | 0.34 | 0 | 0
Lipetskenergo | SS 35/10 kV Poddubrovka | 2 | 0.02 |  |  | 2 | 0.021
Lipetskenergo | SS 35/10 kV Pravda | 1 | 0.135 | 1 | 0.015 | 0 | 0
Lipetskenergo | SS 35/10 kV Pruzhinki |  | 0 | 7 | 0.049 | 0 | 0
Lipetskenergo | SS 35/6 kV Ptitsefabrika | 3 | 0.015 | 1 | 0.003 | 0 | 0
Lipetskenergo | SS 35/10 kV Ratchino |  | 0 |  |  | 2 | 0.0145
Lipetskenergo | SS 35/10 kV Rechnaja | 1 | 0.0136 |  |  | 1 | 0.015
Lipetskenergo | SS 35/10 kV Sentsovo |  | 0 |  |  | 2 | 0.014
Lipetskenergo | SS 35/10 kV Selhoztehnika | 2 | 0.014 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Sindjakino |  | 0 | 1 | 0.015 | 0 | 0
Lipetskenergo | SS 35/10 kV Sselki | 3 | 0.26 |  |  | 0 | 0 | 2 | 0.03
Lipetskenergo | SS 35/10 kV Soshki | 4 | 0.06 |  |  | 1 | 0.007
Lipetskenergo | SS 35/10 kV Stebaevo |  | 0 |  |  | 1 | 0.004
Lipetskenergo | SS 35/6 kV Tavolzhanka | 1 | 0.01 | 7 | 0.068 | 9 | 0.075
Lipetskenergo | SS 35/10 kV Talitskij Chamlyk |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Troitskaja | 5 | 0.078 | 3 | 0.03 | 6 | 0.051
Lipetskenergo | SS 35/10 kV Trubetchino | 1 | 0.005 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Tjushevka | 1 | 0.01 | 1 | 0.015 | 0 | 0
Lipetskenergo | SS 35/10 kV Fedorovka |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Hleboprodukty |  | 0 | 2 | 0.03 | 1 | 0.015
Lipetskenergo | SS 35/10 kV Chastaja Dubrava | 1 | 0.136 | 6 | 0.185 | 15 | 0.182
Lipetskenergo | SS 35/10 kV Yarlukovo |  | 0 | 3 | 0.037 | 6 | 0.059
Lipetskenergo | SS35/6/6kV "Trubnaja-2" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV SHT |  | 0 |  |  | 1 | 0.007
Lipetskenergo | SS 35/6 kV Novonikolaevka | 1 | 0.007 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV Negachevka |  |  |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV Agronom |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV Barjatino |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10 kV Bigildino |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV B.Verh |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV B.Izbishchi |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV B.Popovo |  | 0 | 2 | 0.014 | 0 | 0
Lipetskenergo | SS-35/10 kV Vednoe |  | 0 | 1 | 0.008 | 0 | 0
Lipetskenergo | SS-35/10 kV Voskresenovka |  | 0 | 2 | 0.021 | 0 | 0
Lipetskenergo | SS-35/10 kV Golovshchino | 2 | 0.009 | 1 | 0.015 | 1 | 0.015
Lipetskenergo | SS-35/10 kV Dankov-selskaja |  | 0 | 2 | 0.025 | 1 | 0.015
Lipetskenergo | SS-35/10kV Dolgoe | 2 | 0.008 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV Drezgalovo | 1 | 0.0136 | 0 | 0 | 62 | 0.00775
Lipetskenergo | SS-35/10 kV Dubrava | 1 | 0.008 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10 kV Znamenskaja |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV K.Lubna | 3 | 0.018 | 1 | 0.0136 | 1 | 0.01
Lipetskenergo | SS-35/10 kV Krasnoe | 13 | 0.00195 | 18 | 0.0122 | 0 | 0
Lipetskenergo | SS-35/10 kV Kolybelskoe | 1 | 0.015 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10 kV Kultura |  | 0 | 2 | 0.014 | 0 | 0
Lipetskenergo | SS-35/10 kV Nikolskoe | 2 | 0.01 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10 kV Novopoljane |  | 0 | 2 | 0.02 | 0 | 0
Lipetskenergo | SS-35/10 kV Pervomajskoe | 2 | 0.02 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10 kV Pikovo |  | 0 | 0 | 0 | 1 | 0.005
Lipetskenergo | SS-35/10kV Polibino | 2 | 0.01 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10 kV Politovo |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV Ranenburg |  | 0 | 1 | 0.008 | 0 | 0
Lipetskenergo | SS-35/10 kV Saprykino | 1 | 0.0136 | 0 | 0 | 1 | 0.015
Lipetskenergo | SS-35/10kV Sergievka |  | 0 | 4 | 0.023 | 0 | 0
Lipetskenergo | SS-35/10kV Teploe |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10 kV Troekurovo-sovhoznaja | 3 | 0.015 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10 kV Hrushchevo |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV Yablonovo | 2 | 0.02 | 0 | 0 | 18 | 0.647
Lipetskenergo | SS-35/10 kV Fire chambers |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV "Avangard" | 2 | 0.016 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV "Aurora" | 1 | 0.015 | 1 | 0.015 | 1 | 0.015 | 1 | 0.005
Lipetskenergo | SS-35/10kV "Voronets" |  | 0 | 1 | 0.0115 | 0 | 0
Lipetskenergo | SS-35/10kV "Vostochnaja" | 2 | 0.016 | 3 | 0.031 | 2 | 0.016
Lipetskenergo | SS-35/10kV "Gnilusha" | 2 | 0.03 | 3 | 0.027 | 1 | 0.003
Lipetskenergo | SS-35/10kV "5th Don" |  | 0 | 0 | 0 | 2 | 0.015
Lipetskenergo | SS-35/10kV "Zadonsk-rural" | 4 | 0.026 | 0 | 0 | 1 | 0.012
Lipetskenergo | SS-35/10kV "Cossacks" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV "Cossack" |  | 0 | 1 | 0.01 | 0 | 0
Lipetskenergo | SS-35/10kV "Kolesovo" | 3 | 0.026 | 2 | 0.017 | 2 | 0.037
Lipetskenergo | SS-35/10kV "Ksizovo" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV "Olshanets" | 2 | 0.016 | 1 | 0.006 | 1 | 0.008
Lipetskenergo | SS-35/10kV "Rural" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-35/10kV "Solidarity" |  | 0 | 3 | 0.033 | 0 | 0
Lipetskenergo | SS-35/10kV "Talitsa" |  | 0 | 1 | 0.015 | 0 | 0
Lipetskenergo | SS-35/10kV "Silent Don" | 4 | 0.028 | 0 | 0 | 2 | 0.016 | 1 | 0.005
Lipetskenergo | SS-35/10kV "Hitrovo" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS 35/6 kV "Golikovo" | 3 | 0.024 | 1 | 0.015 | 0 | 0
Lipetskenergo | SS-35/10 kV "Vasilevka" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Gatishche" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Zaharovka" | 2 | 0.01 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Krasotynovka" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Stegalovka" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Cheerful" | 1 | 0.009 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Lomovets" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Timirjazevo" | 1 | 0.006 |  |  | 2 | 0.01
Lipetskenergo | SS-35/10 kV "Gryzlovo" | 1 | 0.007 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Zhernovnoe" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Chernava" |  | 0 | 1 | 0.008 | 0 | 0
Lipetskenergo | SS-35/10 kV "Afanasevo" | 1 | 0.011 |  |  | 1 | 0.008
Lipetskenergo | SS-35/10 kV "Pankratovka" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Kamenka" |  | 0 |  |  | 2 | 0.024
Lipetskenergo | SS-35/10 kV "Babarykino" |  | 0 |  |  | 3 | 0.052
Lipetskenergo | SS-35/10 kV "Kirillovo" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Lamsky" |  | 0 |  |  | 3 | 0.021
Lipetskenergo | SS-35/10 kV "Red Palna" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Stanovoe" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Flat" |  | 0 | 2 | 0.009 | 2 | 0.015
Lipetskenergo | SS-35/10 kV "Borki" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "Knjazevo" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-35/10 kV "2 Terbuny" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV "B.Boevka" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV "Preobrazhene" |  | 0 |  |  | 1 | 0.008
Lipetskenergo | SS-35/10 kV "Jakovlevo" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 35/10 kV "Matyra" |  | 0 |  |  | 0 | 0
Lipetskenergo | Total SS 110 kV | 66 | 3.5431 | 109 | 3.6298 | 56 | 0.9045 | 1 | 1.4
Lipetskenergo | SS-110/35/10kV "Dolgorukovo" |  | 0 | 1 | 0.066 | 1 | 0.005
Lipetskenergo | SS-110/35/10kV "Chernoles" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-110/35/10kV "Izmalkovo" |  | 0 | 1 | 0.008 | 1 | 0.008
Lipetskenergo | SS-110/35/10kV "Volovo" |  | 0 | 2 | 0.0206 | 1 | 0.015
Lipetskenergo | SS-110/35/10kV "Naberezhnoe" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-110/35/6 kV "Stanovaja" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-110/35/10kV "Terbuny" | 2 | 0.016 | 3 | 0.031 | 5 | 0.063
Lipetskenergo | SS-110/35/10kV "Terbunsky potter" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS-110kV "Gorohovsky" | 3 | 0.055 | 3 | 0.027 | 2 | 0.014
Lipetskenergo | SS-110kV "Don" |  | 0 | 23 | 0.338 | 0 | 0
Lipetskenergo | SS-110kV "Kashary" | 2 | 0.0075 | 0 | 0 | 1 | 0.008
Lipetskenergo | SS-110kV "TSRP" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-110kV "Modular" | 3 | 0.035 | 1 | 0.277 | 2 | 0.015
Lipetskenergo | SS-110kV "Western" | 5 | 0.57 | 8 | 0.092 | 2 | 0.013
Lipetskenergo | SS-110kV "Crone" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-110/6kV "Cogeneration station" |  | 0 | 1 | 0.008 | 2 | 0.03
Lipetskenergo | SS-110kV "Tabaki" | 3 | 0.045 | 1 | 0.005 | 0 | 0
Lipetskenergo | SS-110kV "Lukoshkino" | 4 | 0.065 | 0 | 0 | 0 | 0
Lipetskenergo | SS 110/35/10 kV "Astapovo" |  | 0 | 6 | 0.048 | 1 | 0.015
Lipetskenergo | SS 110/35/10 kV "Beryozovka" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-110/6kV «Dankovsky Cogeneration station» |  | 0 | 1 | 0.005 | 0 | 0
Lipetskenergo | SS-110/35/10kV "Compressor" | 1 | 0.007 | 1 | 0.01 | 0 | 0
Lipetskenergo | SS-110/10 kV "Round" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS-110/10kV "Kujman" |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS 110/35/10 kV "Lebedjan" | 1 | 0.58 | 10 | 0.063 | 4 | 0.274
Lipetskenergo | SS 110/35/10kV "Lev Tolstoi" | 3 | 0.04 | 0 | 0 | 0 | 0
Lipetskenergo | SS-110/35/10kV "Lutoshkino" | 3 | 0.045 | 0 | 0 | 0 | 0
Lipetskenergo | SS-110/10kV "Machine works" | 2 | 0.0236 | 0 | 0 | 0 | 0
Lipetskenergo | SS 110/10kV "Field" |  | 0 | 6 | 0.03 | 1 | 0.007
Lipetskenergo | SS 110/10 kV "Olhovets" | 3 | 0.045 | 2 | 0.018 | 0 | 0
Lipetskenergo | SS 110/35/10kV «Rossija» |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS 110/35/10kV Saprykino |  | 0 | 0 | 0 | 1 | 0.012
Lipetskenergo | SS 110/27,5/10kV Urusovo-tjagovaja |  | 0 | 0 | 0 | 0 | 0
Lipetskenergo | SS 110/35/10 "Chemical" |  | 0 | 1 | 0.015 | 3 | 0.033
Lipetskenergo | SS 110/35/10kV "Tchaplygin" |  | 0 | 2 | 0.019 | 1 | 0.005
Lipetskenergo | SS 110/35/10 kV "Tchaplygin new" |  | 0 | 2 | 0.018 | 2 | 0.018
Lipetskenergo | SS 110/35/10 kV "Dolomite" | 0 | 0 | 1 | 0.005 | 0 | 0
Lipetskenergo | SS 110/35/10 kV Hvorostjanka |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 110/35/10 kV Dobrinka |  | 0 | 2 | 0.0536 | 1 | 0.005
Lipetskenergo | SS 110/35/10 kV Dobroe | 5 | 0.019 | 2 | 0.022 | 8 | 0.1
Lipetskenergo | SS 110/35/10 kV Kazinka |  | 0 | 9 | 0.271 | 1 | 0.007
Lipetskenergo | SS 110/10 kV Dvurechki | 5 | 0.075 | 3 | 0.029 | 4 | 0.062
Lipetskenergo | SS 110/6 kV "Yokohama" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 110/35/10/6 Gidrooborudovanie |  | 0 | 3 | 0.024 | 2 | 0.025 | 1 | 1.4
Lipetskenergo | SS 110/10/10 kV Universitetskaja |  | 0 | 2 | 0.27301 | 0 | 0
Lipetskenergo | SS 110/35/6 kV Novaja Derevnja |  | 0 | 1 | 0.005 | 4 | 0.044
Lipetskenergo | SS 110/35/6 kV Verbilovo | 7 | 0.0515 |  |  | 0 | 0
Lipetskenergo | SS 110/6 kV "Main step-down substation-2" |  | 0 | 1 | 1 | 0 | 0
Lipetskenergo | SS 110 kV "Manezhnaja" | 1 | 0.34 |  |  | 0 | 0
Lipetskenergo | SS 110/6 kV «Teplichnaja» |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 110/6 kV "Near station" |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 110/6 kV Suhaja Lubna | 1 | 0.007 | 1 | 0.007 | 0 | 0
Lipetskenergo | SS 110/10/10 kV Oktjabrskaja |  | 0 | 1 | 0.012 | 1 | 0.007
Lipetskenergo | SS 110/10/6 kV Yuzhnaja | 1 | 0.51 |  |  | 0 | 0
Lipetskenergo | SS 110/35/6 kV Bugor |  | 0 |  |  | 0 | 0
Lipetskenergo | SS 110/10/6 kV "Southwest" | 1 | 0.3145 |  |  | 0 | 0
Lipetskenergo | SS 110/35/6 kV "Cement" | 2 | 0.5525 |  |  | 0 | 0
Lipetskenergo | SS 110/6 kV KPD |  | 0 | 1 | 0.755 | 0 | 0
Lipetskenergo | SS 110/35/10 kV Usman | 4 | 0.0525 | 4 | 0.031 | 1 | 0.0305
Lipetskenergo | SS 110/35/10 kV Aksaj |  | 0 |  |  | 1 | 0.01
Lipetskenergo | SS 110/35/10 kV Nikolskaja | 1 | 0.06 |  |  | 1 | 0.065
Lipetskenergo | SS 110/35/10 kV Hlevnoe | 3 | 0.027 | 2 | 0.03 | 2 | 0.014
Lipetskenergo | SS 110/6 kV LTP |  |  | 1 | 0.0136 | 0 | 0
Lipetskenergo | SS 110/35/10 kV Matrenka | 2 | 0.014 |  |  | 0 | 0

## Concluded contracts
Site by site data for New Connection concluded contracts for JANUARY, 2012
Division | Item # | Number of concluded contract | Date of contract conclusion dd/mm/yyyy | Term of execution in XX months | Maximum power, kW (including current power in kW) | Contract quantity in roubles without VAT | Site connection point (SS, PL)
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Lipetskenergo | 1 | 40447177 | 2012-01-13 | 6 months | 7 | 466.1017 | SS-110/35/10 kV "Volovo"
Lipetskenergo | 2 | 40471783 | 2012-01-11 | 6 months | 66 | 931941.1186 | SS-110/35/10 kV "Dolgorukovo"
Lipetskenergo | 3 | 40476847 | 2012-01-11 | 6 months | 2 | 466.1017 | SS-35/10 kV "Flat"
Lipetskenergo | 4 | 40480832 | 2012-01-24 | 6 months | 13.6 | 466.1017 | SS-110/35/10 kV "Volovo"
Lipetskenergo | 5 | 40475733 | 2012-01-23 | 6 months | 8 | 466.1017 | SS-35/10 kV "Chernava"
Lipetskenergo | 6 | 40478742 | 2012-01-12 | 6 months | 8 | 466.1017 | SS-110/35/10 kV "Terbuny"
Lipetskenergo | 7 | 40485809 | 2012-01-13 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Terbuny"
Lipetskenergo | 8 | 40488666 | 2012-01-20 | 6 months | 8 | 466.1017 | SS-110/35/10 kV "Izmalkovo"
Lipetskenergo | 9 | 40490185 | 2012-01-30 | 6 months | 8 | 466.1017 | SS-110/35/10 kV "Terbuny"
Lipetskenergo | 10 | 40491913 | 2012-01-31 | 6 months | 7 | 466.1017 | SS-35/10 kV "Flat"
Lipetskenergo | 11 | 40462432 | 2012-01-24 | 6 months | 5 | 466.1 | SS 110/6 kV "Tabaki", CL-6 kV "TS-72-TS-172", TS-100 kV №172, overhead line-0,4 kV, f. "Street Olshansky"
Lipetskenergo | 12 | 40484131 | 2012-01-19 | 6 months | 13.6 | 466.1 | SS 35/10 kV "Gnilusha", bay 2, overhead line-10 kV "Gnilusha"
Lipetskenergo | 13 | 40482080 | 2012-01-10 | 6 months | 15 | 466.1 | SS 110/6 kV "Western", bay 213, CL-6 kV "TS-244-TS-243"
Lipetskenergo | 14 | 40480366 | 2012-01-13 | 6 months | 15 | 466.1 | SS 110/6 kV "Western", bay 213, CL-6 kV "TS-244-TS-243"
Lipetskenergo | 15 | 40477766 | 2012-01-13 | 6 months | 15 | 466.1 | SS 110/6 kV "Western", bay 213, CL-6 kV "TS-130-TS-106P"
Lipetskenergo | 16 | 40480213 | 2012-01-11 | 6 months | 5.5 | 466.1 | SS 35/10 kV "Gnilusha", overhead line-10 kV "Gnilusha", TS-630 kV №З-412, overhead line-0,4 kV, f. №4
Lipetskenergo | 17 | 40471817 | 2012-01-31 | 12 months | 276.6 | 7811361.02 | SS 110/6 kV "Modular", CL-6 kV "TS-27-TS-129"
Lipetskenergo | 18 | 40454599 | 2012-01-13 | 6 months | 8 | 466.1 | SS 110/6 kV "Cogeneration station", bay 2, CL-6 kV "Seven-private", TS-320 kV 123, overhead line-0,4 kV, f. "gr. Limy"
Lipetskenergo | 19 | 40466884 | 2012-01-10 | 6 months | 7 | 466.1 | SS 110/35/10 kV "Gorohovsky", bay 25, overhead line-10 kV "Kamyshevka", TS-63 kV З-017, overhead line-0,4 kV, f. №1
Lipetskenergo | 20 | 40466628 | 2012-01-11 | 6 months | 15 | 466.1 | SS 35/6 kV "Vostochnaja", bay 24, overhead line-6 kV "PTS-160-Ts-237"
Lipetskenergo | 21 | 40465360 | 2012-01-19 | 6 months | 15 | 466.1 | SS 35/6 kV "Golikovo", bay 1, overhead line-6 kV "Zadone", TS-63 kV Е-319, overhead line-0,4 kV, f. №2
Lipetskenergo | 22 | 40461184 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 23 | 40460134 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 24 | 40460101 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", PTS-100 kV b/n
Lipetskenergo | 25 | 40460094 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 26 | 40459912 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", a Ts-100 kV b/n
Lipetskenergo | 27 | 40461160 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 28 | 40461188 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 29 | 40460260 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 30 | 40460272 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 31 | 40460255 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 32 | 40460139 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 33 | 40460249 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 34 | 40460415 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 35 | 40461097 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", a Ts-100 kV b/n
Lipetskenergo | 36 | 40461150 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", a Ts-100 kV b/n
Lipetskenergo | 37 | 40461079 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", a Ts-100 kV b/n
Lipetskenergo | 38 | 40460430 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki"
Lipetskenergo | 39 | 40461113 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", PTS-100 kV b/n
Lipetskenergo | 40 | 40461089 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", PTS-100 kV b/n
Lipetskenergo | 41 | 40461140 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", PTS-100 kV b/n
Lipetskenergo | 42 | 40460390 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 8, overhead line-10 kV "Butyrki", PTS-100 kV b/n
Lipetskenergo | 43 | 40459617 | 2012-01-10 | 6 months | 15 | 466.1 | SS 35/10 kV "Aurora", bay 12, overhead line-10 kV "Panikovets", Ts-40 kV №З-198, overhead line-0,4 kV, f. №2
Lipetskenergo | 44 | 40471001 | 2012-01-19 | 6 months | 6 | 466.1 | SS 35/10 kV "Olshanets", bay 4, overhead line-10 kV "Olshanets", Ts-250 kV №З-274, overhead line-0,4 kV, f. №3
Lipetskenergo | 45 | 40481418 | 2012-01-13 | 6 months | 8 | 466.1 | SS 110/6 kV "Western", bay 310, overhead line-6 kV "City", TS-400 kV №135, overhead line-0,4 kV, f. "Garages"
Lipetskenergo | 46 | 40481409 | 2012-01-11 | 6 months | 8 | 466.1 | SS 35/10 kV "Solidarity", bay 2, overhead line-10 kV "Kazinka", Ts-160 kV Е-481, overhead line-0,4 kV, f. №2
Lipetskenergo | 47 | 40478739 | 2012-01-10 | 6 months | 8 | 466.1 | SS 110/6 kV "Western", bay 310, overhead line-6 kV "City", TS-400 kV №135, overhead line-0,4 kV, f. "Garages"
Lipetskenergo | 48 | 40476530 | 2012-01-17 | 6 months | 8 | 466.1 | SS 110/6 kV "Western", bay 115, overhead line-6 kV "Pishchulino", Ts-400 kV №Е-555, overhead line-0,4 kV, f. 1
Lipetskenergo | 49 | 40476510 | 2012-01-10 | 6 months | 10 | 466.1 | SS 35/10 kV "Cossack", bay 1, overhead line-10 kV "Cossack", Ts-100 kV №З-035, overhead line-0,4 kV, f. №3
Lipetskenergo | 50 | 40483897 | 2012-01-10 | 6 months | 9 | 466.1 | SS 35/10 kV "Kolesovo", bay 4, overhead line-10 kV "Bolhovsky", Ts-160 kV З-156, overhead line-0,4 kV, f. A 1
Lipetskenergo | 51 | 40479765 | 2012-01-13 | 6 months | 15 | 466.1 | SS 35/10 kV "Solidarity", bay 1, overhead line-10 kV "PTF Brollernaja", a Ts-250 kV №Е-489, overhead line-0,4 kV, f. №4
Lipetskenergo | 52 | 40476899 | 2012-01-12 | 6 months | 8 | 466.1 | SS 110/35/10 kV "Don", bay 7, overhead line-10 kV "G.Gora", PTS-160 kV №497, overhead line-0,4 kV, f. №2
Lipetskenergo | 53 | 40476870 | 2012-01-19 | 6 months | 8 | 466.1 | SS 110/35/10 kV "Gorohovsky", PL-10 kV "East m-n", PTS-400 kV №Зг-60, overhead line-0,4 kV, f. "On May, 9th"
Lipetskenergo | 54 | 40482096 | 2012-01-10 | 6 months | 8 | 466.1 | SS 35/6 kV "Vostochnaja", bay 7, CL-6 kV "TS-13-TS-103", TS-180 kV №103, overhead line-0,4 kV, f. "Krupskaja-linen"
Lipetskenergo | 55 | 40475059 | 2012-01-10 | 6 months | 8 | 466.1 | SS 35/10 kV "Kolesovo", PL-10 kV "Bolhovsky", Ts-63 kV З-148, overhead line-0,4 kV, f. №2
Lipetskenergo | 56 | 40477876 | 2012-01-11 | 6 months | 8 | 466.1 | SS 35/10 kV "Gnilusha", bay 2, overhead line-10 kV "Gnilusha", Ts-160 kV №З-076, overhead line-0,4 kV, f. №2
Lipetskenergo | 57 | 40489056 | 2012-01-30 | 6 months | 7 | 466.1 | SS 35/10 kV "Pruzhinki", overhead line-10 kV "Ovtsekompleks"
Lipetskenergo | 58 | 40489212 | 2012-01-30 | 6 months | 7 | 466.1 | SS 35/10 kV "Pruzhinki", overhead line-10 kV "Ovtsekompleks"
Lipetskenergo | 59 | 40486522 | 2012-01-17 | 6 months | 11.5 | 466.1 | SS 35/10 kV "Voronets", bay 2, overhead line-10 kV "Seven-private", Ts-100 kV №Е-128, overhead line-0,4 kV, f. №3
Lipetskenergo | 60 | 40486519 | 2012-01-31 | 6 months | 8 | 466.1 | SS 35/6 kV "Vostochnaja", bay 24, overhead line-6 kV "PTS-160-Ts-237"
Lipetskenergo | 61 | 40489026 | 2012-01-17 | 6 months | 10 | 466.1 | SS 35/10 kV "Solidarity", bay 1, overhead line-10 kV "PTF Brollernaja", TS-250 kV №Е-489, overhead line-0,4 kV, f. №1
Lipetskenergo | 62 | 40485415 | 2012-01-17 | 6 months | 15 | 466.1 | SS 35/10 kV "Talitsa", bay 9, overhead line-10 kV "Argamach-Palna", TS-63 kV №Е-283, f. №1
Lipetskenergo | 63 | 40489320 | 2012-01-26 | 6 months | 15 | 466.1 | SS 110/6 kV "Western", overhead line-6 kV "Pishchulino", Ts-250 kV №Е-498, overhead line-0,4 kV, f. №2
Lipetskenergo | 64 | 40486525 | 2012-01-19 | 6 months | 8 | 466.1 | SS 110/6 kV "Western", bay 116, overhead line-6 kV "Ts-23-Ts-125", TS-250 kV №125, overhead line-0,4 kV, f. "Garages"
Lipetskenergo | 65 | 40486533 | 2012-01-19 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Don", bay 22, overhead line-10 kV "Matjushkino", overhead line-0,4 kV, f. №2
Lipetskenergo | 66 | 40486535 | 2012-01-20 | 6 months | 12 | 466.1 | SS 110/35/10 kV "Gorohovsky", bay 1, overhead line-10 kV "Tjunino", Ts-100 kV №З-056, f. №1
Lipetskenergo | 67 | 40489006 | 2012-01-26 | 6 months | 7 | 466.1 | SS 35/10 kV "Pruzhinki", overhead line-10 kV "Ovtsekompleks"
Lipetskenergo | 68 | 40488998 | 2012-01-31 | 6 months | 7 | 466.1 | SS 35/10 kV "Pruzhinki", overhead line-10 kV "Ovtsekompleks"
Lipetskenergo | 69 | 40489013 | 2012-01-26 | 6 months | 7 | 466.1 | SS 35/10 kV "Pruzhinki", overhead line-10 kV "Ovtsekompleks"
Lipetskenergo | 70 | 40489015 | 2012-01-24 | 6 months | 7 | 466.1 | SS 35/10 kV "Pruzhinki", overhead line-10 kV "Ovtsekompleks"
Lipetskenergo | 71 | 40489822 | 2012-01-31 | 6 months | 7 | 466.1 | SS 35/10 kV "Pruzhinki", overhead line-10 kV "Ovtsekompleks"
Lipetskenergo | 72 | 40467753 | 2012-01-10 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Tchaplygin-new"
Lipetskenergo | 73 | 40469617 | 2012-01-20 | 6 months | 5 | 466.1 | SS 110/35/10 kV "Astapovo"
Lipetskenergo | 74 | 40469620 | 2012-01-20 | 6 months | 5 | 466.1 | SS 110/35/10 kV "Astapovo"
Lipetskenergo | 75 | 40469602 | 2012-01-20 | 6 months | 5 | 466.1 | SS 110/35/10 kV "Astapovo"
Lipetskenergo | 76 | 40472876 | 2012-01-11 | 6 months | 7 | 466.1 | SS 35/10 kV «B.Popovo»
Lipetskenergo | 77 | 40476640 | 2012-01-11 | 6 months | 13.6 | 466.1 | SS 35/10 kV «Stone Lubna»
Lipetskenergo | 78 | 40476625 | 2012-01-11 | 6 months | 3 | 466.1 | SS 110/10 kV "Olhovets"
Lipetskenergo | 79 | 40478767 | 2012-01-11 | 6 months | 15 | 466.1 | SS-35/10 kV «Dankov rural»
Lipetskenergo | 80 | 40481526 | 2012-01-16 | 6 months | 10.5 | 466.1 | SS 35/10 kV «Voskresenovka»
Lipetskenergo | 81 | 40481520 | 2012-01-16 | 6 months | 10.5 | 466.1 | SS 35/10 kV «Voskresenovka»
Lipetskenergo | 82 | 40483670 | 2012-01-13 | 6 months | 10 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 83 | 40489806 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 84 | 40489805 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 85 | 40489804 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 86 | 40489783 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 87 | 40489781 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 88 | 40489780 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 89 | 40489778 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 90 | 40489777 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 91 | 40489775 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 92 | 40489774 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 93 | 40489773 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 94 | 40489824 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 95 | 40489770 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 96 | 40489768 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 97 | 40490452 | 2012-01-27 | 6 months | 3 | 466.1 | SS 110/35/10 kV "Astapovo"
Lipetskenergo | 98 | 40489823 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 99 | 40489825 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 100 | 40489826 | 2012-01-26 | 6 months | 0.15 | 466.1 | SS 35/10 kV «Krasnoe»
Lipetskenergo | 101 | 40471065 | 2012-01-17 | 6 months | 8 | 466.1 | SS 35/10 kV «Sergievka»
Lipetskenergo | 102 | 40470892 | 2012-01-10 | 6 months | 10 | 466.1 | SS 35/10 kV «Novopoljane»
Lipetskenergo | 103 | 40470805 | 2012-01-10 | 6 months | 10 | 466.1 | SS 35/10 kV «Novopoljane»
Lipetskenergo | 104 | 40470754 | 2012-01-24 | 6 months | 10 | 466.1 | SS 110/35/10 kV «Tchaplygin new»
Lipetskenergo | 105 | 40470822 | 2012-01-10 | 6 months | 3 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 106 | 40470655 | 2012-01-12 | 6 months | 3 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 107 | 40471545 | 2012-01-30 | 6 months | 8 | 466.1 | SS 35/10 kV «Ranenburg»
Lipetskenergo | 108 | 40472016 | 2012-01-23 | 6 months | 5 | 466.1 | SS 110/6 kV "Dolomite"
Lipetskenergo | 109 | 40474551 | 2012-01-11 | 6 months | 10 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 110 | 40475050 | 2012-01-20 | 6 months | 7 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 111 | 40475795 | 2012-01-10 | 6 months | 7 | 466.1 | SS 35/10 kV «B.Popovo»
Lipetskenergo | 112 | 40478791 | 2012-01-23 | 6 months | 7 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 113 | 40475789 | 2012-01-23 | 6 months | 7 | 466.1 | SS 35/10 kV «Kultura»
Lipetskenergo | 114 | 40476119 | 2012-01-10 | 6 months | 4 | 466.1 | SS 110/35/10 kV "Tchaplygin"
Lipetskenergo | 115 | 40476108 | 2012-01-11 | 6 months | 8 | 466.1 | SS 110/35/10 kV "Tchaplygin-new"
Lipetskenergo | 116 | 40478779 | 2012-01-16 | 6 months | 10 | 466.1 | SS 35/10 kV "Golovinshchino"
Lipetskenergo | 117 | 40478798 | 2012-01-11 | 6 months | 8 | 466.1 | SS 35/10 kV «Vednoe»
Lipetskenergo | 118 | 40478981 | 2012-01-10 | 6 months | 3 | 466.1 | SS 110/10 kV "Field"
Lipetskenergo | 119 | 40478967 | 2012-01-10 | 6 months | 3 | 466.1 | SS 110/10 kV "Field"
Lipetskenergo | 120 | 40479099 | 2012-01-10 | 6 months | 3 | 466.1 | SS 110/10 kV "Field"
Lipetskenergo | 121 | 40478922 | 2012-01-10 | 6 months | 15 | 466.1 | SS 110/10 kV "Olhovets"
Lipetskenergo | 122 | 40478878 | 2012-01-04 | 6 months | 3 | 466.1 | SS 110/10 kV "Field"
Lipetskenergo | 123 | 40481470 | 2012-01-12 | 6 months | 15 | 466.1 | SS 110/10 kV "Field"
Lipetskenergo | 124 | 40481461 | 2012-01-16 | 6 months | 3 | 466.1 | SS 110/10 kV "Field"
Lipetskenergo | 125 | 40481367 | 2012-01-18 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Astapovo"
Lipetskenergo | 126 | 40481353 | 2012-01-18 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Astapovo"
Lipetskenergo | 127 | 40481296 | 2012-01-13 | 6 months | 5 | 466.1 | SS-110/6kV «Dankovsky Cogeneration station»
Lipetskenergo | 128 | 40488022 | 2012-01-16 | 6 months | 3 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 129 | 40484176 | 2012-01-16 | 6 months | 3 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 130 | 40484158 | 2012-01-10 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 131 | 40485814 | 2012-01-26 | 6 months | 7 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 132 | 40485826 | 2012-01-23 | 6 months | 10 | 466.1 | SS 110/35/10 kV "Lebedjan"
Lipetskenergo | 133 | 40485825 | 2012-01-23 | 6 months | 10 | 466.1 | SS 110/35/10 kV "Compressor"
Lipetskenergo | 134 | 40485800 | 2012-01-17 | 6 months | 7 | 466.1 | SS 35/10 kV «Kultura»
Lipetskenergo | 135 | 40487484 | 2012-01-16 | 6 months | 10 | 466.1 | SS 35/10 kV «Dankov rural»
Lipetskenergo | 136 | 40488323 | 2012-01-23 | 6 months | 5 | 466.1 | SS 35/10 kV «Sergievka»
Lipetskenergo | 137 | 40488346 | 2012-01-16 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Chemical"
Lipetskenergo | 138 | 40488638 | 2012-01-23 | 6 months | 5 | 466.1 | SS 35/10 kV «Sergievka»
Lipetskenergo | 139 | 40488618 | 2012-01-23 | 6 months | 5 | 466.1 | SS 35/10 kV «Sergievka»
Lipetskenergo | 140 | 40344007 | 2012-01-26 | 12 months | 3.01 | 9293 | SS 110/10/10 kV Universitetskaja | IT
Lipetskenergo | 141 | 40469944 | 2012-01-16 | 12 months | 270 | 13017.178 | SS 110/10/10 kV Universitetskaja.
Lipetskenergo | 142 | 40470772 | 2012-01-23 | 6 months | 99 | 32627.1186 | SS 110/35/10 kV Kazinka bay # 14
Lipetskenergo | 143 | 40470864 | 2012-01-23 | 6 months | 99 | 32627.1186 | SS 110/35/10 kV Kazinka bay # 14
Lipetskenergo | 144 | 40469886 | 2012-01-17 | 12 months | 340 | 1360343.3983 | SS 35/10 kV Plavitsa bay # 7
Lipetskenergo | 145 | 40473988 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 35/6 kV №4
Lipetskenergo | 146 | 40472502 | 2012-01-17 | 12 months | 21.25 | 85021.4661 | SS 35/10 kV Kon-Kolodez
Lipetskenergo | 147 | 40474072 | 2012-01-16 | 12 months | 13.6 | 54413.7373 | SS 110/6 kV LTP | Exceeds 300 m
Lipetskenergo | 148 | 40476844 | 2012-01-16 | 6 months | 6 | 466.1017 | SS 110/35/10 kV Usman
Lipetskenergo | 149 | 40481987 | 2012-01-19 | 6 months | 5 | 466.1017 | SS 35/10 kV Petrovskaja
Lipetskenergo | 150 | 40482467 | 2012-01-10 | 6 months | 15 | 466.1017 | SS 110/35/10 KVS of Dobrinka
Lipetskenergo | 151 | 40482631 | 2012-01-26 | 6 months | 9 | 466.1017 | SS 35/10 kV Pashkovo, DS-10 kV Maiden
Lipetskenergo | 152 | 40483477 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 35/10 kV Kr.Dubrava
Lipetskenergo | 153 | 40483839 | 2012-01-18 | 6 months | 10 | 466.1017 | SS 110/35/10 kV Usman
Lipetskenergo | 154 | 40484100 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 35/10 kV Dmitrjashevka
Lipetskenergo | 155 | 40484319 | 2012-01-17 | 12 months | 136 | 544137.3559 | SS 35/10 kV Chastaja Dubrava
Lipetskenergo | 156 | 40485443 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 35/10 kV Borisovka
Lipetskenergo | 157 | 40486806 | 2012-01-17 | 6 months | 1 | 466.1017 | SS 35/10 kV Vvedenka
Lipetskenergo | 158 | 40486984 | 2012-01-23 | 6 months | 38.6 | 336950.2119 | SS 110/35/10 kV Dobrinka
Lipetskenergo | 159 | 40489409 | 2012-01-24 | 6 months | 5 | 466.1017 | SS 35/10 kV Borino
Lipetskenergo | 160 | 40489395 | 2012-01-24 | 6 months | 15 | 466.1017 | SS 35/10 kV Borino
Lipetskenergo | 161 | 40489405 | 2012-01-24 | 6 months | 5 | 466.1017 | SS 35/10 kV Borino
Lipetskenergo | 162 | 40489400 | 2012-01-24 | 6 months | 5 | 466.1017 | SS 35/10 kV Borino
Lipetskenergo | 163 | 40493273 | 2012-01-31 | 6 months | 15 | 466.1017 | SS 35/10 kV Bochinovka
Lipetskenergo | 164 | 40437796 | 2012-01-27 | 6 months | 15 | 466.1017 | SS 35/10 kV Borisovka
Lipetskenergo | 165 | 40444706 | 2012-01-12 | 6 months | 2 | 466.1017 | SS 35/10 kV Chastaja Dubrava
Lipetskenergo | 166 | 40443231 | 2012-01-25 | 6 months | 15 | 466.1017 | SS 35/10 kV Yarlukovo
Lipetskenergo | 167 | 40452051 | 2012-01-31 | 6 months | 15 | 466.1017 | SS 35/10 KVS of Butyrki
Lipetskenergo | 168 | 40485005 | 2012-01-10 | 6 months | 7 | 466.1017 | SS 110/35/10/6 kV Gidrooborudovanie bay # 16
Lipetskenergo | 169 | 40466519 | 2012-01-10 | 6 months | 15 | 466.1017 | SS 35/10 kV Chastaja Dubrava
Lipetskenergo | 170 | 40467811 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 35/10 kV Chastaja Dubrava
Lipetskenergo | 171 | 40469102 | 2012-01-13 | 6 months | 10 | 466.1017 | SS 35/10 kV Chastaja Dubrava
Lipetskenergo | 172 | 40470908 | 2012-01-10 | 6 months | 15 | 466.1017 | SS 35/10 kV Pravda
Lipetskenergo | 173 | 40470087 | 2012-01-26 | 6 months | 7 | 466.1017 | SS 110/35/10 kV Kazinka
Lipetskenergo | 174 | 40470975 | 2012-01-13 | 6 months | 7 | 466.1017 | SS 35/10 kV Mjasokombinat
Lipetskenergo | 175 | 40471996 | 2012-01-11 | 6 months | 7 | 466.1017 | SS 110/35/10kV Kazinka
Lipetskenergo | 176 | 40471997 | 2012-01-11 | 6 months | 7 | 466.1017 | SS 35/10 kV Chastaja Dubrava
Lipetskenergo | 177 | 40473127 | 2012-01-17 | 6 months | 7 | 466.1017 | SS 110/6 KVS of Suhaja Lubna
Lipetskenergo | 178 | 40475544 | 2012-01-18 | 6 months | 7 | 466.1017 | SS 110/35/10 kV Kazinka
Lipetskenergo | 179 | 40475701 | 2012-01-18 | 6 months | 10 | 466.1017 | SS 110/35/10/6 kV Gidrooborudovanie bay # 16
Lipetskenergo | 180 | 40476125 | 2012-01-18 | 6 months | 7 | 466.1017 | SS 110/35/10 kV Dobroe, DS-10 kV Panino
Lipetskenergo | 181 | 40475590 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 110/35/10 kV Kazinka
Lipetskenergo | 182 | 40476506 | 2012-01-10 | 6 months | 15 | 466.1017 | SS 35/10 kV Borino
Lipetskenergo | 183 | 40477851 | 2012-01-10 | 6 months | 15 | 466.1017 | SS 110/35/10 kV Hlevnoe
Lipetskenergo | 184 | 40478444 | 2012-01-11 | 6 months | 7 | 466.1017 | SS 35/10 kV Moskovka
Lipetskenergo | 185 | 40477938 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 110/35/10kV Kazinka
Lipetskenergo | 186 | 40479364 | 2012-01-20 | 6 months | 7 | 466.1017 | SS 35/6 kV Tavolzhanka bay # 17
Lipetskenergo | 187 | 40480151 | 2012-01-10 | 6 months | 7 | 466.1017 | SS 35/10 kV Bochinovka
Lipetskenergo | 188 | 40480674 | 2012-01-16 | 6 months | 7 | 466.1017 | SS 35/10 kV Grjaznoe
Lipetskenergo | 189 | 40480707 | 2012-01-11 | 6 months | 8 | 466.1017 | SS 35/10 kV Troitskaja
Lipetskenergo | 190 | 40480719 | 2012-01-10 | 6 months | 5 | 466.1017 | SS 110/35/6 kV Novaja Derevnja
Lipetskenergo | 191 | 40480687 | 2012-01-20 | 6 months | 12 | 466.1017 | SS 110/10/10 KVS of Oktjabrskaja
Lipetskenergo | 192 | 40481184 | 2012-01-17 | 6 months | 8 | 466.1017 | Ps 110/35/10 kV Usman
Lipetskenergo | 193 | 40481361 | 2012-01-20 | 6 months | 7 | 466.1017 | SS 35/6 kV Veshalovka
Lipetskenergo | 194 | 40483105 | 2012-01-24 | 6 months | 15 | 466.1017 | SS 35/10 kV Borisovka
Lipetskenergo | 195 | 40483004 | 2012-01-11 | 6 months | 7 | 466.1017 | SS 110/35/10 kV Kazinka
Lipetskenergo | 196 | 40483860 | 2012-01-10 | 6 months | 15 | 466.1017 | SS 35/10 kV Mjasokombinat
Lipetskenergo | 197 | 40484483 | 2012-01-17 | 6 months | 7 | 466.1017 | SS 35/10 kV Butyrki
Lipetskenergo | 198 | 40484574 | 2012-01-16 | 6 months | 7 | 466.1017 | SS 35/6 KVS of Vodozabor
Lipetskenergo | 199 | 40484141 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 110/35/10 kV Dobroe, DS-10 kV Zamartyne.
Lipetskenergo | 200 | 40484681 | 2012-01-31 | 6 months | 15 | 466.1017 | SS 35/10 kV Borisovka
Lipetskenergo | 201 | 40484187 | 2012-01-24 | 6 months | 7 | 466.1017 | SS 35/10 kV Kalikino
Lipetskenergo | 202 | 40485623 | 2012-01-26 | 6 months | 15 | 466.1017 | Ps 35/10 kV Tjushevka
Lipetskenergo | 203 | 40485000 | 2012-01-12 | 6 months | 7 | 466.1017 | SS 35/10 kV Butyrki
Lipetskenergo | 204 | 40485603 | 2012-01-13 | 12 months | 3 | 42360.9576 | SS 35/6 kV Ptitsefabrika | Exceeds 300 m
Lipetskenergo | 205 | 40486299 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 35/10 kV Sindjakino
Lipetskenergo | 206 | 40486303 | 2012-01-17 | 6 months | 12 | 466.1017 | SS 35/10 kV Bochinovka
Lipetskenergo | 207 | 40487647 | 2012-01-20 | 6 months | 15 | 466.1017 | SS 35/10 kV Troitskaja
Lipetskenergo | 208 | 40488545 | 2012-01-24 | 6 months | 7 | 466.1017 | SS 110/35/10 kV Usman
Lipetskenergo | 209 | 40488434 | 2012-01-11 | 6 months | 15 | 466.1017 | SS 35/6 kV Tavolzhanka bay # 12
Lipetskenergo | 210 | 40488136 | 2012-01-12 | 6 months | 7 | 466.1017 | SS 35/10 kV Butyrki
Lipetskenergo | 211 | 40488139 | 2012-01-26 | 6 months | 7 | 466.1017 | SS 110/10 kV Two-small rivers
Lipetskenergo | 212 | 40488199 | 2012-01-12 | 6 months | 15 | 466.1017 | SS 110/35/10 kV Hlevnoe
Lipetskenergo | 213 | 40488157 | 2012-01-19 | 6 months | 7 | 466.1017 | SS 35/6КВ MPS
Lipetskenergo | 214 | 40488860 | 2012-01-18 | 6 months | 7 | 466.1017 | SS 35/10 kV Butyrki
Lipetskenergo | 215 | 40488866 | 2012-01-18 | 6 months | 7 | 466.1017 | SS 35/10 kV Butyrki
Lipetskenergo | 216 | 40489172 | 2012-01-19 | 6 months | 15 | 466.1017 | SS 110/35/10 kV Kazinka
Lipetskenergo | 217 | 40489183 | 2012-01-13 | 6 months | 15 | 466.1017 | SS 110/10 kV Two-small rivers
Lipetskenergo | 218 | 40489192 | 2012-01-17 | 6 months | 15 | 466.1017 | Ps 35/10 kV Yarlukovo
Lipetskenergo | 219 | 40489167 | 2012-01-20 | 6 months | 10 | 466.1017 | SS 35/6 kV Tavolzhanka bay # 12
Lipetskenergo | 220 | 40489617 | 2012-01-24 | 6 months | 7 | 466.1017 | SS 35/6 kV Tavolzhanka bay # 7
Lipetskenergo | 221 | 40489733 | 2012-01-24 | 6 months | 7 | 466.1017 | SS 35/6 kV Tavolzhanka bay # 12
Lipetskenergo | 222 | 40490514 | 2012-01-26 | 6 months | 7 | 466.1017 | SS 110/10 kV Dvurechki
Lipetskenergo | 223 | 40491449 | 2012-01-27 | 6 months | 7 | 466.1017 | SS 35/10 kV Borisovka
Lipetskenergo | 224 | 40490519 | 2012-01-26 | 6 months | 7 | 466.1017 | SS 35/10 kV Troitskaja
Lipetskenergo | 225 | 40492223 | 2012-01-31 | 6 months | 15 | 466.1017 | SS 35/10 kV Borisovka
Lipetskenergo | 226 | 40491688 | 2012-01-26 | 6 months | 15 | 466.1017 | SS 35/10 kV Borisovka
Lipetskenergo | 227 | 40491377 | 2012-01-26 | 6 months | 15 | 466.1017 | SS 35/6 kV Tavolzhanka bay # 7
Lipetskenergo | 228 | 40491432 | 2012-01-23 | 6 months | 7 | 466.1017 | SS 35/6 kV Tavolzhanka bay # 7
Lipetskenergo | 229 | 40493143 | 2012-01-26 | 6 months | 7 | 466.1017 | SS 110/35/10/6 kV Gidrooborudovanie bay # 36
Lipetskenergo | 230 | 40493566 | 2012-01-26 | 6 months | 15 | 466.1017 | SS 35/10 kV Hleboprodukty
Lipetskenergo | 231 | 40493542 | 2012-01-26 | 6 months | 15 | 466.1017 | SS 35/10 kV Hleboprodukty
Lipetskenergo | 232 | 40493439 | 2012-01-26 | 6 months | 7 | 466.1017 | Ps 35/10 kV Yarlukovo
Lipetskenergo | 233 | 40428047 | 2012-01-10 | 24 months | 755 | 18288.58 | SS110/6kV "KPD"
Lipetskenergo | 234 | 40436466 | 2012-01-10 | 24 months | 1000 | 23110 | SS 110/6 kV «Main step-down substation-II»