## Лист1
About electric energy supplied to the grid and electric energy supplied from the grid of the grid company, broken down by voltage levels, used for pricing, to electric energy consumers and territorial grid companies connected to the grid of the grid company for 2012.
million kWh
Branch | Electric energy supplied to the grid |  |  |  |  | Electric energy supplied from the grid (productive supply)
| Total | HV | MV1 | MV2 | LV | Total | HV | MV1 | MV2 | LV
Belgorodenergo | 11685.8376 | 10942.8955 | 1928.1308 | 4418.3634 | 2469.5263 | 10712.8376 | 6582.026 | 429.75 | 1590.833 | 2110.2286
Bryanskenergo | 4012.5804 | 3558.1502 | 765.054 | 608.8205 | 379.9588 | 3766.5897 | 2831.1907 | 496.8592 | 150.5556 | 287.9842
Voronezhenergo | 8387.56 | 8387.56 | 2500 | 5274.31 | 1284.09 | 7550.77 | 2304.81 | 406.02 | 3762.25 | 1077.69
Kostromaenergo | 2937.26 | 2171.658 | 403.9094 | 1713.5509 | 936.8483 | 2500.5024 | 1021.626 | 57.441 | 634.511 | 786.92
Kurskenergo | 5767.433 | 5767.433 | 1016.26 | 1023.628 | 595.958 | 5275.469 | 4085.157 | 414.089 | 316.204 | 460.019
Lipetskenergo | 8048.92 | 7351.58 | 977.5 | 1254.91 | 802.54 | 7369.73 | 6177.013 | 270.851 | 283.457 | 638.411
Orelenergo | 2339.3803 | 2339.3803 | 362.3248 | 1326.31 | 315.5186 | 2065.9003 | 830.0923 | 31.6427 | 933.3554 | 270.8099
Smolenskenergo | 4169.13 | 3838.3451 | 833.1263 | 2078.8674 | 1285.0717 | 3515.156 | 1736.748 | 125.8393 | 616.2971 | 1036.2716
Tambovenergo | 3144.077 | 2934.62 | 914.38 | 927.192 | 525.375 | 2910.9783 | 1804.415 | 295.2 | 348.937 | 462.4263
Tverenergo | 5611.25 | 4914.4197 | 2591.5665 | 1781.8197 | 909.7041 | 4711.78 | 2195.0716 | 1302.64 | 551.2736 | 662.7948
Yarenergo | 7633.1128 | 7304.0598 | 1525.4488 | 1189.13 | 597.1404 | 7034.9383 | 5190.4413 | 922.6645 | 427.6072 | 494.2253
Total for IDGC of Centre | 63736.5411 | 59510.1016 | 13817.7005 | 21596.9018 | 10101.7312 | 57414.6516 | 34758.5909 | 4752.9967 | 9615.281 | 8287.7806
MW
Branch | Electric energy (power) supplied to the grid |  |  |  |  | Electric energy (power) supplied from the grid (productive supply)
| Total | HV | MV1 | MV2 | LV | Total | HV | MV1 | MV2 | LV
Belgorodenergo | 1534.7712 | 1420.3345 | 281.7427 | 684.83 | 367.0925 | 1409.2737 | 762.2153 | 50.1383 | 273.825 | 323.095
Bryanskenergo | 604.1314 | 523.7891 | 115.8043 | 102.5992 | 65.9466 | 569.6629 | 411.5888 | 79.3964 | 25.6378 | 53.0399
Voronezhenergo | 1196.68 | 1196.68 | 200 | 752.3634 | 183.324 | 1076.15 | 328.4859 | 57.8667 | 536.203 | 153.5944
Kostromaenergo | 406.0042 | 300.359 | 59.571 | 252.6486 | 150.8152 | 356.027 | 129.1379 | 7.668 | 85.6639 | 133.7079
Kurskenergo | 743.5785 | 743.5785 | 148.0555 | 152.4415 | 88.8815 | 678.589 | 499.748 | 59.082 | 48.835 | 70.924
Lipetskenergo | 1080.84 | 973.5 | 142.42 | 202.76 | 141.38 | 998.856 | 808.101 | 30.009 | 39.214 | 121.532
Orelenergo | 399.17 | 399.1736 | 127.5571 | 271.6525 | 176.4389 | 359.1 | 129.7425 | 2.9774 | 136.6355 | 58.1319
Smolenskenergo | 629.099 | 578.843 | 123.752 | 307.6852 | 190.3342 | 525.5132 | 260.944 | 15.179 | 98.096 | 151.2942
Tambovenergo | 479.74 | 438.05 | 152.3241 | 200.01 | 148.27 | 444.99 | 224.46 | 38.2 | 43.86 | 138.47
Tverenergo | 801.6071 | 702.06 | 370.2238 | 254.5457 | 129.9577 | 673.1114 | 313.5817 | 186.0914 | 78.7534 | 94.685
Yarenergo | 1093.7696 | 985.7188 | 255.0473 | 169.0937 | 85.1858 | 1011.7897 | 738.3426 | 140.8659 | 61.5 | 71.0812
Total for IDGC of Centre | 8969.3911 | 8262.0865 | 1976.4977 | 3350.6299 | 1727.6264 | 8103.0629 | 4606.3477 | 667.4742 | 1428.2235 | 1369.5555