## Лист1
About electric power losses in networks of the grid company in the absolute and relative terms broken down by voltage levels, used for pricing for 2012.
[5 empty] | million kWh | [5 empty] | MW
Branch | Amount of electric energy losses in absolute terms |  |  |  |  | Branch | Amount of electric energy losses (power) in absolute terms
| Total | HV | MV1 | MV2 | LV |  | Total | HV | MV1 | MV2 | LV
Belgorodenergo | 973 | 160.7058 | 80 | 373 | 359.2942 | Belgorodenergo | 125.4975 | 22 | 11.5 | 48 | 44
Bryanskenergo | 245.9907 | 60.31 | 15 | 78.7061 | 91.9746 | Bryanskenergo | 34.4686 | 8.4249 | 2.0954 | 11.0415 | 12.9067
Voronezhenergo | 836.7926 | 318.57 | 83.85 | 227.97 | 206.4 | Voronezhenergo | 120.5297 | 45.8864 | 12.0776 | 32.8365 | 29.7296
Kostromaenergo | 436.7576 | 117.272 | 25.263 | 144.299 | 149.928 | Kostromaenergo | 49.9772 | 13.3777 | 2.8819 | 16.4608 | 17.1029
Kurskenergo | 491.964 | 165.47 | 79.089 | 111.466 | 135.939 | Kurskenergo | 64.989 | 21.859 | 10.448 | 14.725 | 17.957
Lipetskenergo | 679.188 | 247.229 | 98.92 | 168.911 | 164.126 | Lipetskenergo | 81.98 | 28.334 | 11.634 | 22.161 | 19.851
Orelenergo | 273.48 | 135.0105 | 16.3211 | 77.4397 | 44.7087 | Orelenergo | 40.07 | 17.418 | 2.7184 | 11.8037 | 8.1299
Smolenskenergo | 653.974 | 155.8632 | 71.8122 | 177.4985 | 248.8001 | Smolenskenergo | 103.5858 | 35.8068 | 9.484 | 19.255 | 39.04
Tambovenergo | 233.0987 | 75.93 | 41.13 | 53.09 | 62.9487 | Tambovenergo | 34.75 | 10.67 | 6.35 | 7.93 | 9.8
Tverenergo | 899.47 | 186.3042 | 145.1666 | 321.0899 | 246.9093 | Tverenergo | 128.4957 | 26.6149 | 20.7381 | 45.87 | 35.2728
Yarenergo | 598.1745 | 234.0263 | 56.8552 | 153.9104 | 153.4233 | Yarenergo | 81.9799 | 33.8136 | 11.3686 | 22.6932 | 14.1045
Total for IDGC of Centre | 6321.8901 | 1950.2276 | 731.379 | 1830.5976 | 1809.7288 | Total for IDGC of Centre | 866.3233 | 268.851 | 110.3974 | 248.3591 | 238.5645
[5 empty] | % | [5 empty] | %
Branch | Amount of electric energy losses in relative terms |  |  |  |  | Branch | Amount of electric energy losses (power) in relative terms
| Total | HV | MV1 | MV2 | LV |  | Total | HV | MV1 | MV2 | LV
Belgorodenergo | 8.326% | 1.469% | 4.149% | 8.442% | 14.55% | Belgorodenergo | 8.177% | 1.549% | 4.082% | 7.009% | 11.99%
Bryanskenergo | 6.13% | 1.695% | 1.961% | 12.93% | 24.21% | Bryanskenergo | 5.705% | 1.608% | 1.809% | 10.76% | 19.57%
Voronezhenergo | 9.977% | 3.798% | 3.354% | 4.322% | 16.07% | Voronezhenergo | 10.07% | 3.834% | 6.039% | 4.364% | 16.22%
Kostromaenergo | 14.87% | 5.4% | 6.255% | 8.421% | 16% | Kostromaenergo | 12.31% | 4.454% | 4.838% | 6.515% | 11.34%
Kurskenergo | 8.53% | 2.869% | 7.782% | 10.89% | 22.81% | Kurskenergo | 8.74% | 2.94% | 7.057% | 9.659% | 20.2%
Lipetskenergo | 8.438% | 3.363% | 10.12% | 13.46% | 20.45% | Lipetskenergo | 7.585% | 2.911% | 8.169% | 10.93% | 14.04%
Orelenergo | 11.69% | 5.771% | 4.505% | 5.839% | 14.17% | Orelenergo | 10.04% | 4.364% | 2.131% | 4.345% | 4.608%
Smolenskenergo | 15.69% | 4.061% | 8.62% | 8.538% | 19.36% | Smolenskenergo | 16.47% | 6.186% | 7.664% | 6.258% | 20.51%
Tambovenergo | 7.414% | 2.587% | 4.498% | 5.726% | 11.98% | Tambovenergo | 7.244% | 2.436% | 4.169% | 3.965% | 6.61%
Tverenergo | 16.03% | 3.791% | 5.602% | 18.02% | 27.14% | Tverenergo | 16.03% | 3.791% | 5.602% | 18.02% | 27.14%
Yarenergo | 7.837% | 3.204% | 3.727% | 12.94% | 25.69% | Yarenergo | 7.495% | 3.43% | 4.457% | 13.42% | 16.56%
Total for IDGC of Centre | 9.919% | 3.277% | 5.64% | 10.32% | 18.36% | Total for IDGC of Centre | 9.659% | 3.254% | 5.531% | 8.904% | 14.22%