## Summary
Data on IDGC of Centre - Orelenergo division new connections for January, 2012
Name of IDGC of Centre division |  | Name of 35-110 kV SS | Number of applications |  | Concluded contracts |  | Completed contracts (Acts of Acceptance for NC signed) |  | Cancelled applications
|  |  | Pieces | MW | Pieces | MW | Pieces | MW | Pieces | MW
Orelenergo | 1 | Total SS 35 kV | 35 | 0.577 | 30 | 0.348 | 13 | 0.535 | 2 | 0.03
Orelenergo | 1.1 | SS 35/10 kV "Almazovo" | 1 | 0.015
Orelenergo | 1.2 | SS 35/10 kV "Arkhangelsk" |  |  |  |  | 1 | 0.008
Orelenergo | 1.3 | SS 35/10 kV "Baklanovo" |  |  | 1 | 0.01
Orelenergo | 1.4 | SS 35/10 kV "Biofactory" | 3 | 0.045 | 6 | 0.085 | 2 | 0.03
Orelenergo | 1.5 | SS 35/10 kV "Vvedensky" | 1 | 0.005
Orelenergo | 1.6 | SS 35/10 kV "Gnezdilovo" |  |  |  |  | 1 | 0.01
Orelenergo | 1.7 | SS 35/10 kV "Smooth" |  |  | 1 | 0.005
Orelenergo | 1.8 | SS 35/10 kV "Droskovo" | 1 | 0.004 | 1 | 0.014
Orelenergo | 1.9 | SS 35/10 kV "Zvjaginki" | 5 | 0.075 | 3 | 0.045 | 2 | 0.415
Orelenergo | 1.10 | SS 35/10 kV "Ilinsky" | 4 | 0.06 | 1 | 0.015
Orelenergo | 1.11 | SS 35/10 kV "Kamenka" |  |  | 1 | 0.015
Orelenergo | 1.12 | SS 35/10 kV "Korsakovo" | 1 | 0.015 |  |  |  |  | 1 | 0.015
Orelenergo | 1.13 | SS 35/10 kV "Krasnoznamenka" |  |  | 1 | 0.005 | 3 | 0.015
Orelenergo | 1.14 | SS 35/10 kV "Abrupt" | 1 | 0.01 | 1 | 0.01 | 1 | 0.014
Orelenergo | 1.15 | SS 35/10 kV "Kurakinsky" | 1 | 0.005
Orelenergo | 1.16 | SS 35/10 kV "Kutafino" | 1 | 0.015
Orelenergo | 1.17 | SS 35/10 kV "Lovchikovo" |  |  |  |  | 1 | 0.014
Orelenergo | 1.18 | SS 35/10 kV "Lubjansky" | 2 | 0.02
Orelenergo | 1.19 | SS 35/10 kV "Lykovo" |  |  | 2 | 0.012
Orelenergo | 1.20 | SS 35/10 kV "Mezentsevo" | 1 | 0.006
Orelenergo | 1.21 | SS 35/10 kV "Misajlovo" | 1 | 0.015
Orelenergo | 1.22 | SS 35/10 kV "Moss" | 1 | 0.16
Orelenergo | 1.23 | SS 35/10 kV "Bottom Large village" | 1 | 0.005
Orelenergo | 1.24 | SS 35/10 kV "Paramonovo" | 1 | 0.015 | 1 | 0.005 | 1 | 0.014 | 1 | 0.015
Orelenergo | 1.25 | SS 35/10 kV "Protasovo" |  |  | 1 | 0.015
Orelenergo | 1.26 | SS 35/10 kV "Putimets" | 1 | 0.015 | 1 | 0.015
Orelenergo | 1.27 | SS 35/10 kV "Rosstani" | 1 | 0.014
Orelenergo | 1.28 | SS 35/10 kV "Ryzhkovo" |  |  | 1 | 0.01
Orelenergo | 1.29 | SS 35/10 kV "Sergievsky" | 1 | 0.006
Orelenergo | 1.30 | SS 35/10 kV "Skorodnoe" |  |  | 1 | 0.015
Orelenergo | 1.31 | SS 35/10 kV "Speshnevo" | 1 | 0.007
Orelenergo | 1.32 | SS 35/10 kV "Streletskaja" | 2 | 0.03 |  |  | 1 | 0.015
Orelenergo | 1.33 | SS 35/10 kV "Tim" |  |  | 1 | 0.015
Orelenergo | 1.34 | SS 35/10 kV "Trosna" | 1 | 0.005
Orelenergo | 1.35 | SS 35/10 kV "Narrow" |  |  | 1 | 0.012
Orelenergo | 1.36 | SS 35/10 kV "Fatnevo" |  |  | 2 | 0.01
Orelenergo | 1.37 | SS 35/10 kV "Hotynetsky" |  |  | 1 | 0.005
Orelenergo | 1.38 | SS 35/10 kV "Shepino" | 2 | 0.03 | 2 | 0.03
| 2 | Total SS 110 kV | 81 | 3.9795 | 115 | 8.034 | 37 | 0.76455 | 7 | 0.284
Orelenergo | 2.1 | SS 110/10 kV "1-Soldier" | 1 | 0.015 | 2 | 0.013 | 1 | 0.015 | 1 | 0.015
Orelenergo | 2.2 | SS 110/10 kV "Alshansky" | 8 | 1.54 | 38 | 0.385 | 5 | 0.02875
Orelenergo | 2.3 | SS 110/35/10 kV "Bolhov" |  |  |  |  | 4 | 0.0178
Orelenergo | 2.4 | SS 110/10 kV "Big Common people" |  |  |  |  | 1 | 0.01
Orelenergo | 2.5 | SS 110/10 kV "Volodarsky" | 16 | 0.512 | 19 | 0.24 |  |  | 1 | 0.16
Orelenergo | 2.6 | SS 110/10 kV "Vostochnaja" | 1 | 0.83563
Orelenergo | 2.7 | SS 110/35/10 kV "Dmitrovsky" | 2 | 0.013 | 1 | 0.003 | 1 | 0.005
Orelenergo | 2.8 | SS 110/6 kV "Railway" | 2 | 0.03 |  |  | 1 | 0.063 | 1 | 0.015
Orelenergo | 2.9 | SS 110/35/10 kV "Zalegoshch" |  |  |  |  | 1 | 0.005
Orelenergo | 2.10 | SS 110/6 kV "Western" | 1 | 0.003 | 1 | 5.8
Orelenergo | 2.11 | SS 110/35/10 kV "Kolpny" |  |  | 2 | 0.88 | 2 | 0.03
Orelenergo | 2.12 | SS 110/35/10 kV "Kommash" |  |  |  |  | 1 | 0.01
Orelenergo | 2.13 | SS 110/35/10 kV "Kromsky" | 1 | 0.01
Orelenergo | 2.14 | SS 110/35/10 kV "Kulikovsky" | 8 | 0.215 | 8 | 0.11 | 7 | 0.33
Orelenergo | 2.15 | SS 110/35/10 kV "Naryshkinsky" |  |  | 2 | 0.016 | 1 | 0.008
Orelenergo | 2.16 | SS 110/35/10 kV "Novopolevo" | 2 | 0.02 |  |  | 1 | 0.015
Orelenergo | 2.17 | SS 110/10/6 "Novoselovo" | 2 | 0.02 | 2 | 0.03 | 1 | 0.01
Orelenergo | 2.18 | SS 110/35/10 kV "Novosil" |  |  | 1 | 0.015
Orelenergo | 2.19 | SS 110/35/10 kV "Joy" | 2 | 0.02 | 1 | 0.015
Orelenergo | 2.20 | SS 110/10 kV "Food" | 3 | 0.035 | 3 | 0.045 | 1 | 0.015
Orelenergo | 2.21 | SS 110/35/10 kV "Pokrovsk" | 1 | 0.004
Orelenergo | 2.22 | SS 110/10/6 kV "Instrument" | 7 | 0.096 | 10 | 0.15 | 3 | 0.13 | 1 | 0.015
Orelenergo | 2.23 | SS 110/10 kV "R.Brod" |  |  |  |  | 1 | 0.01
Orelenergo | 2.24 | SS 110/35/10 "Area In" | 2 | 0.015 | 2 | 0.018
Orelenergo | 2.25 | SS 110/35/10 kV "Sverdlovsk" |  |  | 2 | 0.025
Orelenergo | 2.26 | SS 110/35/10 kV "Soviet" | 1 | 0.015
Orelenergo | 2.27 | SS 110/35/10 kV "State-farm" |  |  | 2 | 0.029
Orelenergo | 2.28 | SS 110/10/6 kV "Steel Horse" | 1 | 0.05
Orelenergo | 2.29 | SS 110/10 kV "Stanovoj Kolodez" | 4 | 0.27685 | 4 | 0.055
Orelenergo | 2.30 | SS 110/10 kV "Telche" | 1 | 0.015 | 1 | 0.015
Orelenergo | 2.31 | SS 110/35/10 kV "Shablykinsky" | 1 | 0.01 | 2 | 0.055
Orelenergo | 2.32 | SS 110/35/10 kV "Shahovo" | 1 | 0.015
Orelenergo | 2.33 | SS 110/35/10 kV "Shatilovo" |  |  | 1 | 0.015 | 1 | 0.015
Orelenergo | 2.34 | SS 110/10/6 kV "Jugo-Vostochnaja" | 2 | 0.02 | 1 | 0.01 | 1 | 0.015 | 1 | 0.01
Orelenergo | 2.35 | SS 110/10 kV "Yuzhnaja" | 11 | 0.194 | 10 | 0.11 | 3 | 0.032 | 2 | 0.069

## Concluded contracts
| Site by site data for New Connection concluded contracts for January, 2012 | [5 empty] | Appendix #2
Division | Item # | Number of concluded contract | Date of contract conclusion dd/mm/yyyy | Term of execution in XX months | Maximum power, kW (including current power in kW) | Contract quantity in roubles without VAT | Site connection point (SS, PL)
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Orelenergo | 1 | 40239562 | 2012-01-24 | 24 months | 5800 | 11252 | SS-110/10/6 kV "Western", Indoor SWG-10 kV, I. №672 and №657
Orelenergo | 2 | 40390778 | 2012-01-18 | 6 months | 14 | 466.1017 | SS-110/35/10 kV "State-farm", overhead line-10 kV №8, SWG-0,4 kV project. TS-10/0,4 kV
Orelenergo | 3 | 40431260 | 2012-01-17 | 12 months | 40 | 8439.2034 | SS-110/35/10 kV "Shablykino", overhead line-10 kV №5, TS-10/0.4 kV Busbar-5-6-100 KVA, overhead line-0,4 kV №2, orient. pole №1
Orelenergo | 4 | 40456962 | 2012-01-18 | 24 months | 865 | 1766200.2542 | SS-110/35/10 kV "Kolpny", overhead line-10 kV №21, SWG-0,4 kV project. TS-10/0,4 kV
Orelenergo | 5 | 40466355 | 2012-01-12 | 6 months | 15 | 466.1017 | SS-35/10 kV "Tim", PL-10 kV №11, PTS-10/0,4 kV №2 about tr-rum 40 KVA, overhead line-0,4 kV №3, orient. pole №5а
Orelenergo | 6 | 40470612 | 2012-01-09 | 12 months | 3 | 9633.9576 | SS-110/10 kV "Dmitrovsky", overhead line-10 kV №11, new constructed TS-10/0,4 kV, blizh. pole Again smont. The overhead line-0,4 kV
Orelenergo | 7 | 40479358 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-35/10 kV "Lykovo", overhead line-10 kV №15, TS-10/0,4 kV №5 Д/15-160 KVA, overhead line-0,4 kV №1, orient. pole №20
Orelenergo | 8 | 40480669 | 2012-01-12 | 6 months | 10 | 466.1017 | SS-110/35/10 kV "Sverdlovsk", overhead line-10 kV №16, TS-10/0,4 kV С-16-5-160 KVA, overhead line-0,4 kV №1, orient. pole №2/2
Orelenergo | 9 | 40479360 | 2012-01-11 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "State-farm", overhead line-10 kV №3, orient. pole №114
Orelenergo | 10 | 40486092 | 2012-01-24 | 6 months | 15 | 466.1017 | SS-110/10 kV "Food", overhead line-10 kV №922, TS-10/0,4 kV Pishch-922-3-160 KVA, overhead line-0.4 kV №1, pole11/8
Orelenergo | 11 | 40489574 | 2012-01-24 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Kolpny", overhead line-10 kV №15, TS-10/0,4 kV №17А about tr-rum 1000 KVA, overhead line-0,4 kV №1, orient. pole №4/2
Orelenergo | 12 | 40489581 | 2012-01-30 | 6 months | 15 | 466.1017 | SS-35/10 kV "Skorodnoe", overhead line-10 kV №10, pole №64
Orelenergo | 13 | 40362158 | 2012-01-16 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Sverdlovsk", overhead line-10 kV №16, TS-10/0,4 kV С-16-2-160 KVA, overhead line-0,4 kV №2, konts. pole Again smont. The overhead line-0,4 kV
Orelenergo | 14 | 40483091 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 15 | 40437188 | 2012-01-11 | 6 months | 8 | 466.1017 | SS-110/35/10 kV "Naryshkinsky", overhead line-10 kV №11, TS-10/0,4 kV Н-11-5-160 KVA, overhead line-0,4 kV №2, pole №1/2
Orelenergo | 16 | 40445048 | 2012-01-27 | 6 months | 15 | 466.1017 | SS-35/10 kV "Ilinsky", overhead line-10 kV №5, TS-10/0,4 kV И-5-1-160, overhead line-0,4 kV №2, pole №18
Orelenergo | 17 | 40446307 | 2012-01-11 | 6 months | 5 | 466.1017 | SS-35/10 kV "Hotynetsky", overhead line-10 kV №6, TS-10/0,4 kV Х-6-3-250 KVA, overhead line-0,4 kV №3, pole №1/3
Orelenergo | 18 | 40456914 | 2012-01-30 | 6 months | 15 | 466.1017 | SS-35/10 kV "Biofactory", overhead line-10 kV №2, TS-10/0,4 kV Б-2-11-100 KVA, blizh. pole Again smont. The overhead line-0,4 kV
Orelenergo | 19 | 40465202 | 2012-01-24 | 6 months | 15 | 466.1017 | SS-35/10 kV "Kamenka", overhead line-10 kV №2, TS-10/0,4 kV К-2-5-160 KVA, overhead line-0,4 kV №2, pole №27
Orelenergo | 20 | 40472121 | 2012-01-17 | 6 months | 5 | 466.1017 | SS-35/10 kV "Fatnevo", overhead line-10 kV №1, TS-10/0,4 kV №186 about tr-rum 160 KVA, overhead line-0,4 кВ№1, pole №10
Orelenergo | 21 | 40470083 | 2012-01-11 | 6 months | 15 | 466.1017 | SS-35/10 kV "Protasovo", overhead line-10 kV №1, TS-10/0,4 kV №177 (100 KVA), overhead line-0,4 kV №3, pole №1-7
Orelenergo | 22 | 40470478 | 2012-01-17 | 6 months | 5 | 466.1017 | SS-35/10 kV "Fatnevo", overhead line-10 kV №1, TS-10/0,4 kV №187 about tr-rum 160 KVA, overhead line-0,4 кВ№1, pole №2/4
Orelenergo | 23 | 40470077 | 2012-01-24 | 6 months | 10 | 466.1017 | SS-35/10 kV "Abrupt", overhead line-10 kV №12, TS-10/0,4 kV №3 (160 KVA), overhead line-0,4 kV №1, pole №4
Orelenergo | 24 | 40470522 | 2012-01-12 | 6 months | 12 | 466.1017 | SS-35/10 kV "Narrow", overhead line-10 kV №4, TS-10/0,4 kV №14 (60 KVA), overhead line-0,4 kV №1, pole №16
Orelenergo | 25 | 40470494 | 2012-01-10 | 6 months | 5 | 466.1017 | SS-35/10 kV "Smooth", overhead line-10 kV №7, TS-10/0,4 kV №198, overhead line-0,4 kV №1, pole №1-6
Orelenergo | 26 | 40476312 | 2012-01-13 | 6 months | 10 | 466.1017 | SS-110/35/10 kV "Area-in", overhead line-10 kV №13, TS-10/0,4 kV №72 (320 KVA), overhead line-0,4 kV "Petchorin's street", blizh. pole sushch. The overhead line-0,4 kV
Orelenergo | 27 | 40471973 | 2012-01-18 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №37, TS-10/0,4 kV В-37-12-250 KVA, overhead line-0,4 kV №1, pole №2/1
Orelenergo | 28 | 40471959 | 2012-01-13 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Kulikovsky", overhead line-10 kV №1, TS-10/0,4 kV К-1-2-100 KVA, overhead line-0,4 kV №2, pole №9
Orelenergo | 29 | 40473978 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Shatilovo", overhead line-10 kV №7, TS-10/0,4 kV №6 (160 KVA), overhead line-0,4 kV №3, pole №24
Orelenergo | 30 | 40473955 | 2012-01-13 | 6 months | 10 | 466.1017 | SS-110/10 kV "Voin-1", overhead line-10 kV №16, TS-10/0,4 kV №133 (30 KVA), overhead line-0.4 kV №1, blizh. pole Again smont. Uch overhead lines-0,23 kV
Orelenergo | 32 | 40473961 | 2012-01-31 | 6 months | 10 | 466.1017 | SS-35/10 kV "Ryzhkovo", overhead line-10 kV №5, TS-10/0,4 kV №105 (250 KVA), overhead line-0,4 kV №2, pole №22
Orelenergo | 33 | 40473991 | 2012-01-13 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line-10 kV №6, TS-10/0,4 kV П-6-5-100 KVA, overhead line-0,4 kV №1, pole №11
Orelenergo | 34 | 40474012 | 2012-01-13 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, blizh. pole Again smont. The overhead line-0,23 kV
Orelenergo | 35 | 40473997 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №3/2
Orelenergo | 36 | 40474034 | 2012-01-13 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №3/1
Orelenergo | 37 | 40474030 | 2012-01-13 | 6 months | 15 | 466.1017 | SS-110/10 kV "Stanovoj Kolodez", overhead line-10 kV №5, TS-10/0,4 kV Stk-5-16-2h250 KVA, overhead line-0,4 kV №1, pole №23
Orelenergo | 38 | 40475039 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №37, TS-10/0,4 kV В-37-14-100 KVA, overhead line-0,4 kV №2, pole №26
Orelenergo | 39 | 40474000 | 2012-01-13 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, TS-10/0,4 kV В-61-6-63 KVA, overhead line-0,4 kV №1, konts. pole Again smont. The overhead line-0,4 kV
Orelenergo | 40 | 40476229 | 2012-01-23 | 6 months | 5 | 466.1017 | SS-35/10 kV "Krasnoznamenka", overhead line-10 kV №2, TS-10/0,4 kV №118 (160 KVA), overhead line-0,4 kV №2, pole №10
Orelenergo | 41 | 40475105 | 2012-01-11 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №2
Orelenergo | 42 | 40475120 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №4
Orelenergo | 43 | 40475031 | 2012-01-13 | 6 months | 15 | 466.1017 | SS-110/10 kV "Yuzhnaja", overhead line-10 kV №22, TS-10/0,4 kV Ю-22-4-160 KVA, overhead line-0,4 kV №1, pole №14/3
Orelenergo | 44 | 40475035 | 2012-01-16 | 6 months | 15 | 466.1017 | SS-35/10 kV "Putimets", overhead line-10 kV №3, TS-10/0,4 kV Pu-3-3-100 KVA, overhead line-0,4 kV №3, pole №24
Orelenergo | 45 | 40475068 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №4
Orelenergo | 46 | 40475064 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №4
Orelenergo | 47 | 40475095 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №4
Orelenergo | 48 | 40475073 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-35/10 kV "Zvjaginki, overhead line-10 kV №1, TS-10/0,4 kV Zv-1-16-250 KVA, overhead line-0,4 kV №1, pole №15
Orelenergo | 49 | 40476200 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Joy", overhead line-10 kV №1А, TS-10/0,4 kV №102 (160 KVA), overhead line-0,4 kV, orient. pole №12
Orelenergo | 50 | 40476239 | 2012-01-17 | 6 months | 8 | 466.1017 | SS-110/35/10 kV "Naryshkinsky", overhead line-10 kV №7, TS-10/0,4 kV Н-7-2-250 KVA, overhead line-0,4 kV №3, pole №7
Orelenergo | 51 | 40475060 | 2012-01-16 | 6 months | 8 | 466.1017 | SS-110/10 kV "Yuzhnaja", DS-10 kV "Saburovsky", overhead line-10 kV №5, TS-10/0,4 kV С-5-3-100 KVA, overhead line-0,4 kV №1, konts. pole Again smont. The overhead line-0,23 kV
Orelenergo | 52 | 40475114 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №2
Orelenergo | 53 | 40475125 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №37, TS-10/0,4 kV В-37-5-160 KVA, overhead line-0,4 kV №1, pole №6
Orelenergo | 54 | 40476321 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Kulikovsky", overhead line-10 kV №1, TS-10/0,4 kV К-1-12-250 KVA, overhead line-0,4 kV №2, pole №46
Orelenergo | 55 | 40476316 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №2
Orelenergo | 56 | 40476203 | 2012-01-18 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №1/1
Orelenergo | 57 | 40476196 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №2
Orelenergo | 58 | 40476225 | 2012-01-20 | 6 months | 10 | 466.1017 | SS-110/10 kV "Stanovoj Kolodez", overhead line-10 kV №3, TS-10/0,4 kV Stk-3-20-60 KVA, overhead line-0,4 kV №1, pole №11
Orelenergo | 59 | 40476207 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-35/10 kV "Biofactory", overhead line-10 kV №4, TS-10/0,4 kV B-4-10-320 KVA, overhead line-0,4 kV №1, pole №10
Orelenergo | 60 | 40476244 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №2
Orelenergo | 61 | 40476216 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10/6 kV "Jugo-Vostochnaja", DS-6 kV "Loader", overhead line-6 kV №704, TS-6/0,4 kV Avt-704-4-100 KVA, overhead line-0,4 kV №2, pole №15
Orelenergo | 62 | 40476332 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-35/10 kV "Shepino", overhead line-10 kV №3, TS-10/0.4 kV Busbar-3-8-100 KVA, overhead line-0.4 kV №1, pole №18
Orelenergo | 63 | 40476327 | 2012-01-12 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line-10 kV №16, TS-10/0,4 kV П-16-32-160 KVA, overhead line-0,4 kV №1, konts. pole Again smont. The overhead line-0,23 kV
Orelenergo | 64 | 40478029 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, blizh. pole Again smont. The overhead line-0,23 kV
Orelenergo | 65 | 40477951 | 2012-01-24 | 6 months | 14 | 466.1017 | SS-35/10 kV "Droskovo", overhead line-10 kV №12, TS-10/0,4 kV №3 (250 KVA), overhead line-0,4 kV №3, konts. pole Again smont. The overhead line-0,4 kV
Orelenergo | 66 | 40476935 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, TS-10/0,4 kV В-61-5-100 KVA, new constructed The overhead line-0,4 kV
Orelenergo | 67 | 40476932 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-35/10 kV "Shepino", overhead line-10 kV №3, TS-10/0,4 kV Busbar-3-8-100 KVA, overhead line-0,4 kV №1, pole №19
Orelenergo | 68 | 40476929 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-35/10 kV "Biofactory", overhead line-10 kV №4, TS-10/0,4 kV B-4-10-320 KVA, overhead line-0,4 kV №1, pole №3/5
Orelenergo | 69 | 40478015 | 2012-01-20 | 6 months | 2 | 466.1017 | SS-35/10 kV "Lykovo", overhead line-10 kV №5, TS-10/0,4 kV №322 (100 KVA), overhead line-0,4 kV №2, pole №1/1
Orelenergo | 70 | 40477959 | 2012-01-10 | 6 months | 2 | 466.1017 | SS-110/10 kV "Yuzhnaja", overhead line-10 kV №18, TS-10/0,4 kV Ю-18-7-160 KVA, overhead line-0,4 kV №1, konts. op new constructed The overhead line-0,23 kV
Orelenergo | 71 | 40477961 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №28, TS-10/0,4 kV В-28-44-250 KVA, overhead line-0,4 kV №2, pole №10
Orelenergo | 72 | 40477967 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-35/10 kV "Biofactory", overhead line-10 kV №2, TS-10/0,4 kV Б-2-10-250 KVA, overhead line-0,4 kV №1, pole №37
Orelenergo | 73 | 40478958 | 2012-01-19 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №2
Orelenergo | 74 | 40478908 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, blizh. pole Again smont. The overhead line-0,23 kV
Orelenergo | 75 | 40478910 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, konts. pole Again smont. The overhead line-0,23 kV
Orelenergo | 76 | 40478018 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №37, TS-10/0,4 kV В-37-4-400 KVA, overhead line-0,4 kV №2, pole №7/4
Orelenergo | 77 | 40478022 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-110/10 kV "Food", overhead line-10 kV №922, TS-10/0,4 kV Pishch-922-2-100 KVA, overhead line-0,4 kV №2, pole №12
Orelenergo | 78 | 40478896 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line-10 kV №6, TS-10/0,4 kV П-6-25-250 KVA, overhead line-0,4 kV №1, konts. pole Again smont. The overhead line-0,4 kV
Orelenergo | 79 | 40478927 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №1/2
Orelenergo | 80 | 40478901 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №21, TS-10/0,4 kV А-21-4-160 KVA, overhead line-0,4 kV №2, pole №2/5
Orelenergo | 81 | 40478949 | 2012-01-18 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Novosil", overhead line-10 kV №21, TS-10/0,4 kV №249 (250 KVA), overhead line-0,4 kV №2, pole №2/2
Orelenergo | 82 | 40478943 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №1/2
Orelenergo | 83 | 40478924 | 2012-01-20 | 6 months | 8 | 466.1017 | SS-110/35/10 kV "Area-in", overhead line-10 kV №2, TS-10/0,4 kV №101 (180 KVA), blizh. pole sushch. The overhead line-0,4 kV
Orelenergo | 84 | 40478912 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Kulikovsky", overhead line-10 kV №1, TS-10/0,4 kV К-1-2-100 KVA, overhead line-0,4 kV №3, pole №21/1
Orelenergo | 85 | 40478959 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-35/10 kV "Zvjaginki", overhead line-10 kV №4, TS-10/0,4 kV Zv-4-4-630 KVA, blizh. pole Again smont. The overhead line-0,4 kV
Orelenergo | 86 | 40478953 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №2
Orelenergo | 87 | 40478964 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-110/10 kV "Stanovoj Kolodez", overhead line-10 kV №5, TS-10/0,4 kV Stk-5-24-400 KVA, overhead line-0,4 kV №3, pole №32
Orelenergo | 88 | 40480897 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, blizh. pole Again smont. The overhead line-0,23 kV
Orelenergo | 89 | 40480889 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, blizh. pole Again smont. The overhead line-0,23 kV
Orelenergo | 90 | 40480896 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №3
Orelenergo | 91 | 40480893 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-110/10 kV "Food", overhead line-10 kV №922, TS-10/0,4 kV Pishch-922-2-100 KVA, overhead line-0,4 kV №2, pole №5
Orelenergo | 92 | 40479924 | 2012-01-10 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №1, pole №3/1
Orelenergo | 93 | 40479933 | 2012-01-10 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Kulikovsky", overhead line-10 kV №1, TS-10/0,4 kV К-1-10-160 KVA, overhead line-0,4 kV №1, blizh. pole Again smont. The overhead line-0,4 kV
Orelenergo | 94 | 40480908 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-110/10 kV "Telche", overhead line-10 kV №3, TS-10/0.4 kV №201 (160 KVA), overhead line-0,4 kV №3, pole №3
Orelenergo | 95 | 40483080 | 2012-01-18 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №4
Orelenergo | 96 | 40483066 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 97 | 40483070 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 98 | 40480891 | 2012-01-18 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 99 | 40483086 | 2012-01-26 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 100 | 40483088 | 2012-01-31 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 101 | 40483093 | 2012-01-17 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 102 | 40483098 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 103 | 40483102 | 2012-01-17 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 104 | 40483108 | 2012-01-23 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, blizh. pole
Orelenergo | 105 | 40483112 | 2012-01-23 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №4
Orelenergo | 106 | 40483134 | 2012-01-23 | 6 months | 15 | 466.1017 | SS-35/10 kV "Zvjaginki", overhead line-10 kV №3, TS-10/0,4 kV Zv-3-3-250 KVA, overhead line-0,4 kV №3, pole №6
Orelenergo | 107 | 40484049 | 2012-01-23 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Kulikovsky", overhead line-10 kV №1, TS-10/0,4 kV К-1-10-160 KVA, overhead line-0,4 kV №1, pole №8
Orelenergo | 108 | 40484057 | 2012-01-23 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №1, pole №5/2
Orelenergo | 109 | 40484080 | 2012-01-23 | 6 months | 10 | 466.1017 | SS-110/35/10 kV "Kulikovsky", overhead line-10 kV №5, TS-10/0,4 kV К-5-4-250 KVA, overhead line-0,4 kV blizh. pole
Orelenergo | 110 | 40484089 | 2012-01-23 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №1, pole №3/1
Orelenergo | 111 | 40484082 | 2012-01-23 | 6 months | 10 | 466.1017 | SS-110/35/10 kV "Kulikovsky", overhead line-10 kV №5, TS-10/0,4 kV К-5-4-250 KVA, overhead line-0,4 kV №1 blizh. pole
Orelenergo | 112 | 40485050 | 2012-01-30 | 6 months | 15 | 466.1017 | SS-110/10 kV "Yuzhnaja", DS-10 kV "Saburovsky", overhead line-10 kV №5, TS-10/0,4 kV С-5-6-180 KVA, overhead line-0,4 kV №2, pole №5
Orelenergo | 113 | 40485060 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Novoselovo", overhead line-10 kV №2, TS-10/0,4 kV No-2-11-100 KVA, overhead line-0,4 kV №1, pole №12/4
Orelenergo | 114 | 40485053 | 2012-01-25 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0.4 kV А-14-3-160 KVA, overhead line-0.4 kV №2, konts. pole
Orelenergo | 115 | 40485073 | 2012-01-25 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №1, pole №3/1
Orelenergo | 116 | 40485925 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line - kV №16, TS - kV П-16-11-250 KVA, overhead line-0,4 kV №1, konts. pole The overhead line-0,4 kV
Orelenergo | 117 | 40485916 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line - kV №16, TS - kV П-16-11-250 KVA, overhead line-0,4 kV №1, konts. pole The overhead line-0,4 kV
Orelenergo | 118 | 40485919 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line-10 kV №6, TS-10/0,4 kV П-6-7-40 KVA, overhead line-0,4 kV №1, konts. pole The overhead line-0,4 kV
Orelenergo | 119 | 40485922 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line-10 kV №16, TS - kV П-16-11-250 KVA, overhead line-0,4 kV №1, konts. pole The overhead line-0,4 kV
Orelenergo | 120 | 40487802 | 2012-01-25 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0.4 kV А-14-3-160 KVA, overhead line-0.4 kV №2, pole №1/2
Orelenergo | 121 | 40487804 | 2012-01-25 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0.4 kV А-14-3-160 KVA, overhead line-0.4 kV №2, konts. pole
Orelenergo | 122 | 40487807 | 2012-01-18 | 6 months | 15 | 466.1017 | SS-110/10 kV "Yuzhnaja", DS-10 kV "Saburovsky", overhead line-10 kV №2, TS-10/0,4 kV С-2-8-400 KVA, overhead line-0,4 kV №1, pole №2/7
Orelenergo | 123 | 40487811 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10 kV "Yuzhnaja", overhead line-10 kV №22, TS-10/0,4 kV Ю-22-16-630 KVA, overhead line-0,4 kV №3, pole №2/12
Orelenergo | 124 | 40487799 | 2012-01-18 | 6 months | 10 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 125 | 40487797 | 2012-01-25 | 6 months | 10 | 466.1017 | SS-35/10 kV "Baklanovo", overhead line-10 kV №1, TS-10/0,4 kV Bak-1-1-100, overhead line-0,4 kV №1, pole №1
Orelenergo | 126 | 40487844 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Kulikovsky", overhead line-10 kV №1, TS-10/0,4 kV К-1-16-160 KVA, overhead line-0,4 kV №1, pole №12
Orelenergo | 127 | 40488561 | 2012-01-30 | 6 months | 15 | 466.1017 | SS-110/35/10 kV "Shablykino", overhead line-10 kV №2, TS-10/0,4 kV Busbar-2-7-63 KVA, overhead line-0,4 kV №2, pole №7
Orelenergo | 128 | 40488563 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line-10 kV №16 TS-10/0,4 kV В-16-11-250 KVA, overhead line-0,4 kV konts. Op.
Orelenergo | 129 | 40488564 | 2012-01-25 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №61, new constructed TS-10/0.4 kV, pole new constructed section overhead lines-0.4 kV
Orelenergo | 130 | 40488569 | 2012-01-25 | 6 months | 10 | 466.1017 | SS-110/10 kV "Yuzhnaja", overhead line-10 kV №63, TS-10/0,4 kV А-63-15-180 KVA, overhead line-0,4 kV №2 konts. pole
Orelenergo | 131 | 40488598 | 2012-01-25 | 6 months | 5 | 466.1017 | SS-110/10 kV "Yuzhnaja", overhead line-10 kV №63, TS-10/0,4 kV А-63-15-180 KVA, overhead line-0,4 kV №2 konts. pole
Orelenergo | 132 | 40488603 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №21, TS-10/0,4 kV А-21-24-400 KVA, overhead line-0,4 kV №1 pole №6
Orelenergo | 133 | 40488586 | 2012-01-25 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №2 pole №4
Orelenergo | 134 | 40488664 | 2012-01-27 | 6 months | 5 | 466.1017 | SS-35/10 kV "Paramonovo", overhead line-10 kV №14, TS-10/0.4 kV №81 (160 KVA), overhead line-0.4 kV №1 pole №13/1
Orelenergo | 135 | 40488636 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Novosyolovo", overhead line-10 kV №1, TS-10/0,4 kV No-1-4-250 KVA, overhead line-0,4 kV №2 pole №2/6
Orelenergo | 136 | 40488640 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-110/10 kV "Yuzhnaja", DS-10 kV "Saburovsky" overhead line-10 kV №2, TS-10/0,4 kV С-2-3-100 KVA, overhead line-0,4 kV №3, pole №2/2
Orelenergo | 137 | 40488647 | 2012-01-25 | 6 months | 10 | 466.1017 | SS-110/10 kV "Yuzhnaja", overhead line-10 kV №63, TS-10/0.4 kV В-63-15-180 KVA, overhead line-0.4 kV №2, konts. pole
Orelenergo | 138 | 40488649 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-110/10 kV "Volodarsky", overhead line-10 kV №63, TS-10/0.4 kV В-63-18-160 KVA, overhead line-0.4 kV №1, konts. pole
Orelenergo | 139 | 40489151 | 2012-01-31 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0,4 kV А-14-3-160 KVA, overhead line-0,4 kV №1, pole №3/1
Orelenergo | 140 | 40489488 | 2012-01-25 | 6 months | 3 | 466.1017 | SS-110/10 kV "Voin-1", overhead line-10 kV №1 TS-10/0,4 kV ³62 400 KVA, overhead line-0,4 kV №5 pole №10
Orelenergo | 141 | 40489485 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line-10 kV №6 TS-10/0,4 kV В-6-2-63 KVA, overhead line-0,4 kV №1 pole №7
Orelenergo | 142 | 40489990 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-110/10/6 kV "Instrument", overhead line-10 kV №6 TS-10/0,4 kV В-6-2-63 KVA, overhead line-0,4 kV №1 pole №14
Orelenergo | 143 | 40494157 | 2012-01-31 | 6 months | 10 | 466.1017 | SS-110/10 kV "Alshansky", overhead line-10 kV №14, TS-10/0.4 kV А-14-3-160 KVA, overhead line-0,4 kV №2, pole №1/2
Orelenergo | 144 | 40494240 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-110/10 kV "Stanovoj Kolodez", overhead line-10 kV №5, TS-10/0.4 kV Stk-5-24-400 KVA overhead line-0,4 kV №2 pole A 1/10
Orelenergo | 145 | 40494196 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-35/10 kV "Biofactory", overhead line-10 kV №2, TS-10/0,4 kV Б-2-10-250 KVA, overhead line-0,4 kV №1 pole №36/2
Orelenergo | 146 | 40494161 | 2012-01-31 | 6 months | 15 | 466.1017 | SS-35/10 kV "Biofactory", overhead line-10 kV №2, TS-10/0,4 kV Б-2-10-250 KVA, overhead line-0,4 kV №1 pole №36/3