## Summary
Appendix #1
Data on IDGC of Centre - Tambovenergo division new connections for January, 2012
Name of IDGC of Centre division |  | Name of 35-110 kV SS | Number of applications |  | Concluded contracts |  | Completed contracts (Acts of Acceptance for NC signed) |  | Cancelled applications
##
|  |  | Pieces | MW | Pieces | MW | Pieces | MW | Pieces | MW
|  | Total: | 59 | 0.937 | 62 | 12.726 | 57 | 0.68445 | 6 | 6.49
|  | Total SS 35 kV | 29 | 0.236 | 38 | 4.6 | 30 | 0.2772 | 1 | 0.015
IDGC of Centre - Tambovenergo | 1 | SS 35/10 kV "Avdeevsky" | 1 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 2 | SS 35/10 kV "Verhotsensky" | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 3 | SS 35/10 kV "Platonovsky" | 0 | 0 | 1 | 0.03 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 4 | SS 35/10 kV "Gorelsky" | 0 | 0 | 0 | 0 | 1 | 0.005 | 0 | 0
IDGC of Centre - Tambovenergo | 5 | SS 35/10 kV "Ivanovo" | 0 | 0 | 0 | 0 | 2 | 0.012 | 0 | 0
IDGC of Centre - Tambovenergo | 6 | SS 35/10 kV "P.Prigorodnaja" | 1 | 0.01 | 2 | 0.265 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 7 | SS 35/10 kV "Steppe" | 1 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 8 | SS 35/10 kV "Serebrjakovsky" | 1 | 0.015 | 4 | 0.04 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 9 | SS 35/10 kV "Sajukinsky" | 0 | 0 | 0 | 0 | 1 | 0.015 | 0 | 0
IDGC of Centre - Tambovenergo | 10 | SS 35/10 kV "Suhotinsky" | 1 | 0.005 | 0 | 0 | 3 | 0.04 | 0 | 0
IDGC of Centre - Tambovenergo | 11 | SS 35/10 kV "Tulinovsky" | 2 | 0.015 | 0 | 0 | 2 | 0.024 | 0 | 0
IDGC of Centre - Tambovenergo | 12 | SS 35/10 kV "New Seltsevsky" | 1 | 0.007 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 13 | SS 35/10 kV "Tatanovsky" | 0 | 0 | 1 | 0.005 | 1 | 0.005 | 0 | 0
IDGC of Centre - Tambovenergo | 14 | SS 35/10 kV "Chernjanovsky" | 1 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 15 | SS 35/10 kV "Isosimovsky" | 0 | 0 | 0 | 0 | 2 | 0.02 | 0 | 0
IDGC of Centre - Tambovenergo | 16 | SS 35/10 kV "Petrovskaja" | 2 | 0.01 | 1 | 0.015 | 4 | 0.0332 | 0 | 0
IDGC of Centre - Tambovenergo | 17 | SS 35/10 kV "Raninsky" | 0 | 0 | 2 | 0.03 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 18 | SS 35/10 kV "N.Vasilevsky" | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 19 | SS 35/10 kV "Klensky" | 0 | 0 | 0 | 0 | 1 | 0.005 | 0 | 0
IDGC of Centre - Tambovenergo | 20 | SS 35/10 kV "Tarbeevsky" | 2 | 0.02 | 5 | 0.057 | 2 | 0.029 | 1 | 0.015
IDGC of Centre - Tambovenergo | 21 | SS 35/10 kV "Kozmodemjansky" | 0 | 0 | 0 | 0 | 2 | 0.01 | 0 | 0
IDGC of Centre - Tambovenergo | 22 | SS 35/10 kV "Kochetovsky" | 0 | 0 | 1 | 0.005 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 23 | SS 35/10 kV "New Jurevsky" | 0 | 0 | 0 | 0 | 1 | 0.005 | 0 | 0
IDGC of Centre - Tambovenergo | 24 | SS 35/10 kV "Saburovsky" | 0 | 0 | 0 | 0 | 1 | 0.007 | 0 | 0
IDGC of Centre - Tambovenergo | 25 | SS 35/10 kV "KIM" | 0 | 0 | 2 | 0.041 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 26 | SS 35/10 kV "Jurlovsky" | 0 | 0 | 1 | 0.06 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 27 | SS 35/10 kV "Zhidilovsky" | 0 | 0 | 1 | 0.005 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 28 | SS 35/6кВ "Don" | 3 | 0.035 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 29 | SS 35/10 kV "Vishnevskaya" | 0 | 0 | 1 | 0.005 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 30 | SS 35/10 kV "Kuleshovsky" | 1 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 31 | SS 35/10 kV "Sukmanovsky" | 1 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 32 | SS 35/10 kV "V.Vershinsky" | 1 | 0.007 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 33 | SS 35/10 kV "Zolotovsky" | 0 | 0 | 1 | 0.008 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 34 | SS 35/10 kV "Olshansky" | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 35 | SS 35/10 kV "Art Emovsky" | 0 | 0 | 1 | 0.007 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 36 | SS 35/10 kV "Tr. Rosljajsky" | 0 | 0 | 0 | 0 | 2 | 0.024 | 0 | 0
IDGC of Centre - Tambovenergo | 37 | SS 35/10 kV "Shapkinsky" | 0 | 0 | 0 | 0 | 2 | 0.015 | 0 | 0
IDGC of Centre - Tambovenergo | 38 | SS 35/10 "Rybinsk" | 3 | 0.022 | 2 | 0.017 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 39 | SS 35/10 "Serpovsky" | 0 | 0 | 8 | 3.95 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 40 | SS 35/10 "Chernitovsky" | 0 | 0 | 0 | 0 | 1 | 0.007 | 0 | 0
IDGC of Centre - Tambovenergo | 41 | SS 35/10 "Grjaznovsky" | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 42 | SS 35/10 "Kulevatovsky" | 1 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 43 | SS 35/10 "Podlesnaja" | 2 | 0.012 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 44 | SS 35/10 "Troitskorosljajsky" | 1 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 45 | SS 35/10 "Egorovsky" | 0 | 0 | 1 | 0.015 | 1 | 0.015 | 0 | 0
IDGC of Centre - Tambovenergo | 46 | SS 35/10 "Pahotnouglovsky" | 0 | 0 | 0 | 0 | 1 | 0.006 | 0 | 0
IDGC of Centre - Tambovenergo | 47 | SS 35/10 kV "Balyklejsky" | 1 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 48 | SS 35/10 kV "Gavrilovsky" | 1 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 49 | SS 35/10 kV "Kalaissky" | 1 | 0.015 | 1 | 0.015 | 0 | 0 | 0 | 0
|  | Total SS 110 kV | 30 | 0.701 | 24 | 8.126 | 27 | 0.40725 | 5 | 6.475
IDGC of Centre - Tambovenergo | 1 | SS 110/35/10 kV "Tambov # 6" | 3 | 0.0955 | 1 | 0.005 | 2 | 0.135 | 1 | 0.005
IDGC of Centre - Tambovenergo | 2 | SS 110/35/6 kV "Rasskazovsky" | 1 | 0.01 | 0 | 0 | 1 | 0.01 | 0 | 0
IDGC of Centre - Tambovenergo | 3 | SS 110/35/10 kV "Komsomol" | 0 | 0 | 0 | 0 | 4 | 0.05805 | 0 | 0
IDGC of Centre - Tambovenergo | 4 | SS 110/10 kV "New Ljadinsky" | 0 | 0 | 1 | 0.01 | 6 | 0.0852 | 0 | 0
IDGC of Centre - Tambovenergo | 5 | SS 110/35/10 kV "Industrial" | 9 | 0.0855 | 4 | 0.084 | 2 | 0.024 | 0 | 0
IDGC of Centre - Tambovenergo | 6 | SS 110/35/10 kV "Kuzminsky" | 1 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 7 | SS 110/35 kV "M.Talinsky" | 1 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 8 | SS 110/10 kV "Spassky" | 0 | 0 | 0 | 0 | 1 | 0.006 | 0 | 0
IDGC of Centre - Tambovenergo | 9 | SS 110/6 kV "Tambov # 5" | 1 | 0.005 | 1 | 0.005 | 1 | 0.015 | 0 | 0
IDGC of Centre - Tambovenergo | 10 | SS 110/6 kV "Tambov # 8" | 1 | 0.015 | 1 | 0.015 | 7 | 0.049 | 1 | 6.4
IDGC of Centre - Tambovenergo | 11 | SS 110/27,5/6/10 kV "May Day" | 5 | 0.045 | 1 | 0.002 | 1 | 0.005 | 0 | 0
IDGC of Centre - Tambovenergo | 12 | SS 110/35/10 kV "Nikiforovsky" | 0 | 0 | 2 | 0.02 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 13 | SS 110/35/10 kV "Old Jurevsky" | 1 | 0.032 | 1 | 0.005 | 1 | 0.015 | 0 | 0
IDGC of Centre - Tambovenergo | 14 | SS 110/35/10 kV "Hmelevsky" | 0 | 0 | 1 | 2.5 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 15 | SS 110/35/10 kV "Hobotovsky" | 1 | 0.01 | 2 | 1.405 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 16 | SS 110/10 kV "New Seslavinsky" | 0 | 0 | 1 | 0.005 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 17 | SS 110/10 kV "N.Arhangelsky" | 1 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 18 | SS 110/35/10 kV "Bogdanovsky" | 0 | 0 | 1 | 0.015 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 19 | SS 110/35/10 kV "Mordovian" | 0 | 0 | 1 | 0.015 | 0 | 0 | 3 | 0.07
IDGC of Centre - Tambovenergo | 20 | SS 110/35/6 "Kamvolnaja" | 0 | 0 | 1 | 4 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 21 | SS 110/35/10 "Pichaevsky" | 1 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 22 | SS 110/35/10 kV "Inzhavinsky" | 3 | 0.348 | 4 | 0.035 | 1 | 0.005 | 0 | 0
IDGC of Centre - Tambovenergo | 23 | SS 110/35/10 kV "Kirsanovsky" | 1 | 0.015 | 0 | 0 | 0 | 0 | 0 | 0
IDGC of Centre - Tambovenergo | 24 | SS 110/35/10 kV "Umetsky" | 0 | 0 | 1 | 0.005 | 0 | 0 | 0 | 0

## реестр заявок (hidden)
The poobektnaja information under demands on TP for January, 2012
Branch | p/p | Demand number | Date of application of dd/mm/gggg | Capacity, kw | Point of joining of object (SS) | Full name of the applicant
| 1 | 2 | 3 | 4 | 5 | 6
Tambovenergo TRES | 1 | 15419392 | 2012-01-11 | 5 | SS 110/6 kv «Tambov a 5» | Agahanjan Ashot Serezhevich
Tambovenergo TRES | 2 | 15422534 | 2012-01-16 | 10 | SS 110/35/10 kv "Industrial" | Abmorsheva Lyudmila Nikolaevna
Tambovenergo TRES | 3 | 15423278 | 2012-01-16 | 5 | SS 110/35/10 kv "Industrial" | Zhilnikova Natalia Olegovna
Tambovenergo TRES | 4 | 15423458 | 2012-01-17 | 15 | SS 110/35/10 kv "Industrial" | Pleshivtsev Vladimir Vasilevich
Tambovenergo TRES | 5 | 15423414 | 2012-01-17 | 5 | SS 110/35/10 kv "Kuzminsky" | Rebets Sergey Vladimirovich
Tambovenergo TRES | 6 | 15424516 | 2012-01-18 | 10 | SS 110/35/10 kv "Industrial" | Ivliev Alexander Nikolaevich
Tambovenergo TRES | 7 | 15425777 | 2012-01-19 | 15 | SS 35/10 kv "Serebrjakovsky" | Bardin Sergey Vladimirovich
Tambovenergo TRES | 8 | 15425840 | 2012-01-19 | 10 | SS 110/10 kv "M.Talinsky" | Alakov Michael Aleksandrovich
Tambovenergo TRES | 9 | 15425987 | 2012-01-19 | 15 | SS 35/10 kv "Chernjanovsky" | Novichkova Natalia Aleksandrovna
Tambovenergo TRES | 10 | 15426016 | 2012-01-19 | 5 | SS 35/10 kv "Tulinovsky" | Tihenko Vladimir Sergeevich
Tambovenergo TRES | 11 | 15426017 | 2012-01-19 | 5 | SS 35/10 kv "Suhotinsky" | Nozdrjuhina Natalia Vladimirovna
Tambovenergo TRES | 12 | 15429054 | 2012-01-25 | 5.5 | SS 110/35/10 kv "Industrial" | Popova Nina Aleksandrovna
Tambovenergo TRES | 13 | 15429399 | 2012-01-25 | 15 | SS 110/35/10 kv "Industrial" | Zhogin Michael Valentinovich
Tambovenergo TRES | 14 | 15429402 | 2012-01-25 | 15 | SS 110/6 kv "Tambov a 8" | Klinkov Yury Anatolevich
Tambovenergo TRES | 15 | 15429401 | 2012-01-25 | 12 | SS 110/35/10 kv "Tambov a 6" | Hussars Alexey Sergeevich
Tambovenergo TRES | 16 | 15429441 | 2012-01-26 | 10 | SS 110/35/6 kv "Rasskazovsky" | Fedorov Anatoly Aleksandrovich
Tambovenergo TRES | 17 | 15430811 | 2012-01-26 | 7 | SS 35/10 kv "New Seltsevsky" | Gololobov Yury Fedorovich
Tambovenergo TRES | 18 | 15431131 | 2012-01-30 | 5 | SS 35/10 kv "Steppe" | Jushin Ruslan Vladimirovich
Tambovenergo TRES | 19 | 15432288 | 2012-01-31 | 10 | SS 35/10 kv "P.Prigorodnaja" | Betin Michael Vladimirovich
Tambovenergo TRES | 20 | 15432286 | 2012-01-31 | 10 | SS 35/10 kv "Tulinovsky" | Vetlugaev Gennady Aleksandrovich
Tambovenergo TRES | 21 | 15432283 | 2012-01-31 | 5 | SS 110/35/10 kv "Industrial" | Bezrukov Lyudmila Andreevna
Tambovenergo TRES | 22 | 15432207 | 2012-01-31 | 15 | SS 110/35/10 kv "Industrial" | Engovatova Natalia Viktorovna
Tambovenergo TRES | 23 | 15432174 | 2012-01-31 | 5 | SS 110/35/10 kv "Industrial" | Larin Lydia Vladimirovna
Tambovenergo TRES | 24 | 15424359 | 2012-01-18 | 3 | SS 35/10 kv "Avdeevsky" | Open Society "Savings Bank of Russia"
Tambovenergo TRES | 25 | 15427979 | 2012-01-24 | 23.5 | SS 110/35/10 kv "Tambov a 6" | Administration Don from the Tambov area of the Tambov region
Tambovenergo TRES | 26 | 15428787 | 2012-01-25 | 60 | SS 110/35/10 kv "Tambov a 6" | Jushin Alexey Ivanovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 27 | 15421067 | 2012-01-12 | 10 | SS 110/35/10 kv "Hobotovsky" | Half-Jansky Tatyana Vasilevna
Open Society branch «MRSK the Centre» - "Tambovenergo" | 28 | 15421160 | 2012-01-12 | 15 | SS 35/10 kv "Tarbeevsky" | Goncharov Valery Valentinovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 29 | 15423927 | 2012-01-17 | 10 | SS 110/27,5/6/10 kv "May Day" | Fair Olga Aleksandrovna
Open Society branch «MRSK the Centre» - "Tambovenergo" | 30 | 15424403 | 2012-01-18 | 15 | SS 35/10 kv "Isosimovsky" | Grey-haired Andrey Vjacheslavovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 31 | 15424460 | 2012-01-18 | 15 | SS 35/10 kv "Isosimovsky" | Schukin Victor Sergeevich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 32 | 15424615 | 2012-01-18 | 5 | SS 35/10 kv "Isosimovsky" | Zhuravlyov Julia Aleksandrovna
Open Society branch «MRSK the Centre» - "Tambovenergo" | 33 | 15424692 | 2012-01-18 | 5 | SS 35/10 kv "Petrovskaja" | Ermines Alexey Aleksandrovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 34 | 15424777 | 2012-01-18 | 5 | SS 35/10 kv "Petrovskaja" | Klink Sergey Gugovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 35 | 15429215 | 2012-01-25 | 15 | SS 110/27,5/6/10 kv "May Day" | Murzin Alexander Petrovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 36 | 15429251 | 2012-01-25 | 10 | SS 110/27,5/6/10 kv "May Day" | Lepihov Andrey Ivanovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 37 | 15429284 | 2012-01-25 | 5 | SS 110/27,5/6/10 kv "May Day" | Priests Vitaly Aleksandrovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 38 | 15429827 | 2012-01-26 | 32 | SS 110/35/10 kv "Old Jurevsky" | Klychnikova Lyudmila Nikolaevna IP
Open Society branch «MRSK the Centre» - "Tambovenergo" | 39 | 15430925 | 2012-01-30 | 5 | SS 35/10 kv "Tarbeevsky" | Minaev Yury Viktorovich
Open Society branch «MRSK the Centre» - "Tambovenergo" | 40 | 15431432 | 2012-01-30 | 5 | SS 110/27,5/6/10 kv "May Day" | Votek Mobajl of Joint-Stock Company
Open Society branch «MRSK the Centre» - "Tambovenergo" | 41 | 15431762 | 2012-01-31 | 15 | SS 110/10 kv "N.Arhangelsky" | Jakovlev Yury Vladimirovich IP
| 42 | 15426597 | 2012-01-20 | 5 | SS 35/10 kv "Kuleshovsky" | Open Society "Pendant-communications"
| 43 | 15428167 | 2012-01-24 | 5 | SS 35/10 kv "Sukmanovsky" | Open Society "Pendant-communications"
| 44 | 15431570 | 2012-01-30 | 7 | SS 35/10 kv "V.Vershinsky" | Puzikova Natalia Viktorovna
Tambovenergo | 45 | 15418632 | 2012-01-10 | 10 | SS 35/10 "Rybinsk" | Tarabrin Yury Viktorovich
Tambovenergo | 46 | 15420890 | 2012-01-12 | 7 | SS 35/10 "Rybinsk" | ShCherbakov Michael Valerevich
Tambovenergo | 47 | 15423757 | 2012-01-17 | 10 | SS 110/35/10 "Pichaevsky" | Goals Nikolay Vasilevich
Tambovenergo | 48 | 15423993 | 2012-01-17 | 5 | SS 35/10 "Podlesnaja" | The closed joint-stock company "Votek Mobajl" the Tambov branch with. 1 Left Lamki
Tambovenergo | 49 | 15426034 | 2012-01-20 | 7 | SS 35/10 "Podlesnaja" | Pribytkov Alexander Ivanovich
Tambovenergo | 50 | 15429121 | 2012-01-25 | 15 | SS 35/10 "Troitskorosljajsky" | Priests Victor Petrovich
Tambovenergo | 51 | 15430236 | 2012-01-27 | 5 | SS 35/10 "Kulevatovsky" | Stepanova Julia Vladimirovna
Tambovenergo | 52 | 15431412 | 2012-01-30 | 5 | SS 35/10 "Rybinsk" | The closed joint-stock company "Votek Mobajl" the Tambov branch of settlement State-farm
549

## Concluded contracts
| Site by site data for New Connection concluded contracts for January, 2012 | [5 empty] | Appendix #2
Division | Item # | Number of concluded contract | Date of contract conclusion dd/mm/yyyy | Term of execution in XX months | Maximum power, kW (including current power in kW) | Contract quantity in roubles without VAT | Site connection point (SS, PL) | Full name of applicant
| 1 | 2 | 3 | 4 | 5 | 6 | 7
IDGC of Centre - Tambovenergo | 1 | 40488543 | 2012-01-16 | 6 months | 10 | 466.1 | SS 110/10 kV "N.Ljadinsky"; overhead line-10 kV # 7 | Subbotkin Valery Sergeevich
IDGC of Centre - Tambovenergo | 2 | 40487077 | 2012-01-13 | 6 months | 10 | 466.1 | SS 35/10 kV "Serebrjakovsky"; overhead line-10 kV # 5 | Bulgakov Oleg Viktorovich
IDGC of Centre - Tambovenergo | 3 | 40487090 | 2012-01-13 | 6 months | 10 | 466.1 | SS 35/10 kV "Serebrjakovsky"; overhead line-10 kV # 5 | Bulgakov Oleg Viktorovich
IDGC of Centre - Tambovenergo | 4 | 40487093 | 2012-01-13 | 6 months | 10 | 466.1 | SS 35/10 kV "Serebrjakovsky"; overhead line-10 kV # 5 | Bulgakov Oleg Viktorovich
IDGC of Centre - Tambovenergo | 5 | 40487085 | 2012-01-13 | 6 months | 10 | 466.1 | SS 35/10 kV "Serebrjakovsky"; overhead line-10 kV # 5 | Bulgakov Oleg Viktorovich
IDGC of Centre - Tambovenergo | 6 | 40488365 | 2012-01-12 | 6 months | 5 | 466.1 | SS 35/10 kV "Tatanovsky"; overhead line-10 kV # 3 | Pluzhnikov Sergey Jurevich
IDGC of Centre - Tambovenergo | 7 | 40487127 | 2012-01-19 | 6 months | 5 | 466.1 | SS 110/35/10 kV "Industrial"; overhead line-10 kV # 10 | Dubonina Maria Vasilevna
IDGC of Centre - Tambovenergo | 8 | 40487423 | 2012-01-20 | 6 months | 15 | 466.1 | SS 35/10 kV "P.Prigorodnaja"; overhead line-10 kV # 2 | Efremov Sergey Anatolevich
IDGC of Centre - Tambovenergo | 9 | 40488378 | 2012-01-18 | 6 months | 5 | 466.1 | SS 110/35/10 kV "Industrial"; overhead line-10 kV # 10 | Iljasov Andrey Jurevich
IDGC of Centre - Tambovenergo | 10 | 40488309 | 2012-01-17 | 6 months | 15 | 466.1 | SS 110/6 kV «Tambov # 8»; overhead line-6 kV # 22 | Konstantinov Sergey Aleksandrovich
IDGC of Centre - Tambovenergo | 11 | 40490981 | 2012-01-27 | 6 months | 5 | 466.1 | SS 110/6 kV «Tambov # 5»; overhead line-6 kV # 9 | Agahanjan Ashot Serezhevich
IDGC of Centre - Tambovenergo | 12 | 40496433 | 2012-01-27 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Industrial"; overhead line-10 kV №10 | Pleshivtsev Vladimir Vasilevich
IDGC of Centre - Tambovenergo | 13 | 40478137 | 2012-01-30 | 12 months | 250 | 223722.64 | SS 35/10 kV "P.Prigorodnaja"; overhead line-10 kV # 8 | Open Society "Megaphone"
IDGC of Centre - Tambovenergo | 14 | 40484995 | 2012-01-30 | 6 months | 5 | 466.1 | SS 110/35/10 kV «Tambov # 6»; overhead line-10 kV # 17 | Open Society "МобильныеТелеСистемы"
IDGC of Centre - Tambovenergo | 15 | 40488284 | 2012-01-25 | 6 months | 30 | 35795.62 | SS 35/10 kV "Platonovsky"; overhead line-10 kV # 3 | IP Rebuzzing Alexander Valentinovich
IDGC of Centre - Tambovenergo | 16 | 40488407 | 2012-01-17 | 6 months | 59 | 52798.54 | SS 110/35/10 kV "Industrial"; overhead line-10 kV # 10 | IP Tchaplygin Sergey Jurevich
IDGC of Centre - Tambovenergo | 17 | 40462269 | 2012-01-31 | 6 months | 60 | 53693.4322 | SS 35/10 kV "Jurlovsky", overhead line-10 kV # 4 | Tammos Open Company
IDGC of Centre - Tambovenergo | 18 | 40462604 | 2012-01-31 | 12 months | 5 | 4474.4492 | SS 110/35/10 kV "Hobotovsky", overhead line-10 kV # 1 | Matvejchuk Lyudmila Nikolaevna
IDGC of Centre - Tambovenergo | 19 | 40462695 | 2012-01-24 | 6 months | 15 | 466.1017 | SS 35/10 kV "Raninsky", overhead line-10 kV # 1 | Pomorev Vyacheslav Vasilevich
IDGC of Centre - Tambovenergo | 20 | 40461473 | 2012-01-24 | 6 months | 15 | 466.1017 | SS 35/10 kV "Raninsky", overhead line-10 kV # 1 | Pomorev Oleg Vasilevich
IDGC of Centre - Tambovenergo | 21 | 40462812 | 2012-01-13 | 6 months | 15 | 466.1017 | SS 35/10 kV "Tarbeevsky", overhead line-10 kV # 1 | Kulikov Victor Vjacheslavovich
IDGC of Centre - Tambovenergo | 22 | 40466787 | 2012-01-19 | 24 months | 1400 | 1252846.7712 | SS 110/35/10 kV "Hobotovsky", overhead line-10 kV # 4 | Ptitsefabrika Ilovajsky Open Society
IDGC of Centre - Tambovenergo | 23 | 40466240 | 2012-01-12 | 6 months | 5 | 466.1017 | SS 110/35/10 kV " Old Jurevsky" overhead line-10 kV # 8 | Fists Yury Nikolaevich
IDGC of Centre - Tambovenergo | 24 | 40469199 | 2012-01-25 | 24 months | 2500 | 2237226.3814 | SS 110/35/10 kV " Hmelevsky", projected overhead line-10 kV | Green Valley of Open Company
IDGC of Centre - Tambovenergo | 25 | 40472652 | 2012-01-17 | 6 months | 5 | 466.1017 | SS 35/10 kV "KIM", overhead line-10 kV # 2 | Savkin Nadezhna Aleksandrovna
IDGC of Centre - Tambovenergo | 26 | 40472671 | 2012-01-24 | 6 months | 10 | 466.1017 | SS 35/10 kV " Tarbeevsky" overhead line-10 kV # 1 | Nevzorov Valentine Aleksandrovna
IDGC of Centre - Tambovenergo | 27 | 40472686 | 2012-01-10 | 6 months | 15 | 466.1017 | SS 35/10 kV "Petrovskaja", overhead line-10 kV # 7 | Tambov ORTSTS Branch RTRS
IDGC of Centre - Tambovenergo | 28 | 40482554 | 2012-01-24 | 6 months | 2 | 466.1017 | SS 110/27,5/6/10 kV "May Day", overhead line-6 kV "Gas-1", "Gas-2" | Mobile Telesystems of Open Society
IDGC of Centre - Tambovenergo | 29 | 40472143 | 2012-01-17 | 6 months | 5 | 466.1017 | SS 35/10 kV "Zhidilovsky", overhead line-10 kV # 2 | Ekaterina Aleksandrovna Lazareva
IDGC of Centre - Tambovenergo | 30 | 40472689 | 2012-01-17 | 6 months | 10 | 466.1017 | SS 35/10 kV " Tarbeevsky" overhead line-10 kV # 1 | Yury Aleksandrovich Pavlov
IDGC of Centre - Tambovenergo | 31 | 40473225 | 2012-01-17 | 6 months | 15 | 466.1017 | SS 35/10 kV "N.Vasilevsky", overhead line-10 kV # 2 | Administration Self-Vetsky Village Soviet and
IDGC of Centre - Tambovenergo | 32 | 40486232 | 2012-01-17 | 6 months | 5 | 466.1017 | SS 110/10 kV " New Seslavinsky" overhead line-10 kV # 2 | Andreeva Natalia Evgenevna
IDGC of Centre - Tambovenergo | 33 | 40475353 | 2012-01-17 | 6 months | 12 | 466.1017 | SS 35/10 kV "Tarbeevsky", overhead line-10 kV # 1 | Shitikov Konstantin Vladimirovich
IDGC of Centre - Tambovenergo | 34 | 40476165 | 2012-01-24 | 6 months | 5 | 466.1017 | SS 35/10 kV "Vishnevskaya" of overhead line-10 kV # 1 | Klishin Alexey Vjacheslavovich
IDGC of Centre - Tambovenergo | 35 | 40477131 | 2012-01-16 | 6 months | 5 | 466.1017 | SS 110/35/10 kV "Nikiforovska", overhead line-10 kV # 8 | Votek Mobajl of Joint-Stock Company
IDGC of Centre - Tambovenergo | 36 | 40477223 | 2012-01-17 | 6 months | 15 | 466.1017 | SS 110/35/10 kV "Nikiforovsky", overhead line-10 kV # 2 | Solopov Sergey Viktorovich IP
IDGC of Centre - Tambovenergo | 37 | 40478135 | 2012-01-17 | 6 months | 10 | 466.1017 | SS 35/10 kV " Tarbeevsky" overhead line-10 kV # 2 | Denis Dmitrievich Bykov
IDGC of Centre - Tambovenergo | 38 | 40479982 | 2012-01-24 | 6 months | 5 | 466.1017 | SS 35/10 kV "Kochetovsky", overhead line-10 kV # 2 | Slavik Samvelovich Mirzahanjan
IDGC of Centre - Tambovenergo | 39 | 40481331 | 2012-01-17 | 6 months | 36 | 32216.0593 | SS 35/10 kV "KIM", overhead line-10 kV # 2 | Kites Nikolay Vasilevich IP
IDGC of Centre - Tambovenergo | 40 | 40474594 | 2012-01-26 | 6 months | 8 | 466.1017 | SS 35/10 kV "Zolotovsky", overhead line-10 kV # 2. | Administration of Zolotovsky Village Soviet of Rzhaksinsky area of Tambov region
IDGC of Centre - Tambovenergo | 41 | 40484018 | 2012-01-16 | 6 months | 15 | 466.1017 | SS 110/35/10 kV "Bogdanovsky", overhead line-10 kV f. A 6. | Klishin Victor Vasilevich
IDGC of Centre - Tambovenergo | 42 | 40484060 | 2012-01-13 | 6 months | 15 | 466.1017 | SS 110/35/10 kV "Mordovian", overhead line-10 kV # 9. | IP Dmitriev Yury Nikolaevich
IDGC of Centre - Tambovenergo | 43 | 40484050 | 2012-01-13 | 6 months | 15 | 466.1017 | SS 35/10 kV "Olshansky", overhead line-10 kV # 8. | IP Filimonov Yury Nikolaevich
IDGC of Centre - Tambovenergo | 44 | 40484592 | 2012-01-30 | 6 months | 7 | 466.1017 | SS 35/10 kV "Art Emovsky", overhead line-10 kV # 4. | Open Society MobilnyeTeleSistemy
IDGC of Centre - Tambovenergo | 45 | 40474962 | 2012-01-12 | 12 months | 600 | 536934.33 | SS 35/10 "Serpovsky", projected overhead lines 10кВ. | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 46 | 40474863 | 2012-01-12 | 24 months | 4000 | 3579562.2 | SS 110/35/6 "Kamvolnaja", proektirumye LEP 6 kV | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 47 | 40474975 | 2012-01-12 | 12 months | 600 | 536934.33 | SS 35/10 "Serpovsky", projected overhead lines 10 kV | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 48 | 40475963 | 2012-01-12 | 12 months | 550 | 492189.8 | SS 35/10 "Serpovsky", projected overhead lines 10 kV | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 49 | 40475994 | 2012-01-12 | 12 months | 250 | 223722.64 | SS 35/10 "Serpovsky", projected overhead lines 10 kV | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 50 | 40476036 | 2012-01-12 | 12 months | 550 | 492189.8 | SS 35/10 "Serpovsky", projected overhead lines 10 kV | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 51 | 40476173 | 2012-01-12 | 12 months | 200 | 178978.11 | SS 35/10 "Serpovsky", projected overhead lines 10 kV | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 52 | 40476325 | 2012-01-12 | 12 months | 600 | 536934.33 | SS 35/10 "Serpovsky", projected overhead lines 10 kV | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 53 | 40476483 | 2012-01-12 | 12 months | 600 | 536934.33 | SS 35/10 "Serpovsky", projected overhead lines 10 kV | Limited liability company « Agrosynergy Tambov»
IDGC of Centre - Tambovenergo | 54 | 40481222 | 2012-01-10 | 6 months | 15 | 466.1 | SS 35/10 "Egorovsky", F-16 | Kazakova Alla Anatolevna
IDGC of Centre - Tambovenergo | 55 | 40490398 | 2012-01-31 | 6 months | 10 | 466.1 | SS 35/10 "Rybinsk", F-5 | Tarabrin Yury Viktorovich
IDGC of Centre - Tambovenergo | 56 | 40494674 | 2012-01-30 | 6 months | 7 | 466.1 | SS 35/10 "Rybinsk", F-8 | ShCherbakov Michael Valerevich
IDGC of Centre - Tambovenergo | 57 | 40478463 | 2012-01-10 | 6 months | 5 | 466.1 | SS110/35/10 kV "Inzhavinsky", overhead line-10 kV # feeder №5, TS №I-061 (250 kVA), overhead line-0,4kV feeder №2, pole # 160 (tap from overhead line-10 kV feeder №5 SS 110/35/10 kV "Inzhavinsky" | Shuvarina Galina Petrovna
IDGC of Centre - Tambovenergo | 58 | 40454663 | 2012-01-12 | 6 months | 10 | 466.1 | SS110/35/10 kV "Inzhavinsky", overhead line-10 kV # feeder №5, TS a 056 (400 kVA), overhead line-0,4kV feeder №1, pole # 2 | Open Society "Megaphone"
IDGC of Centre - Tambovenergo | 59 | 40477649 | 2012-01-24 | 6 months | 5 | 466.1 | SS 110/35/10 kV "Umetsky", overhead line-10 kV # feeder №7, a support №29 | Open Society "Mobile System Body"
IDGC of Centre - Tambovenergo | 60 | 40494681 | 2012-01-27 | 6 months | 15 | 466.1 | SS 35/10 kV "Kalaissky", overhead line-10 kV # feeder №4, TS №К-006 (100 kVA), overhead line-0,4kV feeder №1, pole # 4 | Administration of Kalaissky Village Soviet
IDGC of Centre - Tambovenergo | 61 | 40493977 | 2012-01-27 | 6 months | 5 | 466.1 | SS110/35/10 kV "Inzhavinsky", overhead line-10 kV # feeder №2, TS №I-028 (100 kVA), overhead line-0,4kV feeder №1, pole # 46 | Santalov Nikolay Vladimirovich
IDGC of Centre - Tambovenergo | 62 | 40477602 | 2012-01-30 | 6 months | 15 | 466.1 | SS 110/35/10 kV "Inzhavinsky", overhead line-10 kV # feeder №5, TS I-042 (63 kVA), SWG-0.4 kV | Open Society "Megaphone"

## реестр исп.договоров (hidden)
The poobektnaja information on vypolnenym to contracts TP for January, 2012
Branch | p/p | Number of the concluded contract | The sum under the contract in rbl. without the VAT | Maximum rating, kw (t.ch. Existing in kw) | Number of Certificate TP | Date of Certificate TP d/m/g | Point of joining of object it (SS agree Certificate TP | Full name of the applicant
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Tambov RES | 1 | 40051852 | 466.1017 | 5 | 693/98 | 2012-01-27 | SS 35/10 kv "Ivanovo" | Smiths Alexander Mihajlovich
Tambov RES | 2 | 40188246 | 466.1017 | 5 | 25 | 2012-01-11 | SS 110/10 kv "N.Ljadinsky" | Petrov Dmitry Anatolevich
Tambov RES | 3 | 40256189 | 466.1017 | 15 | 15 | 2012-01-11 | SS 110/10 kv "N.Ljadinsky" | Grebenshchikova Nina Nikolaevna
Tambov RES | 4 | 40268108 | 466.1017 | 15 | 19 | 2012-01-11 | SS 110/35/10 kv "Industrial" | Polinichak Svetlana Petrovna
Tambov RES | 5 | 40305021 | 466.1017 | 5 | 74 | 2012-01-20 | SS 110/35/10 kv "Komsomol" | Smiths Andrey Sergeevich
Tambov RES | 6 | 40318865 | 466.1017 | 15 | 16 | 2012-01-11 | SS 35/10 kv "Suhotinsky" | Titov Dmitry Mihajlovich
Tambov RES | 7 | 40318854 | 466.1017 | 15 | 18 | 2012-01-11 | SS 35/10 kv "Suhotinsky" | Humpbacks Konstantin Aleksandrovich
Tambov RES | 8 | 40323934 | 466.1017 | 10 | 17 | 2012-01-11 | SS 35/10 kv "Suhotinsky" | Zolotov Nikolay Vladimirovich
Tambov RES | 9 | 40332198 | 466.1017 | 7 | 21 | 2012-01-11 | SS 110/6 kv «Tambov a 8» | Trufanova Elena Viktorovna
Tambov RES | 10 | 40344453 | 466.1017 | 10 | 20 | 2012-01-11 | SS 110/10 kv "N.Ljadinsky" | Nosorev Ivan Ivanovich
Tambov RES | 11 | 40355876 | 466.1017 | 7 | 73 | 2012-01-20 | SS 35/10 kv "Ivanovo" | Motolygina Irina Mihajlovna
Tambov RES | 12 | 40354026 | 466.1017 | 15 | 26 | 2012-01-11 | SS 110/6 kv «Tambov a 5» | Balandin Sergey Mihajlovich
Tambov RES | 13 | 40355538 | 466.1017 | 5 | 514 | 2012-01-11 | SS 35/10 kv "Tatanovsky" | Evstifeeva Elena Aleksandrovna
Tambov RES | 14 | 40361609 | 466.1017 | 7 | 28 | 2012-01-11 | SS 110/6 kv «Tambov a 8» | Seleznev Nadezhda Ivanovna
Tambov RES | 15 | 40373741 | 466.1017 | 12 | 29 | 2012-01-11 | SS 35/10 kv "Tulinovsky" | Scherban Nadezhda Gennadevna
Tambov RES | 16 | 40372318 | 466.1017 | 5 | 22 | 2012-01-11 | SS 110/35/10 kv "Komsomol" | Syshchikova Tatyana Grigorevna
Tambov RES | 17 | 40389741 | 466.1017 | 5 | 27 | 2012-01-11 | SS 110/6 kv «Tambov a 8» | Kozachenko Svetlana Alekseevna
Tambov RES | 18 | 40443177 | 466.1017 | 12 | 68 | 2012-01-20 | SS 35/10 kv "Tulinovsky" | Shirokov Evgenie Ivanovna
Tambov RES | 19 | 40451837 | 466.1017 | 10 | 65 | 2012-01-20 | SS 110/6 kv «Tambov a 8» | Trubienko Irina Aleksandrovna
Tambov RES | 20 | 40451827 | 466.1017 | 5 | 70 | 2012-01-20 | SS 35/10 kv "Gorelsky" | Kovtonjuk Victor Vasilevich
Tambov RES | 21 | 40453235 | 466.1017 | 9 | 23 | 2012-01-11 | SS 110/35/10 kv "Industrial" | Solonnikov Yury Grigorevich
Tambov RES | 22 | 40453472 | 466.1017 | 5 | 69 | 2012-01-20 | SS 110/6 kv «Tambov a 8» | Poroshin Victor Vasilevich
Tambov RES | 23 | 40453615 | 466.1017 | 5 | 71 | 2012-01-20 | SS 110/6 kv «Tambov a 8» | Evdokimova Natalia Vladimirovna
Tambov RES | 24 | 40455787 | 466.1017 | 10 | 72 | 2012-01-20 | SS 110/35/6 kv "Rasskazovsky" | Mikheyev Vladimir Viktorovich
Tambov RES | 25 | 40461283 | 466.1017 | 10 | 97 | 2012-01-27 | SS 110/6 kv «Tambov a 8» | Sereda Uljana Vladimirovna
Tambov RES | 26 | 40194018 | 466.1017 | 6 | 35 | 2012-01-27 | SS 110/10 kv "Spassky" | Open Society "Vympelcom"
Tambov RES | 27 | 40277940 | 77141.8 | 20 | 31 | 2012-01-11 | SS 110/10 kv "N.Ljadinsky" | Administration of the Tambov area
Tambov RES | 28 | 40281197 | 467396.4 | 120 | 96 | 2012-01-27 | SS 110/35//10 kv «Tambov a 6» | Open Company "Builder Th"
Tambov RES | 29 | 40318485 | 466.1017 | 15 | 30 | 2012-01-11 | SS 35/10 kv "Sajukinsky" | The local religious organisation orthodox Arrival of the Mihailo-Arkhangelsk temple
Tambov RES | 30 | 40449952 | 466.1017 | 15 | 40 | 2012-01-20 | SS 110/35//10 kv «Tambov a 6» | Open Company "Builder Th"
Tambov RES | 31 | 40458727 | 14318.25 | 16 | 64 | 2012-01-20 | SS 110/10 kv "N.Ljadinsky" | FKU "highway Management Moscow-Volgograd Federal road agency"
Tambov RES | 32 | 40458536 | 17181.9 | 19.2 | 61 | 2012-01-20 | SS 110/10 kv "N.Ljadinsky" | FKU "highway Management Moscow-Volgograd Federal road agency"
Tambov RES | 33 | 40458715 | 19660.75 | 21.97 | 62 | 2012-01-20 | SS 110/35/10 kv "Komsomol" | FKU "highway Management Moscow-Volgograd Federal road agency"
Tambov RES | 34 | 40462313 | 23338.75 | 26.08 | 63 | 2012-01-20 | SS 110/35/10 kv "Komsomol" | FKU "highway Management Moscow-Volgograd Federal road agency"
Open Society branch «MRSK the Centre» "Tambovenergo" | 1 | 40144860 | 466.1017 | 5 | 998 | 2012-01-11 | SS 35/10 kv "Isosimovsky" | Krasnitsky Michael Vladimirovich
Open Society branch «MRSK the Centre» "Tambovenergo" | 2 | 40282974 | 466.1017 | 15 | 996 | 2012-01-11 | SS 35/10 kv "Tarbeevsky" | Jazykova Julia Georgievna
Open Society branch «MRSK the Centre» "Tambovenergo" | 3 | 40334508 | 466.1017 | 15 | 916 | 2012-01-11 | SS 110/35/10 kv "Old Jurevsky" | Klychnikova Tatyana Vladimirovna
Open Society branch «MRSK the Centre» "Tambovenergo" | 4 | 40359329 | 466.1017 | 15 | 989 | 2012-01-11 | SS 35/10 kv "Isosimovsky" | Platens Yury Nikolaevich
Open Society branch «MRSK the Centre» "Tambovenergo" | 5 | 40373643 | 466.1017 | 8 | 1022 | 2012-01-11 | SS 35/10 kv "Petrovskaja" | Golubev Alexander Mihajlovich IP
Open Society branch «MRSK the Centre» "Tambovenergo" | 6 | 40403854 | 466.1017 | 14 | 986 | 2012-01-11 | SS 35/10 kv "Tarbeevsky" | Solovyh Yury Nikolaevich
Open Society branch «MRSK the Centre» "Tambovenergo" | 7 | 40405950 | 466.1017 | 5 | 918 | 2012-01-11 | SS 35/10 kv "Klensky" | Petrov Anzhelika Sergeevna
Open Society branch «MRSK the Centre» "Tambovenergo" | 8 | 40410989 | 466.1017 | 5 | 938 | 2012-01-11 | SS 35/10 kv "Kozmodemjansky" | Luneva Valentina Ivanovna
Open Society branch «MRSK the Centre» "Tambovenergo" | 9 | 40411120 | 466.1017 | 5 | 934 | 2012-01-11 | SS 35/10 kv "Kozmodemjansky" | Morozova Antonina Ivanovna
Open Society branch «MRSK the Centre» "Tambovenergo" | 10 | 40428960 | 466.1017 | 7 | 1009 | 2012-01-20 | SS 35/10 kv "Saburovsky" | Open Society "MTS" with. Saburo-Pokrovsk
Open Society branch «MRSK the Centre» "Tambovenergo" | 11 | 40425950 | 466.1017 | 5 | 953 | 2012-01-11 | SS 110/27,5/6/10 kv "May Day" | Suharev Victor Nikolaevich
Open Society branch «MRSK the Centre» "Tambovenergo" | 12 | 40440554 | 466.1017 | 5 | 982 | 2012-01-11 | SS 35/10 kv "New Jurevsky" | Zyuzin Alexander Sergeevich
Open Society branch «MRSK the Centre» "Tambovenergo" | 13 | 40451920 | 466.1017 | 7 | 999 | 2012-01-11 | SS 35/10 kv "Petrovskaja" | Sarychev Victor Sergeevich IP
Open Society branch «MRSK the Centre» "Tambovenergo" | 14 | 40452077 | 466.1017 | 8.2 | 998 | 2012-01-11 | SS 35/10 kv "Petrovskaja" | Sarychev Victor Sergeevich IP
Open Society branch «MRSK the Centre» "Tambovenergo" | 15 | 40452097 | 466.1017 | 10 | 997 | 2012-01-11 | SS 35/10 kv "Petrovskaja" | Sarychev Victor Sergeevich IP
| 1 | 40311117 | 466.1017 | 15 | 60 | 2012-01-20 | SS 35/10 kv "Tr. Rosljajsky" | Individual businessman Ryazanov Serafim Vasilevich
| 2 | 40408252 | 466.1017 | 5 | 59 | 2012-01-20 | SS 35/10 kv "Shapkinsky" | Trishina Tatyana Aleksandrovna
| 3 | 40426247 | 466.1017 | 10 | 57 | 2012-01-20 | SS 35/10 kv "Shapkinsky" | Savchuk Nikolay Ivanovich
| 4 | 40443051 | 466.1017 | 9 | 58 | 2012-01-20 | SS 35/10 "T.Rosljajsky" | Bokovikov Boris Viktorovich
Tambovenergo | 1 | 40229224 | 466.1 | 6 | 339 | 2012-01-20 | SS 35/10 "Pahotnouglovsky" | Kobzev Yury Vladimirovich
Tambovenergo | 2 | 40462246 | 466.1 | 7 | 55 | 2012-01-27 | SS 35/10 "Chernitovsky" | Open Society "Mobile Telesystems"
Tambovenergo | 3 | 40481222 | 466.1 | 15 | 32 | 2012-01-27 | SS 35/10 "Egorovsky" | Kazakova Alla Anatolevna
Open Society branch «MRSK the Centre» - "Tambovenergo" | 1 | 40437997 | 466.1 | 5 | 99 | 2012-01-27 | ПС110/35/10 kv "Inzhavinsky", the overhead line-10 kv a feeder №5, TP №И-059 (250 kva), the overhead line-0,4kV a feeder №3, a support of a 2 | Kijaraklieva Yana Georgievna

## анулир. (hidden)
The poobektnaja information under the cancelled demands on TP for January, 2012
1 | 15414106 | 2011-12-21 | Open Society "МобильныеТелеСистемы" | 5 | SS 110/35/10 kv "Tambov a 6"
2 | 15423414 | 2012-01-17 | Rebets Sergey Vladimirovich | 5 | SS 110/35/10 kv "Kuzminsky"
3 | 15415596 | 2011-12-26 | TOGUP "Vodgazhoz" | 6400 | SS 35/10 kv "Verhotsensky"
6410
6.41