## Sheet1
Template 10092 The balance of power at voltage levels and the structure of losses in regional grid companies
| Reporting date | December 2010
| Site | 321303 | Voronezhenergo division
Section 1. The structure of the balance of power at voltage levels
Item # | Indicator | Page code | Total | 750 kV | 500 kV | 330 kV | 220 kV | 150-110 kV | 27,5-60 kV | 1-20 kV | 0,4 kV
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9
1 | Electrical energy injected into the grid, total, thousand kWh | 1 | 9959043.78 | 0 | 0 | 0 | 160329.71 | 9458398.64 | 227763.68 | 112551.75 | 0
1.1 | Injected into the grid of Federal Grid Company, thousand kWh | 11 | Group1: 2697728.83; Group6: 2697706.31; Group8: 22.52
1.2 | Injected into the grid of Interregional Grid Companies, thousand kWh | 12 | Group1: 5187373.9; Group5: 160329.71; Group6: 4884456.68; Group7: 30058.28; Group8: 112529.23
1.3 | Injected into the grid of Adjacent Grid Companies, thousand kWh | 13 | Group1: 61588.4; Group6: 61588.4
1.4 | Injected into the grid of Generating Companies, thousand kWh | 14 | Group1: 2012352.65; Group6: 1814647.25; Group7: 197705.4
1.5 | Injected into the grid of isolated generating plants, thousand kWh | 15 | Group1: 0
2 | Electrical energy delivery from the grid, total, thousand kWh | 2 | 1540139.27 | 0 | 0 | 0 | 23147.58 | 1514972.44 | 0 | 2019.25 | 0
2.1 | Delivery to the grid of Federal Grid Company, thousand kWh | 21 | Group1: 205347.89; Group6: 205317.99; Group8: 29.9
2.2 | Delivery to the grid of Interregional Grid Companies, thousand kWh | 22 | Group1: 733610.06; Group6: 732131.68; Group8: 1478.38
2.3 | Delivery to the grid of Adjacent Grid Companies, thousand kWh | 23 | Group1: 171845.27; Group5: 23147.58; Group6: 148186.72; Group8: 510.97
2.4 | Delivery to the grid of Generating Companies, thousand kWh | 24 | Group1: 429336.05; Group6: 429336.05
3 | Electrical energy Injected into from the grid of adjacent voltage, total, thousand kWh | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 2491912.55 | 5191885.65 | 1281726.26
3.1 | Injected into the grid of 750 kV, thousand kWh | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2 | Injected into the grid of 500 kV, thousand kWh | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.3 | Injected into the grid of 330 kV, thousand kWh | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.4 | Injected into the grid of 220 kV, thousand kWh | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | Injected into the grid of 110 kV, thousand kWh | 35 | 5452623 | 0 | 0 | 0 | 0 | 0 | 2491912.55 | 2960710.45 | 0
3.6 | Injected into the grid of 27,5-60 kV, thousand kWh | 36 | 2231175.2 | 0 | 0 | 0 | 0 | 0 | 0 | 2231175.2 | 0
3.7 | Injected into the grid of 1-20 kV, thousand kWh | 37 | 1281726.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1281726.26
4 | Delivery of electrical energy to the grid of adjacent voltage, total, thousand kWh | 4 | 0 | 0 | 0 | 0 | 0 | 5452623 | 2231175.2 | 1281726.26 | 0
4.1 | Delivery to the grid of 500 kV, thousand kWh | 41 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 | Delivery to the grid of 330 kV, thousand kWh | 42 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
4.3 | Delivery to the grid of 220 kV, thousand kWh | 43 | Group1: 0; Group5: 0; Group7: 0; Group8: 0; Group9: 0
4.4 | Delivery to the grid of 110 kV, thousand kWh | 44 | Group1: 0; Group6: 0; Group7: 0; Group8: 0; Group9: 0
4.5 | Delivery to the grid of 27,5-60 kV, thousand kWh | 45 | Group1: 2491912.55; Group6: 2491912.55; Group7: 0; Group8: 0; Group9: 0
4.6 | Delivery to the grid of 1-20 kV, thousand kWh | 46 | Group1: 5191885.65; Group6: 2960710.45; Group7: 2231175.2; Group8: 0; Group9: 0
4.7 | Delivery to the grid of 0,4 kV, thousand kWh | 47 | 1281726.26 | 0 | 0 | 0 | 0 | 0 |  | 1281726.26 | 0
5 | Electrical energy supply to the grid, thousand kWh | 5 | 8418904.51 | 0 | 0 | 0 | 137182.13 | 7943426.2 | 2719676.23 | 5302418.15 | 1281726.26
6 | Volume (amount) of transferred (consumed) electricity, total, thousand kWh | 6 | 7647872.99 |  |  |  | 137182.13 | 2197266.7 | 411243.91 | 3810635.15 | 1091545.1
6.1 | Volume (amount) of transferred (consumed) electricity to customers directly connected to the buses of substations, thousand kWh | 61 | 3323218.4 | 0 | 0 | 0 | 0 | 0 | 104443.71 | 3192544.15 | 26230.54
6.1.1 | primary voltage level of HV substations, thousand kWh | 611 | 2771367.66 | 0 | 0 | 0 | 0 | 0 | 104443.71 | 2666923.95 | 0
6.1.2 | primary voltage level of MV1 substations, thousand kWh | 612 | 525620.2 | 0 | 0 | 0 | 0 | 0 | 0 | 525620.2
6.1.3 | primary voltage level of MV11 substations, thousand kWh | 613 | 26230.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26230.54
6.2 | consumption due to production (including economic) needs, thousand kWh | 62 | Group1: 0
7 | Actual (reporting) losses of electricity in the grid, thousand kWh | 7 | 771031.52 | 0 | 0 | 0 | 0 | 293536.5 | 77257.12 | 210056.74 | 190181.16
7.1 | The ratio of actual (reporting) losses of electricity as a percentage of electricity supply to the grid, % | 71 | 9.16 | 0 | 0 | 0 | 0 | 3.7 | 2.84 | 3.96 | 14.84
8 | Technical losses of electrical energy, total, thousand kWh | 8 | 771031.52 | 0 | 0 | 0 | 0 | 293536.5 | 77257.12 | 210056.74 | 190181.16
8.1 | conditional permanent losses, thousand kWh | 81 | 223786.98 | 0 | 0 | 0 | 0 | 95882.95 | 31737.21 | 80271.22 | 15895.6
8.2 | losses under load, thousand kWh | 82 | 522880.39 | 0 | 0 | 0 | 0 | 189433 | 44258.09 | 126573.06 | 162616.24
8.3 | losses due to allowed accuracy of metering devices, thousand kWh | 83 | 24364.15 | 0 | 0 | 0 | 0 | 8220.55 | 1261.82 | 3212.46 | 11669.32
8.4 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, % | 84 | 9.16 | 0 | 0 | 0 | 0 | 3.7 | 2.84 | 3.96 | 14.84
Раздел Норматив
Номер статьи. | Наименование | Код стр. | Всего | 750 кВ | 500 кВ | 330 кВ | 220 кВ | 150-110 кВ | 27,5-60 кВ | 1-20 кВ | 0,4 кВ
|  |  | Гр1 | Гр2 | Гр3 | Гр4 | Гр5 | Гр6 | Гр7 | Гр8 | Гр9
8.5 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, approved by the Ministry of Energy of the Russian Federation, % | 85 | bar: Гр1
8.6 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, adopted by the regulator, % | 86 | bar: Гр1
Section 2. The structure of technical losses of electricity
Item # | Name of the structural components | Page code | 750 kV, thousand kWh | 750 kV, % | 500 kV, thousand kWh | 500 kV, % | 350 kV, thousand kWh | 350 kV, % | 220 kV, thousand kWh | 220 kV, % | 150 - 110 kV, thousand kWh | 150 - 110 kV, % | 27,5 - 60 kV, thousand kWh | 27,5 - 60 kV, % | 1 - 20 kV, thousand kWh | 1 - 20 kV, % | 0,4 kV, thousand kWh | 0,4 kV, % | total, thousand kWh | total, %
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9 | Group10 | Group11 | Group12 | Group13 | Group14 | Group15 | Group16 | Group17 | Group18
1 | Electrical energy supplied to the grid | 4100 | 0 | 0 | 0 | 0 | 0 | 0 | 137182.13 | 0 | 7943426.2 | 0 | 2719676.23 | 0 | 5302418.15 | 0 | 1281726.26 | 0 | 8418904.51 | 0
2 | conditional permanent losses of electrical energy | 4200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95882.95 | 1.21 | 31737.21 | 1.17 | 80271.22 | 1.51 | 15895.6 | 1.24 | 223786.98 | 2.66
2.1 | Loss on idling transformers | 4201 |  | 0 |  | 0 |  | 0 |  | 0 | 54295.26 | 0.68 | 17778.62 | 0.65 | 54484 | 1.03 |  | 0 | 126557.88 | 1.5
2.2 | Loss on corona discharge in overhead lines | 4202 |  | 0 |  | 0 |  | 0 |  | 0 | 16615.18 | 0.21 |  | 0 |  | 0 |  | 0 | 16615.18 | 0.2
2.3 | Surface-leakage current in overhead lines | 4203 |  | 0 |  | 0 |  | 0 |  | 0 | 7474.32 | 0.09 | 4450.13 | 0.16 | 10360.3 | 0.2 |  | 0 | 22284.75 | 0.26
2.4 | Insulation losses in cable lines | 4204 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 93.6 | 0 |  | 0 | 93.6 | 0
2.5 | Measuring current transformer losses | 4205 |  | 0 |  | 0 |  | 0 |  | 0 | 1520.2 | 0.02 | 572.4 | 0.02 | 341.5 | 0.01 | 113.35 | 0.01 | 2547.45 | 0.03
2.6 | Measuring voltage transformer losses | 4206 |  | 0 |  | 0 |  | 0 |  | 0 | 2486 | 0.03 | 1728 | 0.06 | 613.7 | 0.01 |  | 0 | 4827.7 | 0.06
2.7 | Losses in directly connected meters | 4207 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 15782.25 | 1.23 | 15782.25 | 0.19
2.8 | Losses in shunt reactors | 4208 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.9 | Losses in the connecting wires and busbars of substations | 4209 |  | 0 |  | 0 |  | 0 |  | 0 | 1089 | 0.01 | 585 | 0.02 | 13854.1 | 0.26 |  | 0 | 15528.1 | 0.18
2.10 | Losses in valve-type arresters | 4210 |  | 0 |  | 0 |  | 0 |  | 0 | 728.4 | 0.01 | 169.26 | 0.01 | 524 | 0.01 |  | 0 | 1421.66 | 0.02
2.11 | Losses in surge arresters | 4211 |  | 0 |  | 0 |  | 0 |  | 0 | 22.22 | 0 | 0.7 | 0 | 0.02 | 0 |  | 0 | 22.94 | 0
2.12 | Losses in HF communication connected devices | 4212 |  | 0 |  | 0 |  | 0 |  | 0 | 67.32 | 0 | 7.1 | 0 |  | 0 |  | 0 | 74.42 | 0
2.13 | Losses in compensating devices | 4213 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.14 | Electrical energy utility consumption | 4214 |  | 0 |  | 0 |  | 0 |  | 0 | 11399.55 | 0.14 | 6446 | 0.24 |  | 0 |  | 0 | 17845.55 | 0.21
2.15 | Electricity consumption for melting ice | 4215 |  | 0 |  | 0 |  | 0 |  | 0 | 185.5 | 0 |  | 0 |  | 0 |  | 0 | 185.5 | 0
3 | Losses of electrical energy under load | 4300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 189433 | 2.38 | 44258.09 | 1.63 | 126573.06 | 2.39 | 162616.24 | 12.69 | 522880.39 | 6.21
3.1 | Losses under load in transformers | 4301 |  | 0 |  | 0 |  | 0 |  | 0 | 25445.09 | 0.32 | 9790 | 0.36 | 15523 | 0.29 |  | 0 | 50758.09 | 0.6
3.2 | Losses under load in power lines | 4302 |  | 0 |  | 0 |  | 0 |  | 0 | 163987.91 | 2.06 | 34468.09 | 1.27 | 111050.06 | 2.09 | 162616.24 | 0 | 472122.3 | 5.61
3.3 | Losses under load in current limiting reactors | 4303 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
3.4 | Losses under load in busbars | 4304 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
4 | Technical losses of eklectrical energy | 4400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285315.95 | 3.59 | 75995.3 | 2.79 | 206844.28 | 3.9 | 178511.84 | 13.93 | 746667.37 | 8.87
5 | Losses of electrical energy due to allowed accuracy of metering devices | 4500 |  | 0 |  | 0 |  | 0 |  | 0 | 8220.55 | 0.1 | 1261.82 | 0.05 | 3212.46 | 0.06 | 11669.32 | 0.91 | 24364.15 | 0.29
6 | Technological losses of electrical energy | 4600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 293536.5 | 3.7 | 77257.12 | 2.84 | 210056.74 | 3.96 | 190181.16 | 14.84 | 771031.52 | 9.16
Section Contact Information
| Item | Page code | Group1: Name; Group2: Title; Group3: Contact telephone; Group4: E-mail
|  |  | Group1 | Group2 | Group3 | Group4
| Head of an organization | 411 | Group1: I.P. Kleymenov; Group2: Deputy General Director of IDGC of Centre - Voronezhenergo division director; Group3: [4732]222-23-01; Group4: post@veco.ru
| Responsible for completing the template | 412 | Group1: S.V. Salamatin; Group2: Head of Forecasting electric energy and power balance and loss analysis Department; Group3: [4732]254-79-38; Group4: gtue1@veco.ru
Section Code links
| Item | Page code | Group1: Value
Group1
| Name of reporting organization | 421 | Group1: IDGC of Centre - Voronezhenergo division director
| Postal address | 422 | Group1: 394033 Voronezh, Arzamaskaya street 2
| Code of the reporting organization per Russian Business and Organization Classification | 423 | bar: Group1
| Activity code per Russian National Classifier of Economic Activities | 424 | bar: Group1
| Territory code per All-Russian Classifier of Political Subdivisions | 425 | bar: Group1
| Code of ministry (department), authority per National Classifier of Government Entities and Administration | 426 | bar: Group1
| Code of the legal form per All-Russia Classifier of Forms of Ownership Code | 427 | bar: Group1
| Ownership code per All-Russia Classifier of Forms of Ownership | 428 | bar: Group1
| Area code for services per All-Russian Classifier of Political Subdivisions | 429 | bar: Group1
<< 15.02.2011 >>
Plugin version from 26.01.2010 11:49:54
| Version IS_Client - 4.11.3 | 4.11.3
| Version АРМ - 26.01.2010 12.18.16 | 26.01.2010 12.18.16