## Sheet1
Template 10092 The balance of power at voltage levels and the structure of losses in regional grid companies
| Reporting date | December 2010
| Site | 3086 | IDGC of Centre
Section 1. The structure of the balance of power at voltage levels
Item # | Indicator | Page code | Total | 750 kV | 500 kV | 330 kV | 220 kV | 150-110 kV | 27,5-60 kV | 1-20 kV | 0,4 kV
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9
1 | Electrical energy injected into the grid, total, thousand kWh | 1 | 77713625.33 | 0 | 0 | 0 | 674448.82 | 69463612.93 | 3650818.01 | 3920891.22 | 3854.35
1.1 | Injected into the grid of Federal Grid Company, thousand kWh | 11 | Group1: 28605911.1; Group6: 27294406.4; Group7: 651248.61; Group8: 659981.67; Group9: 274.42
1.2 | Injected into the grid of Interregional Grid Companies, thousand kWh | 12 | 31034699.1 |  |  |  | 674448.82 | 27328478.15 | 1083531.39 | 1947520.44 | 720.3
1.3 | Injected into the grid of Adjacent Grid Companies, thousand kWh | 13 | Group1: 2506653.3; Group6: 2440519.07; Group7: 64021.36; Group8: 2112.87
1.4 | Injected into the grid of Generating Companies, thousand kWh | 14 | Group1: 15515276.01; Group6: 12388143.69; Group7: 1832061.18; Group8: 1292612.04; Group9: 2459.1
1.5 | Injected into the grid of isolated generating plants, thousand kWh | 15 | Group1: 51085.82; Group6: 12065.62; Group7: 19955.47; Group8: 18664.2; Group9: 400.53
2 | Electrical energy delivery from the grid, total, thousand kWh | 2 | 15455099.55 | 0 | 0 | 0 | 23147.58 | 15054518.86 | 293255.62 | 83813.72 | 363.77
2.1 | Delivery to the grid of Federal Grid Company, thousand kWh | 21 | Group1: 2402246.48; Group6: 2392695.66; Group7: 4589.39; Group8: 4597.66; Group9: 363.77
2.2 | Delivery to the grid of Interregional Grid Companies, thousand kWh | 22 | Group1: 6895636.91; Group6: 6880747.63; Group7: 10459.78; Group8: 4429.5
2.3 | Delivery to the grid of Adjacent Grid Companies, thousand kWh | 23 | Group1: 3059758.87; Group5: 23147.58; Group6: 2947208.77; Group7: 44610.85; Group8: 44791.67
2.4 | Delivery to the grid of Generating Companies, thousand kWh | 24 | Group1: 3097457.29; Group6: 2833866.8; Group7: 233595.6; Group8: 29994.89
3 | Electrical energy Injected into from the grid of adjacent voltage, total, thousand kWh | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 12012184.82 | 33729417.55 | 11507434.74
3.1 | Injected into the grid of 750 kV, thousand kWh | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2 | Injected into the grid of 500 kV, thousand kWh | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.3 | Injected into the grid of 330 kV, thousand kWh | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.4 | Injected into the grid of 220 kV, thousand kWh | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | Injected into the grid of 110 kV, thousand kWh | 35 | 34006132.37 | 0 | 0 | 0 | 0 | 0 | 12012184.82 | 21993947.55 | 0
3.6 | Injected into the grid of 27,5-60 kV, thousand kWh | 36 | 11742755.85 | 0 | 0 | 0 | 0 | 0 | 0 | 11735470 | 7285.85
3.7 | Injected into the grid of 1-20 kV, thousand kWh | 37 | 11500148.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11500148.89
4 | Delivery of electrical energy to the grid of adjacent voltage, total, thousand kWh | 4 | 0 | 0 | 0 | 0 | 0 | 34006132.37 | 11742755.85 | 11500148.89 | 0
4.1 | Delivery to the grid of 500 kV, thousand kWh | 41 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 | Delivery to the grid of 330 kV, thousand kWh | 42 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
4.3 | Delivery to the grid of 220 kV, thousand kWh | 43 | Group1: 0; Group5: 0; Group7: 0; Group8: 0; Group9: 0
4.4 | Delivery to the grid of 110 kV, thousand kWh | 44 | Group1: 0; Group6: 0; Group7: 0; Group8: 0; Group9: 0
4.5 | Delivery to the grid of 27,5-60 kV, thousand kWh | 45 | Group1: 12012184.82; Group6: 12012184.82; Group7: 0; Group8: 0; Group9: 0
4.6 | Delivery to the grid of 1-20 kV, thousand kWh | 46 | Group1: 33729417.55; Group6: 21993947.55; Group7: 11735470; Group8: 0; Group9: 0
4.7 | Delivery to the grid of 0,4 kV, thousand kWh | 47 | 11507434.74 | 0 | 0 | 0 | 0 | 0 | 7285.85 | 11500148.89 | 0
5 | Electrical energy supply to the grid, thousand kWh | 5 | 62258525.78 | 0 | 0 | 0 | 651301.24 | 54409094.07 | 15369747.21 | 37566495.05 | 11510925.32
6 | Volume (amount) of transferred (consumed) electricity, total, thousand kWh | 6 | 56028926.01 |  |  |  | 651301.24 | 18553556.95 | 2925971.49 | 24365772.59 | 9532323.74
6.1 | Volume (amount) of transferred (consumed) electricity to customers directly connected to the buses of substations, thousand kWh | 61 | 19272305.65 | 0 | 0 | 0 | 0 | 0 | 916442.22 | 17142152.51 | 1213710.92
6.1.1 | primary voltage level of HV substations, thousand kWh | 611 | 14874160.41 | 0 | 0 | 0 | 0 | 0 | 916442.22 | 13957718.19 | 0
6.1.2 | primary voltage level of MV1 substations, thousand kWh | 612 | 3240900.66 | 0 | 0 | 0 | 0 | 0 | 0 | 3184434.32 | 56466.34
6.1.3 | primary voltage level of MV11 substations, thousand kWh | 613 | 1157244.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1157244.58
6.2 | consumption due to production (including economic) needs, thousand kWh | 62 | Group1: 141474.88; Group6: 22016.41; Group7: 1129.66; Group8: 23874.69; Group9: 94454.12
7 | Actual (reporting) losses of electricity in the grid, thousand kWh | 7 | 6229599.77 | 0 | 0 | 0 | 0 | 1849404.75 | 701019.87 | 1700573.57 | 1978601.58
7.1 | The ratio of actual (reporting) losses of electricity as a percentage of electricity supply to the grid, % | 71 | 10.01 | 0 | 0 | 0 | 0 | 3.4 | 4.56 | 4.53 | 17.19
8 | Technical losses of electrical energy, total, thousand kWh | 8 | 5794836.47 | 0 | 0 | 0 | 0 | 1985397.89 | 676336.18 | 1615509.11 | 1517593.29
8.1 | conditional permanent losses, thousand kWh | 81 | 1505946.62 | 0 | 0 | 0 | 0 | 505217.09 | 255853.36 | 648044.97 | 96831.2
8.2 | losses under load, thousand kWh | 82 | 3996167.72 | 0 | 0 | 0 | 0 | 1345797.65 | 378519.56 | 896459.56 | 1375390.95
8.3 | losses due to allowed accuracy of metering devices, thousand kWh | 83 | 292722.13 | 0 | 0 | 0 | 0 | 134383.15 | 41963.26 | 71004.58 | 45371.14
8.4 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, % | 84 | 9.31 | 0 | 0 | 0 | 0 | 3.65 | 4.4 | 4.3 | 13.18
Раздел Норматив
Номер статьи. | Наименование | Код стр. | Всего | 750 кВ | 500 кВ | 330 кВ | 220 кВ | 150-110 кВ | 27,5-60 кВ | 1-20 кВ | 0,4 кВ
|  |  | Гр1 | Гр2 | Гр3 | Гр4 | Гр5 | Гр6 | Гр7 | Гр8 | Гр9
8.5 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, approved by the Ministry of Energy of the Russian Federation, % | 85 | Гр1: 0; Гр6: 0; Гр7: 0; Гр8: 0; Гр9: 0
8.6 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, adopted by the regulator, % | 86 | Гр1: 0; Гр6: 0; Гр7: 0; Гр8: 0; Гр9: 0
Section 2. The structure of technical losses of electricity
Item # | Name of the structural components | Page code | 750 kV, thousand kWh | 750 kV, % | 500 kV, thousand kWh | 500 kV, % | 350 kV, thousand kWh | 350 kV, % | 220 kV, thousand kWh | 220 kV, % | 150 - 110 kV, thousand kWh | 150 - 110 kV, % | 27,5 - 60 kV, thousand kWh | 27,5 - 60 kV, % | 1 - 20 kV, thousand kWh | 1 - 20 kV, % | 0,4 kV, thousand kWh | 0,4 kV, % | total, thousand kWh | total, %
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9 | Group10 | Group11 | Group12 | Group13 | Group14 | Group15 | Group16 | Group17 | Group18
1 | Electrical energy supplied to the grid | 4100 | 0 | 0 | 0 | 0 | 0 | 0 | 651301.24 | 0 | 54409094.07 | 0 | 15369747.21 | 0 | 37566495.05 | 0 | 11510925.32 | 0 | 62258525.78 | 0
2 | conditional permanent losses of electrical energy | 4200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505217.09 | 0.93 | 255853.36 | 1.66 | 648044.97 | 1.73 | 96831.2 | 0.84 | 1505946.62 | 2.42
2.1 | Loss on idling transformers | 4201 |  | 0 |  | 0 |  | 0 |  | 0 | 297370.33 | 0.55 | 156650.26 | 1.02 | 494156.32 | 1.32 |  | 0 | 948176.91 | 1.52
2.2 | Loss on corona discharge in overhead lines | 4202 |  | 0 |  | 0 |  | 0 |  | 0 | 37767.73 | 0.07 |  | 0 |  | 0 |  | 0 | 37767.73 | 0.06
2.3 | Surface-leakage current in overhead lines | 4203 |  | 0 |  | 0 |  | 0 |  | 0 | 48405.59 | 0.09 | 35025.05 | 0.23 | 86504.55 | 0.23 |  | 0 | 169935.19 | 0.27
2.4 | Insulation losses in cable lines | 4204 |  | 0 |  | 0 |  | 0 |  | 0 | 70.42 | 0 | 4.37 | 0 | 3985.82 | 0.01 |  | 0 | 4060.61 | 0.01
2.5 | Measuring current transformer losses | 4205 |  | 0 |  | 0 |  | 0 |  | 0 | 11815.49 | 0.02 | 3417.53 | 0.02 | 6128.26 | 0.02 | 6419.82 | 0.06 | 27781.1 | 0.04
2.6 | Measuring voltage transformer losses | 4206 |  | 0 |  | 0 |  | 0 |  | 0 | 23877.59 | 0.04 | 14194.69 | 0.09 | 15802.53 | 0.04 | 2164.5 | 0.02 | 56039.31 | 0.09
2.7 | Losses in directly connected meters | 4207 |  | 0 |  | 0 |  | 0 |  | 0 | 28.73 | 0 | 62.15 | 0 | 151.35 | 0 | 87612.38 | 0.76 | 87854.61 | 0.14
2.8 | Losses in shunt reactors | 4208 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.9 | Losses in the connecting wires and busbars of substations | 4209 |  | 0 |  | 0 |  | 0 |  | 0 | 8122.16 | 0.01 | 4538.89 | 0.03 | 28052.37 | 0.07 |  | 0 | 40713.42 | 0.07
2.10 | Losses in valve-type arresters | 4210 |  | 0 |  | 0 |  | 0 |  | 0 | 2829.06 | 0.01 | 832.06 | 0.01 | 4009.96 | 0.01 |  | 0 | 7671.08 | 0.01
2.11 | Losses in surge arresters | 4211 |  | 0 |  | 0 |  | 0 |  | 0 | 155.09 | 0 | 18.52 | 0 | 15.5 | 0 |  | 0 | 189.11 | 0
2.12 | Losses in HF communication connected devices | 4212 |  | 0 |  | 0 |  | 0 |  | 0 | 696.86 | 0 | 421.39 | 0 | 315.03 | 0 |  | 0 | 1433.28 | 0
2.13 | Losses in compensating devices | 4213 |  | 0 |  | 0 |  | 0 |  | 0 | 6301.19 | 0.01 | 303.8 | 0 | 1976.87 | 0.01 |  | 0 | 8581.86 | 0.01
2.14 | Electrical energy utility consumption | 4214 |  | 0 |  | 0 |  | 0 |  | 0 | 66969.69 | 0.12 | 39665.23 | 0.26 | 6774.25 | 0.02 | 634.5 | 0.01 | 114043.67 | 0.18
2.15 | Electricity consumption for melting ice | 4215 |  | 0 |  | 0 |  | 0 |  | 0 | 807.16 | 0 | 719.42 | 0 | 172.16 | 0 |  | 0 | 1698.74 | 0
3 | Losses of electrical energy under load | 4300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1345797.65 | 2.47 | 378519.56 | 2.46 | 896459.56 | 2.39 | 1375390.95 | 11.95 | 3996167.72 | 6.42
3.1 | Losses under load in transformers | 4301 |  | 0 |  | 0 |  | 0 |  | 0 | 150674.19 | 0.28 | 64537.37 | 0.42 | 103096.61 | 0.27 |  | 0 | 318308.17 | 0.51
3.2 | Losses under load in power lines | 4302 |  | 0 |  | 0 |  | 0 |  | 0 | 1194805.75 | 2.2 | 313982.19 | 2.04 | 791582.9 | 2.11 | 1375390.95 | 0 | 3675761.79 | 5.9
3.3 | Losses under load in current limiting reactors | 4303 |  | 0 |  | 0 |  | 0 |  | 0 | 317.71 | 0 |  | 0 | 1780.05 | 0 |  | 0 | 2097.76 | 0
3.4 | Losses under load in busbars | 4304 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
4 | Technical losses of eklectrical energy | 4400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1851014.74 | 3.4 | 634372.92 | 4.13 | 1544504.53 | 4.11 | 1472222.15 | 12.79 | 5502114.34 | 8.84
5 | Losses of electrical energy due to allowed accuracy of metering devices | 4500 |  | 0 |  | 0 |  | 0 |  | 0 | 134383.15 | 0.25 | 41963.26 | 0.27 | 71004.58 | 0.19 | 45371.14 | 0.39 | 292722.13 | 0.47
6 | Technological losses of electrical energy | 4600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1985397.89 | 3.65 | 676336.18 | 4.4 | 1615509.11 | 4.3 | 1517593.29 | 13.18 | 5794836.47 | 9.31
Section Contact Information
| Item | Page code | Group1: Name; Group2: Title; Group3: Contact telephone; Group4: E-mail
|  |  | Group1 | Group2 | Group3 | Group4
| Head of an organization | 411 | bar: Group1 to Group4
| Responsible for completing the template | 412 | bar: Group1 to Group4
Section Code links
| Item | Page code | Group1: Value
Group1
| Name of reporting organization | 421 | bar: Group1
| Postal address | 422 | bar: Group1
| Code of the reporting organization per Russian Business and Organization Classification | 423 | bar: Group1
| Activity code per Russian National Classifier of Economic Activities | 424 | bar: Group1
| Territory code per All-Russian Classifier of Political Subdivisions | 425 | bar: Group1
| Code of ministry (department), authority per National Classifier of Government Entities and Administration | 426 | bar: Group1
| Code of the legal form per All-Russia Classifier of Forms of Ownership Code | 427 | bar: Group1
| Ownership code per All-Russia Classifier of Forms of Ownership | 428 | bar: Group1
| Area code for services per All-Russian Classifier of Political Subdivisions | 429 | bar: Group1
Plugin version from 26.01.2010 11:49:54
| Version IS_Client - 4.11.3 | 4.11.3
| Version АРМ - 26.01.2010 12.18.16 | 26.01.2010 12.18.16