## Sheet1
Template 10092 The balance of power at voltage levels and the structure of losses in regional grid companies
| Reporting date | December 2010
| Site | 340803 | Smolensenergo division
Section 1. The structure of the balance of power at voltage levels
Item # | Indicator | Page code | Total | 750 kV | 500 kV | 330 kV | 220 kV | 150-110 kV | 27,5-60 kV | 1-20 kV | 0,4 kV
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9
1 | Electrical energy injected into the grid, total, thousand kWh | 1 | 5585489.08 | 0 | 0 | 0 | 0 | 5192507.52 | 178419.64 | 214561.92 | 0
1.1 | Injected into the grid of Federal Grid Company, thousand kWh | 11 | Group1: 1587871.27; Group6: 1587851.19; Group8: 20.08
1.2 | Injected into the grid of Interregional Grid Companies, thousand kWh | 12 | Group1: 2155868.77; Group6: 1806773.79; Group7: 134553.14; Group8: 214541.84
1.3 | Injected into the grid of Adjacent Grid Companies, thousand kWh | 13 | Group1: 6551.42; Group6: 6551.42
1.4 | Injected into the grid of Generating Companies, thousand kWh | 14 | Group1: 1835197.62; Group6: 1791331.12; Group7: 43866.5
1.5 | Injected into the grid of isolated generating plants, thousand kWh | 15 | Group1: 0
2 | Electrical energy delivery from the grid, total, thousand kWh | 2 | 1419211.88 | 0 | 0 | 0 | 0 | 1415912.46 | 2192.55 | 1106.87 | 0
2.1 | Delivery to the grid of Federal Grid Company, thousand kWh | 21 | Group1: 74653.67; Group6: 73641.08; Group8: 1012.59
2.2 | Delivery to the grid of Interregional Grid Companies, thousand kWh | 22 | Group1: 1048943.7; Group6: 1048839.25; Group7: 10.17; Group8: 94.28
2.3 | Delivery to the grid of Adjacent Grid Companies, thousand kWh | 23 | Group1: 25038.34; Group6: 25038.34
2.4 | Delivery to the grid of Generating Companies, thousand kWh | 24 | Group1: 270576.17; Group6: 268393.79; Group7: 2182.38
3 | Electrical energy Injected into from the grid of adjacent voltage, total, thousand kWh | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 978897.29 | 2560944.58 | 1594403.99
3.1 | Injected into the grid of 750 kV, thousand kWh | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2 | Injected into the grid of 500 kV, thousand kWh | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.3 | Injected into the grid of 330 kV, thousand kWh | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.4 | Injected into the grid of 220 kV, thousand kWh | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | Injected into the grid of 110 kV, thousand kWh | 35 | 2645668.35 | 0 | 0 | 0 | 0 | 0 | 978897.29 | 1666771.06 | 0
3.6 | Injected into the grid of 27,5-60 kV, thousand kWh | 36 | 894173.52 | 0 | 0 | 0 | 0 | 0 | 0 | 894173.52 | 0
3.7 | Injected into the grid of 1-20 kV, thousand kWh | 37 | 1594403.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1594403.99
4 | Delivery of electrical energy to the grid of adjacent voltage, total, thousand kWh | 4 | 0 | 0 | 0 | 0 | 0 | 2645668.35 | 894173.52 | 1594403.99 | 0
4.1 | Delivery to the grid of 500 kV, thousand kWh | 41 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 | Delivery to the grid of 330 kV, thousand kWh | 42 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
4.3 | Delivery to the grid of 220 kV, thousand kWh | 43 | Group1: 0; Group5: 0; Group7: 0; Group8: 0; Group9: 0
4.4 | Delivery to the grid of 110 kV, thousand kWh | 44 | Group1: 0; Group6: 0; Group7: 0; Group8: 0; Group9: 0
4.5 | Delivery to the grid of 27,5-60 kV, thousand kWh | 45 | Group1: 978897.29; Group6: 978897.29; Group7: 0; Group8: 0; Group9: 0
4.6 | Delivery to the grid of 1-20 kV, thousand kWh | 46 | Group1: 2560944.58; Group6: 1666771.06; Group7: 894173.52; Group8: 0; Group9: 0
4.7 | Delivery to the grid of 0,4 kV, thousand kWh | 47 | 1594403.99 | 0 | 0 | 0 | 0 | 0 |  | 1594403.99 | 0
5 | Electrical energy supply to the grid, thousand kWh | 5 | 4166277.2 | 0 | 0 | 0 | 0 | 3776595.06 | 1155124.38 | 2774399.63 | 1594403.99
6 | Volume (amount) of transferred (consumed) electricity, total, thousand kWh | 6 | Group1: 3414624.97; Group6: 923719.89; Group7: 206057.06; Group8: 1044916.2; Group9: 1239931.82
6.1 | Volume (amount) of transferred (consumed) electricity to customers directly connected to the buses of substations, thousand kWh | 61 | 948123.8 | 0 | 0 | 0 | 0 | 0 | 150360.23 | 592853.73 | 204909.84
6.1.1 | primary voltage level of HV substations, thousand kWh | 611 | 576911.07 | 0 | 0 | 0 | 0 | 0 | 150360.23 | 426550.84 | 0
6.1.2 | primary voltage level of MV1 substations, thousand kWh | 612 | 166302.89 | 0 | 0 | 0 | 0 | 0 | 0 | 166302.89
6.1.3 | primary voltage level of MV11 substations, thousand kWh | 613 | 204909.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 204909.84
6.2 | consumption due to production (including economic) needs, thousand kWh | 62 | Group1: 55020.58; Group6: 20069.82; Group7: 56.04; Group8: 487.52; Group9: 34407.2
7 | Actual (reporting) losses of electricity in the grid, thousand kWh | 7 | 751652.23 | 0 | 0 | 0 | 0 | 207206.82 | 54893.8 | 135079.44 | 354472.17
7.1 | The ratio of actual (reporting) losses of electricity as a percentage of electricity supply to the grid, % | 71 | 18.04 | 0 | 0 | 0 | 0 | 5.49 | 4.75 | 4.87 | 22.23
8 | Technical losses of electrical energy, total, thousand kWh | 8 | 655801.2 | 0 | 0 | 0 | 0 | 207206.82 | 54893.81 | 135079.44 | 258621.13
8.1 | conditional permanent losses, thousand kWh | 81 | 155896.29 | 0 | 0 | 0 | 0 | 53651.48 | 27892.75 | 66887.58 | 7464.48
8.2 | losses under load, thousand kWh | 82 | 491477.09 | 0 | 0 | 0 | 0 | 150099.26 | 25964.34 | 65703.17 | 249710.32
8.3 | losses due to allowed accuracy of metering devices, thousand kWh | 83 | 8427.82 | 0 | 0 | 0 | 0 | 3456.08 | 1036.72 | 2488.69 | 1446.33
8.4 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, % | 84 | 15.74 | 0 | 0 | 0 | 0 | 5.49 | 4.75 | 4.87 | 16.22
Раздел Норматив
Номер статьи. | Наименование | Код стр. | Всего | 750 кВ | 500 кВ | 330 кВ | 220 кВ | 150-110 кВ | 27,5-60 кВ | 1-20 кВ | 0,4 кВ
|  |  | Гр1 | Гр2 | Гр3 | Гр4 | Гр5 | Гр6 | Гр7 | Гр8 | Гр9
8.5 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, approved by the Ministry of Energy of the Russian Federation, % | 85 | Гр1: 15.26
8.6 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, adopted by the regulator, % | 86 | Гр1: 15.74
Section 2. The structure of technical losses of electricity
Item # | Name of the structural components | Page code | 750 kV, thousand kWh | 750 kV, % | 500 kV, thousand kWh | 500 kV, % | 350 kV, thousand kWh | 350 kV, % | 220 kV, thousand kWh | 220 kV, % | 150 - 110 kV, thousand kWh | 150 - 110 kV, % | 27,5 - 60 kV, thousand kWh | 27,5 - 60 kV, % | 1 - 20 kV, thousand kWh | 1 - 20 kV, % | 0,4 kV, thousand kWh | 0,4 kV, % | total, thousand kWh | total, %
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9 | Group10 | Group11 | Group12 | Group13 | Group14 | Group15 | Group16 | Group17 | Group18
1 | Electrical energy supplied to the grid | 4100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3776595.06 | 0 | 1155124.38 | 0 | 2774399.63 | 0 | 1594403.99 | 0 | 4166277.2 | 0
2 | conditional permanent losses of electrical energy | 4200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53651.48 | 1.42 | 27892.75 | 2.41 | 66887.58 | 2.41 | 7464.48 | 0.47 | 155896.29 | 3.74
2.1 | Loss on idling transformers | 4201 |  | 0 |  | 0 |  | 0 |  | 0 | 29832.6 | 0.79 | 16427.1 | 1.42 | 55844.04 | 2.01 |  | 0 | 102103.74 | 2.45
2.2 | Loss on corona discharge in overhead lines | 4202 |  | 0 |  | 0 |  | 0 |  | 0 | 3499.4 | 0.09 |  | 0 |  | 0 |  | 0 | 3499.4 | 0.08
2.3 | Surface-leakage current in overhead lines | 4203 |  | 0 |  | 0 |  | 0 |  | 0 | 5429.73 | 0.14 | 4468.99 | 0.39 | 9436.86 | 0.34 |  | 0 | 19335.58 | 0.46
2.4 | Insulation losses in cable lines | 4204 |  | 0 |  | 0 |  | 0 |  | 0 | 70.42 | 0 |  | 0 | 776.15 | 0.03 |  | 0 | 846.57 | 0.02
2.5 | Measuring current transformer losses | 4205 |  | 0 |  | 0 |  | 0 |  | 0 | 2694.1 | 0.07 | 443.55 | 0.04 | 206.19 | 0.01 |  | 0 | 3343.84 | 0.08
2.6 | Measuring voltage transformer losses | 4206 |  | 0 |  | 0 |  | 0 |  | 0 | 4135.35 | 0.11 | 2159.06 | 0.19 | 238.21 | 0.01 |  | 0 | 6532.62 | 0.16
2.7 | Losses in directly connected meters | 4207 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 7464.48 | 0.47 | 7464.48 | 0.18
2.8 | Losses in shunt reactors | 4208 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.9 | Losses in the connecting wires and busbars of substations | 4209 |  | 0 |  | 0 |  | 0 |  | 0 | 655.62 | 0.02 | 231.46 | 0.02 |  | 0 |  | 0 | 887.08 | 0.02
2.10 | Losses in valve-type arresters | 4210 |  | 0 |  | 0 |  | 0 |  | 0 | 108.32 | 0 | 38.81 | 0 | 197.87 | 0.01 |  | 0 | 345 | 0.01
2.11 | Losses in surge arresters | 4211 |  | 0 |  | 0 |  | 0 |  | 0 | 3.23 | 0 | 0.12 | 0 |  | 0 |  | 0 | 3.35 | 0
2.12 | Losses in HF communication connected devices | 4212 |  | 0 |  | 0 |  | 0 |  | 0 | 300.73 | 0.01 | 23.23 | 0 |  | 0 |  | 0 | 323.96 | 0.01
2.13 | Losses in compensating devices | 4213 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.14 | Electrical energy utility consumption | 4214 |  | 0 |  | 0 |  | 0 |  | 0 | 6832.9 | 0.18 | 4017.51 | 0.35 | 188.26 | 0.01 |  | 0 | 11038.67 | 0.26
2.15 | Electricity consumption for melting ice | 4215 |  | 0 |  | 0 |  | 0 |  | 0 | 89.08 | 0 | 82.92 | 0.01 |  | 0 |  | 0 | 172 | 0
3 | Losses of electrical energy under load | 4300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150099.26 | 3.97 | 25964.34 | 2.25 | 65703.17 | 2.37 | 249710.32 | 15.66 | 491477.09 | 11.8
3.1 | Losses under load in transformers | 4301 |  | 0 |  | 0 |  | 0 |  | 0 | 12588.7 | 0.33 | 4443.27 | 0.38 | 6629.52 | 0.24 |  | 0 | 23661.49 | 0.57
3.2 | Losses under load in power lines | 4302 |  | 0 |  | 0 |  | 0 |  | 0 | 137510.56 | 3.64 | 21521.07 | 1.86 | 59073.65 | 2.13 | 249710.32 | 0 | 467815.6 | 11.23
3.3 | Losses under load in current limiting reactors | 4303 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
3.4 | Losses under load in busbars | 4304 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
4 | Technical losses of eklectrical energy | 4400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 203750.74 | 5.4 | 53857.09 | 4.66 | 132590.75 | 4.78 | 257174.8 | 16.13 | 647373.38 | 15.54
5 | Losses of electrical energy due to allowed accuracy of metering devices | 4500 |  | 0 |  | 0 |  | 0 |  | 0 | 3456.08 | 0.09 | 1036.72 | 0.09 | 2488.69 | 0.09 | 1446.33 | 0.09 | 8427.82 | 0.2
6 | Technological losses of electrical energy | 4600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 207206.82 | 5.49 | 54893.81 | 4.75 | 135079.44 | 4.87 | 258621.13 | 16.22 | 655801.2 | 15.74
Section Contact Information
| Item | Page code | Group1: Name; Group2: Title; Group3: Contact telephone; Group4: E-mail
|  |  | Group1 | Group2 | Group3 | Group4
| Head of an organization | 411 | bar: Group1 to Group4
| Responsible for completing the template | 412 | bar: Group1 to Group4
Section Code links
| Item | Page code | Group1: Value
Group1
| Name of reporting organization | 421 | bar: Group1
| Postal address | 422 | bar: Group1
| Code of the reporting organization per Russian Business and Organization Classification | 423 | bar: Group1
| Activity code per Russian National Classifier of Economic Activities | 424 | bar: Group1
| Territory code per All-Russian Classifier of Political Subdivisions | 425 | bar: Group1
| Code of ministry (department), authority per National Classifier of Government Entities and Administration | 426 | bar: Group1
| Code of the legal form per All-Russia Classifier of Forms of Ownership Code | 427 | bar: Group1
| Ownership code per All-Russia Classifier of Forms of Ownership | 428 | bar: Group1
| Area code for services per All-Russian Classifier of Political Subdivisions | 429 | bar: Group1
<< 15.02.2011 >>
Plugin version from 26.01.2010 11:49:54
| Version IS_Client - 4.11.3 | 4.11.3
| Version АРМ - 26.01.2010 12.18.16 | 26.01.2010 12.18.16