## Sheet1
Template 10092 The balance of power at voltage levels and the structure of losses in regional grid companies
| Reporting date | December 2010
| Site | 310707 | Tverenergo
Section 1. The structure of the balance of power at voltage levels
Item # | Indicator | Page code | Total | 750 kV | 500 kV | 330 kV | 220 kV | 150-110 kV | 27,5-60 kV | 1-20 kV | 0,4 kV
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9
1 | Electrical energy injected into the grid, total, thousand kWh | 1 | 7701808.03 | 0 | 0 | 0 | 0 | 6983390.76 | 645130.29 | 73022.38 | 264.6
1.1 | Injected into the grid of Federal Grid Company, thousand kWh | 11 | Group1: 4354220.91; Group6: 4342125.68; Group7: 5257.42; Group8: 6766.09; Group9: 71.72
1.2 | Injected into the grid of Interregional Grid Companies, thousand kWh | 12 | Group1: 1399029.83; Group6: 1340947.38; Group7: 776.07; Group8: 57113.5; Group9: 192.88
1.3 | Injected into the grid of Adjacent Grid Companies, thousand kWh | 13 | Group1: 250301.43; Group6: 248139.85; Group7: 240.31; Group8: 1921.27
1.4 | Injected into the grid of Generating Companies, thousand kWh | 14 | Group1: 1684963.03; Group6: 1046106.54; Group7: 638856.49
1.5 | Injected into the grid of isolated generating plants, thousand kWh | 15 | Group1: 13292.83; Group6: 6071.31; Group8: 7221.52
2 | Electrical energy delivery from the grid, total, thousand kWh | 2 | 2134857.73 | 0 | 0 | 0 | 0 | 2083481.11 | 17697.79 | 33678.83 | 0
2.1 | Delivery to the grid of Federal Grid Company, thousand kWh | 21 | Group1: 817842.91; Group6: 817842.91
2.2 | Delivery to the grid of Interregional Grid Companies, thousand kWh | 22 | Group1: 196656.16; Group6: 196559.29; Group8: 96.87
2.3 | Delivery to the grid of Adjacent Grid Companies, thousand kWh | 23 | Group1: 540473.03; Group6: 507264.65; Group7: 48.81; Group8: 33159.57
2.4 | Delivery to the grid of Generating Companies, thousand kWh | 24 | Group1: 579885.63; Group6: 561814.26; Group7: 17648.98; Group8: 422.39
3 | Electrical energy Injected into from the grid of adjacent voltage, total, thousand kWh | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1975774.4 | 4130227.19 | 1061207.08
3.1 | Injected into the grid of 750 kV, thousand kWh | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2 | Injected into the grid of 500 kV, thousand kWh | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.3 | Injected into the grid of 330 kV, thousand kWh | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.4 | Injected into the grid of 220 kV, thousand kWh | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | Injected into the grid of 110 kV, thousand kWh | 35 | 3989039.63 | 0 | 0 | 0 | 0 | 0 | 1975774.4 | 2013265.23 | 0
3.6 | Injected into the grid of 27,5-60 kV, thousand kWh | 36 | 2116961.96 | 0 | 0 | 0 | 0 | 0 | 0 | 2116961.96 | 0
3.7 | Injected into the grid of 1-20 kV, thousand kWh | 37 | 1061207.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1061207.08
4 | Delivery of electrical energy to the grid of adjacent voltage, total, thousand kWh | 4 | 0 | 0 | 0 | 0 | 0 | 3989039.63 | 2116961.96 | 1061207.08 | 0
4.1 | Delivery to the grid of 500 kV, thousand kWh | 41 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 | Delivery to the grid of 330 kV, thousand kWh | 42 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
4.3 | Delivery to the grid of 220 kV, thousand kWh | 43 | Group1: 0; Group5: 0; Group7: 0; Group8: 0; Group9: 0
4.4 | Delivery to the grid of 110 kV, thousand kWh | 44 | Group1: 0; Group6: 0; Group7: 0; Group8: 0; Group9: 0
4.5 | Delivery to the grid of 27,5-60 kV, thousand kWh | 45 | Group1: 1975774.4; Group6: 1975774.4; Group7: 0; Group8: 0; Group9: 0
4.6 | Delivery to the grid of 1-20 kV, thousand kWh | 46 | Group1: 4130227.19; Group6: 2013265.23; Group7: 2116961.96; Group8: 0; Group9: 0
4.7 | Delivery to the grid of 0,4 kV, thousand kWh | 47 | 1061207.08 | 0 | 0 | 0 | 0 | 0 |  | 1061207.08 | 0
5 | Electrical energy supply to the grid, thousand kWh | 5 | 5566950.3 | 0 | 0 | 0 | 0 | 4899909.65 | 2603206.9 | 4169570.74 | 1061471.68
6 | Volume (amount) of transferred (consumed) electricity, total, thousand kWh | 6 | Group1: 4703284.73; Group6: 758524.02; Group7: 364506.78; Group8: 2830790.92; Group9: 749463.01
6.1 | Volume (amount) of transferred (consumed) electricity to customers directly connected to the buses of substations, thousand kWh | 61 | 1896307.52 | 0 | 0 | 0 | 0 | 0 | 30165.11 | 1834714.02 | 31428.39
6.1.1 | primary voltage level of HV substations, thousand kWh | 611 | 972632.46 | 0 | 0 | 0 | 0 | 0 | 30165.11 | 942467.35 | 0
6.1.2 | primary voltage level of MV1 substations, thousand kWh | 612 | 892246.67 | 0 | 0 | 0 | 0 | 0 | 0 | 892246.67
6.1.3 | primary voltage level of MV11 substations, thousand kWh | 613 | 31428.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31428.39
6.2 | consumption due to production (including economic) needs, thousand kWh | 62 | Group1: 14709.22; Group6: 1946.59; Group7: 1073.62; Group8: 8297.28; Group9: 3391.73
7 | Actual (reporting) losses of electricity in the grid, thousand kWh | 7 | 863665.57 | 0 | 0 | 0 | 0 | 152346 | 121738.16 | 277572.74 | 312008.67
7.1 | The ratio of actual (reporting) losses of electricity as a percentage of electricity supply to the grid, % | 71 | 15.51 | 0 | 0 | 0 | 0 | 3.11 | 4.68 | 6.66 | 29.39
8 | Technical losses of electrical energy, total, thousand kWh | 8 | 750592.12 | 0 | 0 | 0 | 0 | 152346.02 | 121738.18 | 274745.39 | 201762.53
8.1 | conditional permanent losses, thousand kWh | 81 | 208644.3 | 0 | 0 | 0 | 0 | 48821.74 | 48242.08 | 104234.91 | 7345.57
8.2 | losses under load, thousand kWh | 82 | 520902.47 | 0 | 0 | 0 | 0 | 95426.35 | 69193.86 | 163619.56 | 192662.7
8.3 | losses due to allowed accuracy of metering devices, thousand kWh | 83 | 21045.35 | 0 | 0 | 0 | 0 | 8097.93 | 4302.24 | 6890.92 | 1754.26
8.4 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, % | 84 | 13.48 | 0 | 0 | 0 | 0 | 3.11 | 4.68 | 6.59 | 19.01
Раздел Норматив
Номер статьи. | Наименование | Код стр. | Всего | 750 кВ | 500 кВ | 330 кВ | 220 кВ | 150-110 кВ | 27,5-60 кВ | 1-20 кВ | 0,4 кВ
|  |  | Гр1 | Гр2 | Гр3 | Гр4 | Гр5 | Гр6 | Гр7 | Гр8 | Гр9
8.5 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, approved by the Ministry of Energy of the Russian Federation, % | 85 | bar: Гр1
8.6 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, adopted by the regulator, % | 86 | bar: Гр1
Section 2. The structure of technical losses of electricity
Item # | Name of the structural components | Page code | 750 kV, thousand kWh | 750 kV, % | 500 kV, thousand kWh | 500 kV, % | 350 kV, thousand kWh | 350 kV, % | 220 kV, thousand kWh | 220 kV, % | 150 - 110 kV, thousand kWh | 150 - 110 kV, % | 27,5 - 60 kV, thousand kWh | 27,5 - 60 kV, % | 1 - 20 kV, thousand kWh | 1 - 20 kV, % | 0,4 kV, thousand kWh | 0,4 kV, % | total, thousand kWh | total, %
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9 | Group10 | Group11 | Group12 | Group13 | Group14 | Group15 | Group16 | Group17 | Group18
1 | Electrical energy supplied to the grid | 4100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4899909.65 | 0 | 2603206.9 | 0 | 4169570.74 | 0 | 1061471.68 | 0 | 5566950.3 | 0
2 | conditional permanent losses of electrical energy | 4200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48821.74 | 1 | 48242.08 | 1.85 | 104234.91 | 2.5 | 7345.57 | 0.69 | 208644.3 | 3.75
2.1 | Loss on idling transformers | 4201 |  | 0 |  | 0 |  | 0 |  | 0 | 29171.68 | 0.6 | 33454.98 | 1.29 | 84112.86 | 2.02 |  | 0 | 146739.52 | 2.64
2.2 | Loss on corona discharge in overhead lines | 4202 |  | 0 |  | 0 |  | 0 |  | 0 | 2707.96 | 0.06 |  | 0 |  | 0 |  | 0 | 2707.96 | 0.05
2.3 | Surface-leakage current in overhead lines | 4203 |  | 0 |  | 0 |  | 0 |  | 0 | 6800.58 | 0.14 | 5137.29 | 0.2 | 16065.25 | 0.39 |  | 0 | 28003.12 | 0.5
2.4 | Insulation losses in cable lines | 4204 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 18.49 | 0 |  | 0 | 18.49 | 0
2.5 | Measuring current transformer losses | 4205 |  | 0 |  | 0 |  | 0 |  | 0 | 758.97 | 0.02 | 471.09 | 0.02 | 397.65 | 0.01 | 98.13 | 0.01 | 1725.84 | 0.03
2.6 | Measuring voltage transformer losses | 4206 |  | 0 |  | 0 |  | 0 |  | 0 | 883.97 | 0.02 | 1557.68 | 0.06 | 1302.04 | 0.03 |  | 0 | 3743.69 | 0.07
2.7 | Losses in directly connected meters | 4207 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 7247.44 | 0.68 | 7247.44 | 0.13
2.8 | Losses in shunt reactors | 4208 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.9 | Losses in the connecting wires and busbars of substations | 4209 |  | 0 |  | 0 |  | 0 |  | 0 | 931.73 | 0.02 | 642.03 | 0.02 | 555.49 | 0.01 |  | 0 | 2129.25 | 0.04
2.10 | Losses in valve-type arresters | 4210 |  | 0 |  | 0 |  | 0 |  | 0 | 398.88 | 0.01 | 141.12 | 0.01 | 836.86 | 0.02 |  | 0 | 1376.86 | 0.02
2.11 | Losses in surge arresters | 4211 |  | 0 |  | 0 |  | 0 |  | 0 | 30.8 | 0 | 1.54 | 0 | 0.22 | 0 |  | 0 | 32.56 | 0
2.12 | Losses in HF communication connected devices | 4212 |  | 0 |  | 0 |  | 0 |  | 0 | 45.69 | 0 | 4.21 | 0 |  | 0 |  | 0 | 49.9 | 0
2.13 | Losses in compensating devices | 4213 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 946.05 | 0.02 |  | 0 | 946.05 | 0.02
2.14 | Electrical energy utility consumption | 4214 |  | 0 |  | 0 |  | 0 |  | 0 | 7091.48 | 0.14 | 6832.14 | 0.26 |  | 0 |  | 0 | 13923.62 | 0.25
2.15 | Electricity consumption for melting ice | 4215 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
3 | Losses of electrical energy under load | 4300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95426.35 | 1.95 | 69193.86 | 2.66 | 163619.56 | 3.92 | 192662.7 | 18.15 | 520902.47 | 9.36
3.1 | Losses under load in transformers | 4301 |  | 0 |  | 0 |  | 0 |  | 0 | 10917.06 | 0.22 | 9636.98 | 0.37 | 19376.21 | 0.46 |  | 0 | 39930.25 | 0.72
3.2 | Losses under load in power lines | 4302 |  | 0 |  | 0 |  | 0 |  | 0 | 84509.29 | 1.72 | 59556.88 | 2.29 | 143064.37 | 3.43 | 192662.7 | 0 | 479793.24 | 8.62
3.3 | Losses under load in current limiting reactors | 4303 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 1178.98 | 0.03 |  | 0 | 1178.98 | 0.02
3.4 | Losses under load in busbars | 4304 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
4 | Technical losses of eklectrical energy | 4400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144248.09 | 2.94 | 117435.94 | 4.51 | 267854.47 | 6.42 | 200008.27 | 18.84 | 729546.77 | 13.1
5 | Losses of electrical energy due to allowed accuracy of metering devices | 4500 |  | 0 |  | 0 |  | 0 |  | 0 | 8097.93 | 0.17 | 4302.24 | 0.17 | 6890.92 | 0.17 | 1754.26 | 0.17 | 21045.35 | 0.38
6 | Technological losses of electrical energy | 4600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 152346.02 | 3.11 | 121738.18 | 4.68 | 274745.39 | 6.59 | 201762.53 | 19.01 | 750592.12 | 13.48
Section Contact Information
| Item | Page code | Group1: Name; Group2: Title; Group3: Contact telephone; Group4: E-mail
|  |  | Group1 | Group2 | Group3 | Group4
| Head of an organization | 411 | Group1: A.V. Eist; Group2: Deputy General Director of IDGC of Centre - Tverenergo division director
| Responsible for completing the template | 412 | Group1: D.A. Karelin; Group2: Head of Forecasting electric energy and power balance and loss analysis Department; Group3: [4822] 336-342; Group4: Karelin.da@mrsk-1.ru
Section Code links
| Item | Page code | Group1: Value
Group1
| Name of reporting organization | 421 | Group1: IDGC of Centre - Tverenergo division
| Postal address | 422 | Group1: 170006
| Code of the reporting organization per Russian Business and Organization Classification | 423 | bar: Group1
| Activity code per Russian National Classifier of Economic Activities | 424 | bar: Group1
| Territory code per All-Russian Classifier of Political Subdivisions | 425 | bar: Group1
| Code of ministry (department), authority per National Classifier of Government Entities and Administration | 426 | bar: Group1
| Code of the legal form per All-Russia Classifier of Forms of Ownership Code | 427 | bar: Group1
| Ownership code per All-Russia Classifier of Forms of Ownership | 428 | bar: Group1
| Area code for services per All-Russian Classifier of Political Subdivisions | 429 | bar: Group1
<< 15.02.2011 >>
Plugin version from 26.01.2010 11:49:54
| Version IS_Client - 4.11.3 | 4.11.3
| Version АРМ - 26.01.2010 12.18.16 | 26.01.2010 12.18.16