## Sheet1
Template 10092 The balance of power at voltage levels and the structure of losses in regional grid companies
| Reporting date | December 2010
| Site | 340503 | Yarenergo division
Section 1. The structure of the balance of power at voltage levels
Item # | Indicator | Page code | Total | 750 kV | 500 kV | 330 kV | 220 kV | 150-110 kV | 27,5-60 kV | 1-20 kV | 0,4 kV
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9
1 | Electrical energy injected into the grid, total, thousand kWh | 1 | 8218148.9 | 0 | 0 | 0 | 0 | 6278202.73 | 934356.62 | 1005020.62 | 568.93
1.1 | Injected into the grid of Federal Grid Company, thousand kWh | 11 | Group1: 0
1.2 | Injected into the grid of Interregional Grid Companies, thousand kWh | 12 | Group1: 4451582.4; Group6: 3686890.23; Group7: 267545.14; Group8: 496978.63; Group9: 168.4
1.3 | Injected into the grid of Adjacent Grid Companies, thousand kWh | 13 | Group1: 788011.83; Group6: 752711.12; Group7: 35300.71
1.4 | Injected into the grid of Generating Companies, thousand kWh | 14 | Group1: 2969525.06; Group6: 1838601.38; Group7: 631510.77; Group8: 499412.91
1.5 | Injected into the grid of isolated generating plants, thousand kWh | 15 | Group1: 9029.61; Group8: 8629.08; Group9: 400.53
2 | Electrical energy delivery from the grid, total, thousand kWh | 2 | 814359.34 | 0 | 0 | 0 | 0 | 754995.06 | 57464.16 | 1900.12 | 0
2.1 | Delivery to the grid of Federal Grid Company, thousand kWh | 21 | Group1: 0
2.2 | Delivery to the grid of Interregional Grid Companies, thousand kWh | 22 | Group1: 397727.69; Group6: 397727.69
2.3 | Delivery to the grid of Adjacent Grid Companies, thousand kWh | 23 | Group1: 12258.15; Group6: 9734.44; Group7: 623.59; Group8: 1900.12
2.4 | Delivery to the grid of Generating Companies, thousand kWh | 24 | Group1: 404373.5; Group6: 347532.93; Group7: 56840.57
3 | Electrical energy Injected into from the grid of adjacent voltage, total, thousand kWh | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 762062.34 | 3831144.75 | 661451.29
3.1 | Injected into the grid of 750 kV, thousand kWh | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2 | Injected into the grid of 500 kV, thousand kWh | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.3 | Injected into the grid of 330 kV, thousand kWh | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.4 | Injected into the grid of 220 kV, thousand kWh | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | Injected into the grid of 110 kV, thousand kWh | 35 | 3772875.15 | 0 | 0 | 0 | 0 | 0 | 762062.34 | 3010812.81 | 0
3.6 | Injected into the grid of 27,5-60 kV, thousand kWh | 36 | 820331.94 | 0 | 0 | 0 | 0 | 0 | 0 | 820331.94 | 0
3.7 | Injected into the grid of 1-20 kV, thousand kWh | 37 | 661451.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 661451.29
4 | Delivery of electrical energy to the grid of adjacent voltage, total, thousand kWh | 4 | 0 | 0 | 0 | 0 | 0 | 3772875.15 | 820331.94 | 661451.29 | 0
4.1 | Delivery to the grid of 500 kV, thousand kWh | 41 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.2 | Delivery to the grid of 330 kV, thousand kWh | 42 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
4.3 | Delivery to the grid of 220 kV, thousand kWh | 43 | Group1: 0; Group5: 0; Group7: 0; Group8: 0; Group9: 0
4.4 | Delivery to the grid of 110 kV, thousand kWh | 44 | Group1: 0; Group6: 0; Group7: 0; Group8: 0; Group9: 0
4.5 | Delivery to the grid of 27,5-60 kV, thousand kWh | 45 | Group1: 762062.34; Group6: 762062.34; Group7: 0; Group8: 0; Group9: 0
4.6 | Delivery to the grid of 1-20 kV, thousand kWh | 46 | Group1: 3831144.75; Group6: 3010812.81; Group7: 820331.94; Group8: 0; Group9: 0
4.7 | Delivery to the grid of 0,4 kV, thousand kWh | 47 | 661451.29 | 0 | 0 | 0 | 0 | 0 |  | 661451.29 | 0
5 | Electrical energy supply to the grid, thousand kWh | 5 | 7403789.56 | 0 | 0 | 0 | 0 | 5523207.67 | 1638954.8 | 4834265.25 | 662020.22
6 | Volume (amount) of transferred (consumed) electricity, total, thousand kWh | 6 | Group1: 6853661.94; Group6: 1522375.09; Group7: 763017.74; Group8: 4024297.25; Group9: 543971.86
6.1 | Volume (amount) of transferred (consumed) electricity to customers directly connected to the buses of substations, thousand kWh | 61 | 2896055.14 | 0 | 0 | 0 | 0 | 0 | 0 | 2790460.84 | 105594.3
6.1.1 | primary voltage level of HV substations, thousand kWh | 611 | 2572771.07 | 0 | 0 | 0 | 0 | 0 |  | 2572771.07 | 0
6.1.2 | primary voltage level of MV1 substations, thousand kWh | 612 | 217689.77 | 0 | 0 | 0 | 0 | 0 | 0 | 217689.77
6.1.3 | primary voltage level of MV11 substations, thousand kWh | 613 | 105594.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105594.3
6.2 | consumption due to production (including economic) needs, thousand kWh | 62 | Group1: 0
7 | Actual (reporting) losses of electricity in the grid, thousand kWh | 7 | 550127.62 | 0 | 0 | 0 | 0 | 227957.43 | 55605.12 | 148516.71 | 118048.36
7.1 | The ratio of actual (reporting) losses of electricity as a percentage of electricity supply to the grid, % | 71 | 7.43 | 0 | 0 | 0 | 0 | 4.13 | 3.39 | 3.07 | 17.83
8 | Technical losses of electrical energy, total, thousand kWh | 8 | 550127.63 | 0 | 0 | 0 | 0 | 227957.44 | 55605.1 | 148516.71 | 118048.38
8.1 | conditional permanent losses, thousand kWh | 81 | 99898.4 | 0 | 0 | 0 | 0 | 42803.75 | 16496.09 | 35202.47 | 5396.09
8.2 | losses under load, thousand kWh | 82 | 437946.51 | 0 | 0 | 0 | 0 | 178451 | 36740 | 111865.43 | 110890.08
8.3 | losses due to allowed accuracy of metering devices, thousand kWh | 83 | 12282.72 | 0 | 0 | 0 | 0 | 6702.69 | 2369.01 | 1448.81 | 1762.21
8.4 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, % | 84 | 7.43 | 0 | 0 | 0 | 0 | 4.13 | 3.39 | 3.07 | 17.83
Раздел Норматив
Номер статьи. | Наименование | Код стр. | Всего | 750 кВ | 500 кВ | 330 кВ | 220 кВ | 150-110 кВ | 27,5-60 кВ | 1-20 кВ | 0,4 кВ
|  |  | Гр1 | Гр2 | Гр3 | Гр4 | Гр5 | Гр6 | Гр7 | Гр8 | Гр9
8.5 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, approved by the Ministry of Energy of the Russian Federation, % | 85 | Гр1: 8.2; Гр6: 3.8; Гр7: 4.75; Гр8: 3.06; Гр9: 13.17
8.6 | The ratio of technological losses of electricity as a percentage of electricity supply to the grid, adopted by the regulator, % | 86 | Гр1: 8.06
Section 2. The structure of technical losses of electricity
Item # | Name of the structural components | Page code | 750 kV, thousand kWh | 750 kV, % | 500 kV, thousand kWh | 500 kV, % | 350 kV, thousand kWh | 350 kV, % | 220 kV, thousand kWh | 220 kV, % | 150 - 110 kV, thousand kWh | 150 - 110 kV, % | 27,5 - 60 kV, thousand kWh | 27,5 - 60 kV, % | 1 - 20 kV, thousand kWh | 1 - 20 kV, % | 0,4 kV, thousand kWh | 0,4 kV, % | total, thousand kWh | total, %
|  |  | Group1 | Group2 | Group3 | Group4 | Group5 | Group6 | Group7 | Group8 | Group9 | Group10 | Group11 | Group12 | Group13 | Group14 | Group15 | Group16 | Group17 | Group18
1 | Electrical energy supplied to the grid | 4100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5523207.67 | 0 | 1638954.8 | 0 | 4834265.25 | 0 | 662020.22 | 0 | 7403789.56 | 0
2 | conditional permanent losses of electrical energy | 4200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42803.75 | 0.77 | 16496.09 | 1.01 | 35202.47 | 0.73 | 5396.09 | 0.82 | 99898.4 | 1.35
2.1 | Loss on idling transformers | 4201 |  | 0 |  | 0 |  | 0 |  | 0 | 27579 | 0.5 | 9391 | 0.57 | 27321.7 | 0.57 |  | 0 | 64291.7 | 0.87
2.2 | Loss on corona discharge in overhead lines | 4202 |  | 0 |  | 0 |  | 0 |  | 0 | 1243.8 | 0.02 |  | 0 |  | 0 |  | 0 | 1243.8 | 0.02
2.3 | Surface-leakage current in overhead lines | 4203 |  | 0 |  | 0 |  | 0 |  | 0 | 3203.6 | 0.06 | 2572.84 | 0.16 | 6138.63 | 0.13 |  | 0 | 11915.07 | 0.16
2.4 | Insulation losses in cable lines | 4204 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 204.6 | 0 |  | 0 | 204.6 | 0
2.5 | Measuring current transformer losses | 4205 |  | 0 |  | 0 |  | 0 |  | 0 | 883.3 | 0.02 | 40.8 | 0 | 413.1 | 0.01 | 784.5 | 0.12 | 2121.7 | 0.03
2.6 | Measuring voltage transformer losses | 4206 |  | 0 |  | 0 |  | 0 |  | 0 | 2168.59 | 0.04 | 1074.05 | 0.07 | 618.14 | 0.01 |  | 0 | 3860.78 | 0.05
2.7 | Losses in directly connected meters | 4207 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 4611.59 | 0.7 | 4611.59 | 0.06
2.8 | Losses in shunt reactors | 4208 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.9 | Losses in the connecting wires and busbars of substations | 4209 |  | 0 |  | 0 |  | 0 |  | 0 | 687.84 | 0.01 | 301.5 | 0.02 |  | 0 |  | 0 | 989.34 | 0.01
2.10 | Losses in valve-type arresters | 4210 |  | 0 |  | 0 |  | 0 |  | 0 | 409 | 0.01 | 100 | 0.01 | 506 | 0.01 |  | 0 | 1015 | 0.01
2.11 | Losses in surge arresters | 4211 |  | 0 |  | 0 |  | 0 |  | 0 | 14 | 0 | 3 | 0 | 0.3 | 0 |  | 0 | 17.3 | 0
2.12 | Losses in HF communication connected devices | 4212 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.13 | Losses in compensating devices | 4213 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
2.14 | Electrical energy utility consumption | 4214 |  | 0 |  | 0 |  | 0 |  | 0 | 6614.62 | 0.12 | 3012.9 | 0.18 |  | 0 |  | 0 | 9627.52 | 0.13
2.15 | Electricity consumption for melting ice | 4215 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
3 | Losses of electrical energy under load | 4300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 178451 | 3.23 | 36740 | 2.24 | 111865.43 | 2.31 | 110890.08 | 16.75 | 437946.51 | 5.92
3.1 | Losses under load in transformers | 4301 |  | 0 |  | 0 |  | 0 |  | 0 | 15847 | 0.29 | 4011 | 0.24 | 4283.28 | 0.09 |  | 0 | 24141.28 | 0.33
3.2 | Losses under load in power lines | 4302 |  | 0 |  | 0 |  | 0 |  | 0 | 162604 | 2.94 | 32729 | 2 | 107582.15 | 2.23 | 110890.08 | 0 | 413805.23 | 5.59
3.3 | Losses under load in current limiting reactors | 4303 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
3.4 | Losses under load in busbars | 4304 | Group2: 0; Group4: 0; Group6: 0; Group8: 0; Group10: 0; Group12: 0; Group14: 0; Group16: 0; Group17: 0; Group18: 0
4 | Technical losses of eklectrical energy | 4400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 221254.75 | 4.01 | 53236.09 | 3.25 | 147067.9 | 3.04 | 116286.17 | 17.57 | 537844.91 | 7.26
5 | Losses of electrical energy due to allowed accuracy of metering devices | 4500 |  | 0 |  | 0 |  | 0 |  | 0 | 6702.69 | 0.12 | 2369.01 | 0.14 | 1448.81 | 0.03 | 1762.21 | 0.27 | 12282.72 | 0.17
6 | Technological losses of electrical energy | 4600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 227957.44 | 4.13 | 55605.1 | 3.39 | 148516.71 | 3.07 | 118048.38 | 17.83 | 550127.63 | 7.43
Section Contact Information
| Item | Page code | Group1: Name; Group2: Title; Group3: Contact telephone; Group4: E-mail
|  |  | Group1 | Group2 | Group3 | Group4
| Head of an organization | 411 | Group1: I.V. Solonikov; Group2: Deputy General Director of IDGC of Centre - Yarenergo division director; Group3: [4852]78-10-01
| Responsible for completing the template | 412 | Group1: T.N. Klyueva; Group2: Chief of Electrical Modes Service of Distribution Control Centre; Group3: [4852]78-15-35; Group4: klyueva.tn@mrsk-1.ru
Section Code links
| Item | Page code | Group1: Value
Group1
| Name of reporting organization | 421 | Group1: IDGC of Centre - Yarenergo division
| Postal address | 422 | Group1: 150003 Yaroslavl, Voinov street12
| Code of the reporting organization per Russian Business and Organization Classification | 423 | Group1: 00107577
| Activity code per Russian National Classifier of Economic Activities | 424 | Group1: 40.10.2
| Territory code per All-Russian Classifier of Political Subdivisions | 425 | Group1: 78401380000
| Code of ministry (department), authority per National Classifier of Government Entities and Administration | 426 | Group1: 41002
| Code of the legal form per All-Russia Classifier of Forms of Ownership Code | 427 | Group1: 90
| Ownership code per All-Russia Classifier of Forms of Ownership | 428 | Group1: 16
| Area code for services per All-Russian Classifier of Political Subdivisions | 429 | bar: Group1
<< 15.02.2011 >>
Plugin version from 26.01.2010 11:49:54
| Version IS_Client - 4.11.3 | 4.11.3
| Version АРМ - 26.01.2010 12.18.16 | 26.01.2010 12.18.16