In accordance with Resolution #861 of the Government of the Russian Federation dated from December 27, 2004 (as amended on 24.09.2010 # 759) the process of technological connection was approved

a) the filing of an application by a legal entity or individual (hereinafter - the applicant), who has the intention to have a technological connection, reconstruction of power receiving devices and increase of connected power, as well as change the category of power supply, a connection point, production activities not involving revision (increase) of the connected capacity, but to modify the schema of the external electric power supply of energy receiving devices of the applicant;

(In edition of Resolutions of the Government of the Russian Federation #334 of 21.04.2009 and #759 of 24.09.2010)

b) entry into an agreement;

c) execution of activities by the parties under the agreement;

d) obtaining a permit from an authorized federal executive body for the technological supervision of operation of facilities of the applicant (except for persons referred to in paragraphs 12.1 - 14 of these Regulations);

(In edition of Resolutions of the Government of the Russian Federation  #334 of 21.04.2009)

d.1) the implementation by a grid company of actual connection of facilities of the applicant to power grids. For the purposes of this Regulation the actual connection means a set of technical and organizational measures that ensure the physical connection (contact)  of electrical grid facilities of a grid company, in which it was filed, with facilities of the applicant (power receiving devices) without performing actual supply (feed-in) of voltage and power to facilities of the applicant (switching device is in "OFF" position);

(item "d.1" was introduced by Resolution of the Government of the Russian Federation  #334 of  21.04.2009, as amended by Resolution of the Government of the Russian Federation  #759 of 24.09.2010)

d.2) the actual feed-in (supply) of voltage and power by turning the switching device on (switching device is in "ON" position);

(item "d.2" was introduced by Resolution of the Government of the Russian Federation  #334 of 21.04.2009)

e) making a certificate of technological connection and certificate of balance and operational responsibility.