Appendix # 3.2

to the Annual Report of IDGC of Centre, PJSC

for 2015

Additional information on electric energy transmission services provided.

Electric energy losses

Amount of electric energy transmission services provided broken down by the branches in 2015

(in the service area of IDGC of Centre)

| Branch | Supply to the grid | Amount of services provided | Losses |  |
| --- | --- | --- | --- | --- |
|  | mln kWh |  | mln kWh | % |
| Belgorodenergo | 12 168,9 | 11 343,32 | 825,6 | 6,78% |
| Bryanskenergo | 3 855,3 | 3 636,86 | 218,5 | 5,67% |
| Voronezhenergo | 8 809,7 | 8 028,58 | 781,1 | 8,87% |
| Kostromaenergo | 2 691,3 | 2 338,09 | 353,2 | 13,12% |
| Kurskenergo | 5 967,2 | 5 472,96 | 494,3 | 8,28% |
| Lipetskenergo | 7 448,4 | 6 784,61 | 663,8 | 8,91% |
| Orelenergo | 2 442,6 | 2 181,43 | 261,2 | 10,69% |
| Smolenskenergo | 3 834,1 | 3 312,32 | 521,8 | 13,61% |
| Tambovenergo | 3 104,5 | 2 881,14 | 223,3 | 7,19% |
| Tverenergo | 5 435,2 | 4 635,94 | 799,3 | 14,71% |
| Yarenergo | 6 799,1 | 6 090,74 | 708,4 | 10,42% |
| Total | 62 556,3 | 56 706,0 | 5 850,3 | 9,35% |

Structure of revenues for electric energy transmission services provided in 2015 broken down by customer groups

Actual losses of electric energy in 2014-2015 broken down by the branches

| Branch name | Electric energy losses |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Actual for 2014 |  |  | Actual for 2015 |  | Change |  |
|  | mln kWh | % reported | % (under comparable conditions 2015) | mln kWh | % reported | mln kWh | % |
| Belgorodenergo | 834,8 | 6,86% | 6,86% | 825,6 | 6,78% | -9,2 | -0,08% |
| Bryanskenergo | 218,3 | 5,46% | 5,62% | 218,5 | 5,67% | 0,1 | 0,05% |
| Voronezhenergo | 786,2 | 8,92% | 8,92% | 781,1 | 8,87% | -5,1 | -0,06% |
| Kostromaenergo | 365,0 | 13,36% | 13,36% | 353,2 | 13,12% | -11,8 | -0,23% |
| Kurskenergo | 477,7 | 8,10% | 8,10% | 494,3 | 8,28% | 16,5 | 0,18% |
| Lipetskenergo | 676,5 | 8,97% | 8,97% | 663,8 | 8,91% | -12,7 | -0,06% |
| Orelenergo | 277,8 | 11,33% | 11,35% | 261,2 | 10,69% | -16,6 | -0,65% |
| Smolenskenergo | 539,3 | 13,96% | 13,98% | 521,8 | 13,61% | -17,5 | -0,37% |
| Tambovenergo | 231,0 | 7,39% | 7,39% | 223,3 | 7,19% | -7,6 | -0,19% |
| Tverenergo | 836,8 | 15,20% | 15,20% | 799,3 | 14,71% | -37,6 | -0,50% |
| Yarenergo | 705,8 | 7,65% | 10,51% | 708,4 | 10,42% | 2,6 | -0,09% |
| Total | 5 949,2 | 9,17% | 9,49% | 5 850,3 | 9,35% | -98,9 | -0,14% |

Information about the volume of each type of energy resources used by the Company in 2015

| Indicator | UoM | Actual |
| --- | --- | --- |
| electric energy | mln kWh | 130,95 |
|  | mln RUB | 262,23 |
| heat energy | Gcal | 49 704 |
|  | mln RUB | 67,7 |
| gas | thous. m3 | 1 131,9 |
|  | mln RUB | 5,93 |
| Petrol | thous. l | 16 374,5 |
|  | mln RUB | 456,9 |
| Diesel fuel | thous. l | 8 892,7 |
|  | mln RUB | 256,3 |

Other types of resources (nuclear, electromagnetic energy, oil, fuel oil, coal, oil shale, peat, etc.) were not used in 2015.

Indicator of electric energy losses in 2014 under comparable conditions in 2015.

Losses taking into account JSC "Yargorelectroset".

Losses taking into account JSC "Yargorelectroset".