## Текущий
No. | Name of supply center, voltage class | Current deficit
|  | Installed power capacity of transformers Sinst. including their number, pcs/ MVA taking into account technical maintenance at the substation or other measures to reconstruct Supply Centre | January 2011 | February 2011 | March 2011 | April 2011 | May 2011 | June 2011 | July 2011 | August 2011 | September 2011 | October 2011 | November 2011 | December 2011
Division
1 | SS 110/6 kV №9 | 16+25 | -1.1 | -1.1 | -1.1
2 | SS 35/6 kV №3 | 6,3+10 | -0.55 | -0.55 | -0.55
3 | SS 110/10 kV №28 | 10+10 | -4.7 | -4.7 | -4.7
4 | SS 35/10 kV N.Usman-1 | 10+6,3 | -3.79 | -3.79 | -3.79
5 | SS 35/10 kV N.Usman-2 | 10+6,3 | -2.29 | -2.29 | -2.29
6 | SS 110/35/10 №31 | 16+25 | -0.76 | -0.76 | -0.76
7 | SS 35/10 kV Maslovka | 2,5+4 | -0.98 | -0.98 | -0.98
9
10
11
| TOTAL |  | -14.17 | -14.17 | -14.17

## Ожидаемый
No. | Name of supply center, voltage class | Expected deficit
|  | Installed power capacity of transformers Sinst. including their number, pcs/ MVA taking into account technical maintenance at the substation or other measures to reconstruct Supply Centre | January 2011 | February 2011 | March 2011 | April 2011 | May 2011 | June 2011 | July 2011 | August 2011 | September 2011 | October 2011 | November 2011 | December 2011
Division
1 | SS 110/6 kV №9 | 16+25 | -12.8 | -12.8 | -3.02 | -3.02 | -3.02
2 | SS 35/10 kV №13 | 6,3+6,3 | -4.09 | -4.09 | -6.09 | -6.09 | -6.09
3 | SS 35/6 kV №3 | 6,3+10 | -1.01 | -1.01 | -1.01 | -1.01 | -1.01
4 | SS110/10/6 kV №20 | 25+6,3+16 | -0.47 | -0.47 | -0.47 | -0.47 | -0.47
5 | SS 110/35/6 kV №21 | 25+20+40 | -0.54 | -0.54 | -0.54 | -0.54 | -0.54
6 | SS 110/6 kV №25 | 40+40+40 | -18.96 | -18.96
7 | SS 110/10 kV №28 | 10+10 | -8.17 | -8.17 | -8.77 | -8.77 | -8.77
8 | SS110/6 kV №42 | 25+40 | -6.52 | -6.52 | -6.52 | -6.52 | -6.52
9 | SS 35/10 kV Don | 2,5+2,5 | -0.24 | -0.24 | -0.24 | -0.24 | -0.24
10 | SS 35/10 kV N.Usman-1 | 10+6,3 | -4.26 | -4.26 | -4.26 | -4.26 | -4.26
11 | SS 35/10 kV N.Usman-2 | 10+6,3 | -5.09 | -5.09 | -5.09 | -5.09 | -5.09
12 | SS 110/35/10 №31 | 16+25 | -0.94 | -0.94 | -0.94 | -0.94 | -0.94
13 | SS 35/10 kV Maslovka | 2,5+4 | -3.24 | -3.24 | -1.41 | -1.41 | -1.41
14 | SS 110/6 kV №2 | 25+25 | -0.2 | -0.2 | -3.21 | -3.21 | -3.21
15 | SS 110/35/6 kV №16 | 31,5+31,5+40 | -0.09 | -0.09 | -0.2 | -0.2 | -0.2
16 | SS 35/10 kV Sr.Ikorets | 4+4 | -0.79 | -0.79 | -0.52 | -0.52 | -0.52
17 | SS 35/6 kV Och. Sooruzheniya | 2,5+2,5 | -1.41 | -1.41 |  |  | -0.86
18
19
20
21
22
23
24
25
| Total: |  | -68.82 | -68.82 | -42.29 | -42.29 | -43.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: SS №25-adjustment, due to increased transformer capacity, a large customer is connected to Och. Sooruzheniya, the capacity will be taken into accout during the mode measurement day